## Readme
|  | PROTOCOL PLANNER |  |  |  | CG000748
|  | Chromium GEM-X Single Cell Gene Expression v4 & Immune Profiling v3 |  |  |  | Rev A
Chromium GEM-X Single Cell technology provides comprehensive, scalable solutions for gene expression and immune profiling of hundreds to tens of thousands of cells. This Protocol Planner provides workflow and data analysis overviews for the Chromium GEM-X Single Cell 3' v4 and Chromium GEM-X Single Cell 5' v3 assays. To enable efficient planning, lists of user-acquired reagents and consumables as well as information about supporting documentation that will be available for executing the workflows, are also provided. 10x Genomics Single Cell Reagent Kits are not listed in this document.
Copy-Paste Guidelines: The sheet is protected to prevent altering the content. To copy-paste, right click to select a cell's text.
Printing Guidelines: The print area has been set for each tab in this document. Go to Print. For orientation, select "Portrait+B23". For scaling, select "Fit all columns to one page". To print the entire workbook, Go to Print and select "Print Entire Workbook" under settings. To create a pdf document, go to Print and select "Adobe PDF" as the printer. Do not go to "Save as Adobe PDF".
Workflow Overview
Chromium GEM-X Single Cell 3' v4 with Feature Barcode technology for Cell Surface Protein
For the generation of cell surface protein libraries, cells are labeled with appropriate antibody-oligonucleotide conjugates prior to GEM generation.
Chromium GEM-X Single Cell 5' v3 with Feature Barcode technology for Cell Surface Protein & CRISPR Screening
For the generation of cell surface protein libraries, cells are labeled with appropriate antibody-oligonucleotide conjugates prior to GEM generation.
Document Resources
Chromium GEM-X Single Cell Gene Expression v4 and Immune Profiling v3
| Steps |  | Document |  | Document Number
| Experimental Design & Planning Before starting the experiment, consult these documents for protocol planning & preparation. |  | Protocol Planner Workflow overview and additional reagents for workflow |  | Planner CG000748
| Sample Preparation Prepare samples |  | Cell Preparation Handbook General guidance on sample preparation best practices |  | Handbook CG000053
|  |  | Specific Sample Preparation Documents General guidance on specific sample preparation protocols |  | Refer to 10x Genomics Support website
|  |  | Cell Surface Protein Labeling Demonstrated Protocol Label cells with antibody-oligonucleotide conjugates for use with 10x Genomics Single Cells Protocols with Feature Barcode technology for Cell Surface Protein |  | Demonstrated Protocol CG000149
| Library Construction - 3' v4 Perform library construction. |  | Chromium GEM-X Single Cell 3' Reagent Kits v4 Construct 3' Gene Expression libraries |  | User Guide CG000731
|  |  | Chromium GEM-X Single Cell 3' Reagent Kits v4 with Feature Barcode technology for Cell Surface Protein Construct 3' Gene Expression and Cell Surface Protein libraries |  | User Guide CG000732
| Library Construction - 5' v3 Perform library construction. |  | Chromium GEM-X Single Cell 5' Reagent Kits v3 Construct 5' Gene Expression and V(D)J libraries |  | User Guide CG000733
|  |  | Chromium GEM-X Single Cell 5' Reagent Kits v3 with Feature Barcode technology for Cell Surface Protein Construct 5' Gene Expression, V(D)J & Cell Surface Protein libraries |  | User Guide CG000734
|  |  | Chromium GEM-X Single Cell 5' Reagent Kits v3 with Feature Barcode technology for CRISPR Screening Construct 5' Gene Expression, V(D)J & CRISPR libraries |  | User Guide CG000735
|  |  | Chromium GEM-X Single Cell 5' Reagent Kits v3 with Feature Barcode technology for CRISPR Screening & Cell Surface Protein Construct 5' Gene Expression, V(D)J, CRISPR & Cell Surface Protein libraries |  | User Guide CG000736
Analysis of Chromium GEM-X Gene Expression v4 & Immune Profiling v3 Data
Libraries generated using the Chromium GEM-X Single Cell Reagent Kits can be analyzed with Cell Ranger 8.0 and visualized using Loupe Cell Browser 7.0.1. For detailed information on the analysis of Chromium GEM-X Single Cell Gene Expression v4 & Immune Profiling v3 data, refer to 10x Genomics Software Support website.
Data Analysis Overview – Chromium GEM-X Single Cell 3' v4
Data Analysis Overview – Chromium GEM-X Single Cell 5' v3
Key information that should be collected and provided to the data analyst/bioinformatician to ensure that parameters are set appropriately for Cell Ranger to analyze the data:
| • | Libraries created (e.g., Gene Expression, BCR/TCR, Cell Surface Protein)
| • | Sample and Chromium Single Cell library name to be appended to the FASTQ file name and the corresponding library type
| • | Expected number of cells per sample
| • | Cell types loaded and their proportions
| • | The sample indices used for each Chromium Single Cell library generated
Document Revision Summary
| Updated | Version | Summary of Changes
| 2024-03-01 | Rev A
© 2024 10x Genomics, Inc. (10x Genomics). All rights reserved. Duplication and/or reproduction of all or any portion of this document without the express written consent of 10x Genomics, is strictly forbidden. Nothing contained herein shall constitute any warranty, express or implied, as to the performance of any products described herein. Any and all warranties applicable to any products are set forth in the applicable terms and conditions of sale accompanying the purchase of such product. 10x Genomics provides no warranty and hereby disclaims any and all warranties as to the use of any third-party products or protocols described herein. The use of products described herein is subject to certain restrictions as set forth in the applicable terms and conditions of sale accompanying the purchase of such product. A non-exhaustive list of 10x Genomics’ marks, many of which are registered in the United States and other countries can be viewed at: www.10xgenomics.com/trademarks. 10x Genomics may refer to the products or services offered by other companies by their brand name or company name solely for clarity, and does not claim any rights in those third-party marks or names. 10x Genomics products may be covered by one or more of the patents as indicated at: www.10xgenomics.com/patents. All products and services described herein are intended FOR RESEARCH USE ONLY and NOT FOR USE IN DIAGNOSTIC PROCEDURES. The use of 10x Genomics products in practicing the methods set forth herein has not been validated by 10x Genomics, and such non-validated use is NOT COVERED BY 10X GENOMICS STANDARD WARRANTY, AND 10X GENOMICS HEREBY DISCLAIMS ANY AND ALL WARRANTIES FOR SUCH USE. Nothing in this document should be construed as altering, waiving or amending in any manner 10x Genomics terms and conditions of sale for the Chromium Controller or the Chromium Single Cell Controller, consumables or software, including without limitation such terms and conditions relating to certain use restrictions, limited license, warranty and limitation of liability, and nothing in this document shall be deemed to be Documentation, as that term is set forth in such terms and conditions of sale. Nothing in this document shall be construed as any representation by 10x Genomics that it currently or will at any time in the future offer or in any way support any application set forth herein.
Contact
support@10xgenomics.com
10x Genomics
6230 Stoneridge Mall Road
Pleasanton, CA 94588 USA

## Thermal Cyclers
PROTOCOL PLANNER ¦ CG000748 Rev A ¦ 10xgenomics.com
Chromium GEM-X Single Cell Gene Expression v4 & Immune Profiling v3
Recommended Thermal Cyclers
The table below lists the thermal cyclers that have been validated by 10x Genomics for all currently available Chromium Single Cell protocols.
| Description | Supplier | Part Number (US)
| Biometra TAdvanced 96 SG/S | Analytik Jena* | 846-x-070-241/846-x-070-251 (x = 2 for 230 V; 4 for 115 V; 5 for 100 V, 50-60 Hz)
| Mastercycler X50s/X50a | Eppendorf** | 6311000010/6313000018
| VeritiPro Thermal Cycler, 96-well | Thermo Fisher Scientific*** | A48141
| PTC Tempo Deepwell Thermal Cycler | Bio-Rad | 12015392
| C1000 Touch Thermal Cycler with 96-Deep Well Reaction Module (discontinued) | Bio-Rad | 1851197
| Mastercycler Pro (discontinued) | Eppendorf | North America 950030010 International 6321 000.019
| Veriti 96-Well Thermal Cycler (discontinued) | Thermo Fisher Scientific | 4375786
For select instruments, ramp rates should be adjusted for all steps as described below: *Analytik Jena Biometra TAdvanced 96 SG/S: 2°C/sec for both heating and cooling **Eppendorf Mastercycler X50s/X50a: 3°C/sec heating and 2°C/sec cooling ***Thermo Fisher VeritiPro requires FW 1.2.0, 96 well tray/retainer (PN 4381850), and “Cover Ramping” enabled

## Assembly,Labeling,FlowSorting (hidden)
PROTOCOL PLANNER ¦ CG000590 Rev B2 ¦ 10xgenomics.com
Chromium Single Cell 5' Barcode Enabled Antigen Mapping (BEAM)
Kits, Reagents & Equipment
Assembly, Labeling & Flow Sorting for Chromium Single Cell 5' BEAM protocols (CG000595)
The items in the tables below have been tested by 10x Genomics and perform optimally with the Chromium Single Cell 5' BEAM protocols. Substituting materials may adversely affect system performance. This list may not include standard laboratory equipment such as water baths, centrifuges, pH meters, freezers etc.
| Item | Description | Supplier | Part Number (US)
Plastics
| 0.2 ml PCR 8-tube strips | PCR Tubes 0.2 ml 8-tube strips | Eppendorf | 951010022
|  | TempAssure PCR 8-tube strip | USA Scientific | 1402-4700
|  | MicroAmp 8-Tube Strip, 0.2 ml MicroAmp 8 -Cap Strip, clear | Thermo Fisher Scientific Thermo Fisher Scientific | N8010580 N8010535
(Choose either Eppendorf, USA Scientific or Thermo Fisher Scientific PCR 8-tube strips)
| 1.5-ml tubes | DNA LoBind Tubes 1.5 ml | Eppendorf | 22431005
| 2-ml tubes | DNA LoBind Tubes 2.0 ml | Eppendorf | 22431048
(Choose either 1.5-ml or 2-ml tubes for reagent & buffer preparation)
| 15-ml tubes | Corning 15 ml centrifuge tubes | Corning | CLS430791
| 50-ml tubes | Corning 50 ml centrifuge tubes | Corning | CLS430829
Kits & Reagents
| Sterile 1X PBS | Phosphate-Buffered Saline without Calcium & Magnesium Or any equivalent sterile PBS | Corning | 21-040-CM
| Nuclease-free water | Molecular Grade Nuclease-free Water | Thermo Fisher Scientific | AM9937
| FBS | Fetal Bovine Serum, qualified, heat inactivated | Thermo Fisher Scientific | 16140071
|  | Avantor Seradigm Premium Grade Fetal Bovine Serum | VWR | 97068-085
| FcX | Human TruLabel FcX (Fc Receptor Blocking Solution) TruStain FcX™ PLUS (anti-mouse CD16/32) Antibody | Biolegend Biolegend | 422301 156603
| Total-Seq C | TotalSeq™ Antibody Oligonucleotide Conjugates Optional | Biolegend | -
| Antibodies | See Example Antibody Panels | - | -
| Viability dye | Invitrogen eBioscience 7-AAD Viability Staining Solution | Invitrogen | 699350
| Biotinylated HSA | Biotinylated human serum albumin Optional | Acro Biosystems | HSA-H82E3
| Biotinylated MSA | Biotinylated mouse serum albumin Optional | Acro Biosystems | MSA-M82E4
Cell Counting
| Label | Trypan Blue Label (0.4%) | Thermo Fisher Scientific | T10282
| Cell counter & slides | Countess II FL Automated Cell Counter Countess 3 FL Automated Cell Counter Countess Cell Counting Chamber Slides | Thermo Fisher Scientific Thermo Fisher Scientific Thermo Fisher Scientific | AMQAF1000 A49866 C10228
(Choose counter based on availability & preference)
Equipment
| Vortex | Vortex Mixer | VWR | 10153-838
| Centrifuge | Refrigerated Eppendorf Centrifuge Or any equivalent centrifuge | Millipore-Sigma | 5427R or 5424R
| Sorter | MA900 Multi-Application Cell Sorter Or any equivalent cell sorter | Sony | MA900
For some items, a number of vendor options are listed. Choose item based on availability and preference. Refer to the manufacturer's website for regional part numbers.

## Pipette Tips
PROTOCOL PLANNER ¦ CG000748 Rev A ¦ 10xgenomics.com
Chromium GEM-X Single Cell Gene Expression v4 & Immune Profiling v3
Recommended Pipette Tips
10x Genomics recommends using only validated emulsion-safe pipette tips for all Single Cell protocols. Rainin pipette tips have been extensively validated by 10x Genomics and are highly recommended for all single cell assays. If Rainin tips are unavailable, any of the listed alternate pipette tips validated by 10x Genomics may be used.
| Supplier | Description | Part Number (US) | Part Number (US)
Pipettes
| Rainin | Pipet-Lite Multi Pipette L8-50XLS+ | 17013804 | 17013804
|  | Pipet-Lite Multi Pipette L8-200XLS+ | 17013805 | 17013805
|  | Pipet-Lite Multi Pipette L8-10XLS+ | 17013802 | 17013802
|  | Pipet-Lite Multi Pipette L8-20XLS+ | 17013803 | 17013803
|  | Pipet-Lite LTS Pipette L-2XLS+ | 17014393 | 17014393
|  | Pipet-Lite LTS Pipette L-10XLS+ | 17014388 | 17014388
|  | Pipet-Lite LTS Pipette L-20XLS+ | 17014392 | 17014392
|  | Pipet-Lite LTS Pipette L-100XLS+ | 17014384 | 17014384
|  | Pipet-Lite LTS Pipette L-200XLS+ | 17014391 | 17014391
|  | Pipet-Lite LTS Pipette L-1000XLS+ | 17014382 | 17014382
Pipette Tips
| Rainin | Tips LTS 200UL Filter RT-L200FLR | 30389240 | 30389240
|  | Tips LTS 1ML Filter RT-L1000FLR | 30389213 | 30389213
|  | Tips LTS 20UL Filter RT-L10FLR | 30389226 | 30389226
Alternate Recommendations (If Rainin pipette tips are unavailable, any of the listed pipette tips may be used)
Pipettes
| Eppendorf | Eppendorf Research plus, 8-channel, epT.I.P.S. Box, 0.5 – 10 µL | 3125000010 | 3125000010
|  | Eppendorf Research plus, 8-channel, epT.I.P.S. Box, 10 – 100 µL | 3125000036 | 3125000036
|  | Eppendorf Research plus, 8-channel, epT.I.P.S. Box, 30 – 300 µL | 3125000052 | 3125000052
|  | Eppendorf Research plus, 1-channel, epT.I.P.S.® Box, 0.1 – 2.5 µL | 3123000012 | 3123000012
|  | Eppendorf Research plus, 1-channel, epT.I.P.S.® Box, 0.5 – 10 µL | 3123000020 | 3123000020
|  | Eppendorf Research plus, 1-channel, epT.I.P.S.® Box, 2 – 20 µL | 3123000039 | 3123000039
|  | Eppendorf Research plus, 1-channel, epT.I.P.S.® Box, 2 – 200 µL | 3123000055 | 3123000055
|  | Eppendorf Research plus, 1-channel, epT.I.P.S.® Box, 100 – 1000 µL | 3123000063 | 3123000063
Pipette Tips (compatible with Eppendorf pipettes only)
| Eppendorf | ep Dualfilter T.I.P.S., 2-20 µL | 30078535 | 30078535
|  | ep Dualfilter T.I.P.S., 2-200 µL | 30078551 | 30078551
|  | ep Dualfilter T.I.P.S., 2-1,000 µL | 30078578 | 30078578
Pipette Tips (Compatible with Rainin pipettes)
| Labcon | ZAP SLIK 20 µL Low Retention Aerosol Filter Pipet Tips for Rainin LTS | 4-1143-965-008 | 4-1143-965-008
|  | ZAP SLIK 200 µL Low Retention Aerosol Filter Pipet Tips for Rainin LTS | 4-1144-965-008 | 4-1144-965-008
|  | ZAP SLIK 1200 µL Low Retention Aerosol Filter Pipet Tips for Rainin LTS | 4-1145-965-008 | 4-1145-965-008
Pipettes Tips (Compatible with Rainin pipettes)
| Biotix | xTIP4 Racked Pipette Tips, Rainin LTS Pipette Compatible, 0.1-20uL | 63300931 | 63300931
|  | xTIP4 Racked Pipette Tips, Rainin LTS Pipette Compatible, 200uL | 63300001 | 63300001
|  | xTIP4 Racked Pipette Tips, Rainin LTS Pipette Compatible, 1200uL | 63300004 | 63300004

## Library Construction
PROTOCOL PLANNER ¦ CG000748 Rev A ¦ 10xgenomics.com
Chromium GEM-X Single Cell Gene Expression v4 & Immune Profiling v3
Library Construction - Additional Kits, Reagents & Equipment
The items in the tables below have been tested by 10x Genomics and perform optimally with the Chromium Single Cell protocols. Substituting materials may adversely affect system performance. This list may not include standard laboratory equipment such as water baths, centrifuges, pH meters, freezers etc.
| Item | Description | Supplier | Part Number (US)
Plastics
| 0.2 ml PCR 8-tube strips | PCR Tubes 0.2 ml 8-tube strips | Eppendorf | 951010022
|  | TempAssure PCR 8-tube strip | USA Scientific | 1402-4700
|  | MicroAmp 8-Tube Strip, 0.2 ml MicroAmp 8-Cap Strip, clear | Thermo Fisher Scientific Thermo Fisher Scientific | N8010580 N8010535
(Choose either Eppendorf, USA Scientific or Thermo Fisher Scientific PCR 8-tube strips)
| 1.5 ml tubes | DNA LoBind Tubes 1.5 ml | Eppendorf | 22431005
| 2 ml tubes | DNA LoBind Tubes 2.0 ml | Eppendorf | 22431005
(Choose either 1.5-ml or 2-ml tubes for reagent & buffer preparation)
Kits & Reagents
| Nuclease-free water | Molecular Grade Nuclease-free Water | Thermo Fisher Scientific | AM9937
| Ethanol | Ethanol, Pure (200 Proof, anhydrous) | Millipore Sigma | E7023-500ML
| SPRIselect | SPRIselect Reagent Kit | Beckman Coulter | B23318
| Tween 20 | 10% Tween 20 | Bio-Rad | 1662404
| 50% Glycerol | Glycerin (glycerol), 50% (v/v) Aqueous Solution | Ricca Chemical Company | 3290-32
| 1X PBS | Phosphate-Buffered Saline, 1X without calcium and magnesium | Corning | 21-040-CV
| Buffer EB | Qiagen Buffer EB | Qiagen | 19086
Equipment
| Vortex | Vortex Mixer | VWR | 10153-838
| Reagent Reservoirs | Divided Polystyrene Reservoirs | VWR | 41428-958
| Centrifuge | Mini Centrifuge Or any equivalent mini centrifuge | VWR | 76269-064
| Thermomixer | Eppendorf ThermoMixer C | Eppendorf | 5382000023
| Heat Block | Eppendorf SmartBlock 1.5 ml, Thermoblock for 24 reaction vessel Or any equivalent temperature controlled heat block | Eppendorf | 5360000038
Quantification & Quality Control
| Bioanalyzer & associated reagents | 2100 Bioanalyzer Laptop Bundle (discontinued) (Replacement 2100 Bioanalyzer Instrument/ 2100 Expert Laptop Bundle) | Agilent | G2943CA G2939BA/G2953CA
|  | High Sensitivity DNA Kit | Agilent | 5067-4626
| TapeStation & associated reagents | 4200 TapeStation | Agilent | G2991AA
|  | High Sensitivity D1000: ScreenTape/ Reagents | Agilent | 5067-5592/ 5067-5593
|  | High Sensitivity D5000: ScreenTape/ Reagents | Agilent | 5067-5584/ 5067-5585
| LabChip & associated reagents | LabChip GX Touch HT Nucleic Acid Analyzer | PerkinElmer | CLS137031
|  | DNA High Sensitivity Reagent Kit | PerkinElmer | CLS760672
(Choose Bioanalyzer, TapeStation or LabChip based on availability & preference)
| Library quantification kit | KAPA Library Quantification Kit for Illumina Platforms | KAPA Biosystems | KK4824
For some items, a number of vendor options are listed. Choose item based on availability and preference. Refer to the manufacturer's website for regional part numbers.

## csv for Connect (hidden)
V1.28
SAMPLEPARAMETERS | SAMPLENAME | lib_trans_vol | lib_dil_vol | lib_dil_dilu | lib_do_pool | USERDEFINED1 | USERDEFINED2 | USERDEFINED3 | USERDEFINED4
#REF! | #REF! | 56.8182 | 0 | 0 | 1
#REF! | #REF! | 0 | 0 | 0 | 3
#REF! | #REF! | 43.4783 | 0 | 0 | 1
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 5 | 25 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 5 | 15 | 6
#REF! | #REF! | 0 | 5 | 20 | 6
#REF! | #REF! | 0 | 5 | 30 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
RUNPARAMETERS | SELECTION
runName
Pool 1 Diluent Volume? | #REF!
Pool 2 Diluent Volume? | #REF!
Pool 3 Diluent Volume? | #REF!
Pool 4 Diluent Volume? | #REF!
Pool 5 Diluent Volume? | #REF!
Pool 6 Diluent Volume? | #REF!

## WorksheetWillHide (hidden)
0 | 0 | 56.8182
0 | 0 | 0
0 | 0 | 43.4783
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
5 | 25 | 0
0 | 0 | 0
5 | 15 | 0
5 | 20 | 0
5 | 30 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0