## Readme
|  | PROTOCOL PLANNER |  |  |  | CG000556
|  | Visium CytAssist Spatial Gene Expression |  |  |  | Rev H
Introduction
The Visium CytAssist is compatible with FFPE tissue sections placed on blank slides. This document provides workflow overviews for processing FFPE tissue and additional equipment, kits, and reagents for the following assays:
| • | Visium CytAssist Spatial Gene Expression
| • | Visium CytAssist Spatial Gene and Protein Expression
Reagents and hardware produced by 10x Genomics are not listed in this document. Unless otherwise indicated, reagent and equipment tables apply to both assays.
Copy-Paste Guidelines: The sheet is protected to prevent altering the content. In order to copy-paste, right click to select a cell's text.
Printing Guidelines: The print area has been set for each tab in this document. Go to Print. For orientation, select "Portrait." For scaling, select "Fit all columns to one page." To print the entire workbook, Go to Print and under settings select "Print Entire Workbook." To create a pdf document, go to Print and select "Adobe PDF" as the printer. Do not go to "Save as Adobe PDF."
Workflow Overview
Visium CytAssist Spatial Gene Expression
Figure 1. Comparison of the workflows for Visium CytAssist Spatial Gene Expression based on sample preservation method. The steps for probe hybridization and those that follow are the same, regardless of sample type.
Visium CytAssist Spatial Gene & Protein Expression (for FFPE)
Figure 2. Comparison of the FFPE workflows for Gene Expression only (labeled in green), or for Gene and Protein Expression (labeled in yellow).
Document Resources
Visium CytAssist Spatial Gene Expression
| Select one tissue preservation option: |  |  | The relevant handbook and tested slides will become highlighted throughout the workbook.
| Steps |  | Document |  | Section on 10x Genomics Support Website & Doc Number |  | FFPE – GEX
1 | Experimental Design & Planning Before starting the experiment, refer to these documents for protocol planning and preparation. |  | Visium CytAssist Protocol Planner Workflow overview and additional reagents for Visium v2 workflow. |  | User Guide CG000556 |  | FFPE – PEX
|  |  | Add-on Antibody Optimization (optional) Determine optimal add-on antibody concentration. |  | x CG000664 |  | Fresh Frozen – GEX
|  |  | Visium CytAssist Quick Reference Card for Accessory Kit Instruction Determine allowable areas for tissue slides. |  | User Guide CG000548 |  | Fixed Frozen – GEX
|  |  | Visium CytAssist Instrument User Guide with Readiness Test Provides information on set up and maintenance of the Visium CytAssist instrument. |  | User Guide CG000542
|  |  | Visium CytAssist Spatial Training Kit User Guide Practice using the Visium CytAssist instrument. |  | User Guide CG000549
|  |  | Imaging Guidelines Optimize imaging settings for Visium CytAssist Spatial Gene Expression workflow. |  | Technical Note CG000521
2 | Tissue Slide Preparation and Staining Prepare tissue slides. Choose one protocol. |  | FFPE for GEX – Tissue Preparation Guide QC tissue blocks; section tissue onto slides; QC and process archived slides. |  | Demonstrated Protocol CG000518 |  | N
|  |  | FFPE for PEX – Tissue Preparation Guide QC tissue blocks; section tissue onto slides; QC and process archived slides. |  | Demonstrated Protocol CG000660 |  | N
|  |  | Fresh Frozen (FF) for GEX – Tissue Preparation Guide Freeze and embed tissue; QC tissue block; section tissue onto slides. |  | Demonstrated Protocol CG000636 |  | N
|  |  | Fixed Frozen (FxF) for GEX – Tissue Preparation Guide Fixing and embedding tissue sections, sectioning and section placement, RNA quality assessment, H&E staining, and IF staining. |  | Demonstrated Protocol CG000663 |  | N
3 | Deparaffinization, Staining & Decrosslinking Stain tissue slides. Choose one protocol. |  | FFPE for GEX – Deparaffinization + H&E Staining + Decrosslinking Deparaffinize, stain, image and decrosslink tissue. OR FFPE for GEX – Deparaffinization + Decrosslinking + IF Staining Deparaffinize, decrosslink, stain and image tissue. |  | Demonstrated Protocol CG000520 OR Demonstrated Protocol CG000519 |  | N
|  |  | FF – MeOH Fixation + H&E Staining + Destaining Fix, stain, image and destain tissue. |  | Demonstrated Protocol CG000614 |  | N
|  |  | FxF – Rehydration + H&E Staining + Decrosslinking Rehydrate, stain, image and decrosslink tissue. |  | Demonstrated Protocol CG000662 |  | N
|  |  | FFPE for PEX – Deparaffinization + H&E Staining + Decrosslinking Deparaffinize, stain, image and decrosslink tissue. OR FFPE for PEX – Deparaffinization + Decrosslinking + IF Staining Deparaffinize, decrosslink, stain and image tissue. |  | Demonstrated Protocol CG000658 OR Demonstrated Protocol CG000659 |  | N
4 | Library Construction Perform library construction. |  | Visium CytAssist Spatial Gene Expression Construct Visium CytAssist Spatial Gene Expression – Probe-based libraries. |  | User Guide CG000495 |  | N
|  |  | Visium CytAssist Spatial Gene and Protein Expression Construct Visium CytAssist Spatial Gene Expression – Probe-based and Protein Expression libraries. |  | User Guide CG000494 |  | N
Data Analysis Overview
Visium CytAssist Spatial Gene Expression
Figure 2. Software pipeline for Visium CytAssist Spatial Gene Expression
Visium CytAssist Spatial Gene and Protein Expression
Figure 2. Software pipeline for Visium CytAssist Spatial Gene and Protein Expression
Key information that should be collected and provided to the data analyst/bioinformatician to ensure that parameters are set appropriately for Space Ranger to analyze the data:
| • | Sample name, library type, sample index set, and sample index plate well location
| • | The corresponding imaging type (Brightfield vs Fluorescence [color composite] vs Fluorescence [multipage TIFF]) for the supplied image of the tissue slide. For fluorescence, specify which channel is DAPI.
| • | Visium slide serial number and Capture Area on the slide corresponding to each sample (also present in CytAssist metadata)
| • | The CytAssist instrument-captured Brightfield image with fiducial frame
Document Revision Summary
| Updated | Version | Summary of Changes
| 2024-04-11 | Rev H | Added 10x Genomics RNase Inhibitor 40X (PN-2001488)
© 2025 10x Genomics, Inc. (10x Genomics). All rights reserved. Duplication and/or reproduction of all or any portion of this document without the express written consent of 10x Genomics, is strictly forbidden. Nothing contained herein shall constitute any warranty, express or implied, as to the performance of any products described herein. Any and all warranties applicable to any products are set forth in the applicable terms and conditions of sale accompanying the purchase of such product. 10x Genomics provides no warranty and hereby disclaims any and all warranties as to the use of any third-party products or protocols described herein. The use of products described herein is subject to certain restrictions as set forth in the applicable terms and conditions of sale accompanying the purchase of such product. A non-exhaustive list of 10x Genomics’ marks, many of which are registered in the United States and other countries can be viewed at: www.10xgenomics.com/trademarks. 10x Genomics may refer to the products or services offered by other companies by their brand name or company name solely for clarity, and does not claim any rights in those third-party marks or names. 10x Genomics products may be covered by one or more of the patents as indicated at: www.10xgenomics.com/patents. All products and services described herein are intended FOR RESEARCH USE ONLY and NOT FOR USE IN DIAGNOSTIC PROCEDURES. The use of 10x Genomics products in practicing the methods set forth herein has not been validated by 10x Genomics, and such non-validated use is NOT COVERED BY 10X GENOMICS STANDARD WARRANTY, AND 10X GENOMICS HEREBY DISCLAIMS ANY AND ALL WARRANTIES FOR SUCH USE. Nothing in this document should be construed as altering, waiving or amending in any manner 10x Genomics terms and conditions of sale for the Chromium Controller or the Chromium Single Cell Controller, consumables or software, including without limitation such terms and conditions relating to certain use restrictions, limited license, warranty and limitation of liability, and nothing in this document shall be deemed to be Documentation, as that term is set forth in such terms and conditions of sale. Nothing in this document shall be construed as any representation by 10x Genomics that it currently or will at any time in the future offer or in any way support any application set forth herein.
Contact
support@10xgenomics.com
10x Genomics, Inc.
6230 Stoneridge Mall Road
Pleasanton, CA 94588 USA

## Pipette & Tips
PROTOCOL PLANNER ¦ CG000556 Rev H ¦ 10xgenomics.com
Visium CytAssist Spatial Gene Expression
Pipette and Pipette Tip Recommendations
The items in the tables below have been validated by 10x Genomics and are highly recommended for the Visium CytAssist assay. Substituting materials may adversely affect system performance. This list does not include standard laboratory equipment such as water baths, centrifuges, vortex mixers, pH meters, freezers etc.
| Description | Supplier | PN | Customer Notes
| Pipet-Lite Multi Pipette L8-200 XLS+ | Rainin (pipettes) | 17013805
| Pipet-Lite LTS Pipette L-2XLS+ |  | 17014393
| Pipet-Lite LTS Pipette L-10XLS+ |  | 17014388
| Pipet-Lite LTS Pipette L-20XLS+ |  | 17014392
| Pipet-Lite LTS Pipette L-100XLS+ |  | 17014384
| Pipet-Lite LTS Pipette L-200XLS+ |  | 17014391
| Pipet-Lite LTS Pipette L-1000XLS+ |  | 17014382
| Tips LTS 200UL Filter RT-L200FLR | Rainin (tips) | 30389240
| Tips LTS 1ML Filter RT-L1000FLR |  | 30389213
| Tips LTS 20UL Filter RT-L10FLR |  | 30389226
| Tips RT LTS 200UL FLW | Rainin (wide bore pipette tips) | 30389241
| Tips RT LTS 1000UL FLW |  | 30389218

## Thermal Cyclers
PROTOCOL PLANNER ¦ CG000556 Rev H ¦ 10xgenomics.com
Visium CytAssist Spatial Gene Expression
Tested Thermal Cyclers
The table below lists the thermal cyclers that have been tested by 10x Genomics for all available Visium CytAssist Spatial Gene Expression assays.
| Description | Supplier | Part Number (US) | Customer Notes
| C1000 Touch Thermal Cycler with 96-Deep Well Reaction Module (discontinued) | Bio-Rad | 1851197
| PTC Tempo Deepwell Thermal Cycler* | Bio-Rad | 12015392
| Biometra TAdvanced 96 SG/S with 96-well block (silver, 0.2 mL) and gradient function** | Analytik Jena | 846-x-070-241/846-x-070-251 (x = 2 for 230 V; 4 for 115 V; 5 for 100 V, 50-60 Hz)
| Mastercycler X50s/X50a*** | Eppendorf | 6311000010
| VeritiPro Thermal Cycler, 96-well | Thermo Fisher Scientific | A48141
• | Requires firmware 1.2.0 or later.
• | Open lid slowly to avoid disturbing the cassette.
• | When working with tubes, VeritiPro requires blue MicroAmp 96-Well Tray/Retainer Set for Veriti Systems (PN-4381850), with top piece removed and "Cover Ramping" enabled.
• | After incubation in any thermal cycler, if the cassette becomes stuck to the lid, remove carefully.
* | If used with a single cassette, place the cassette on the side of the Low Profile Thermocycler Adapter furthest away from the thermal cycler hinge to prevent lid lock errors.
• ** *** | For select instruments, ramp rates should be adjusted for all steps as described below: Analytik Jena Biometra TAdvanced 96 SG/S: 2°C/sec for both heating and cooling Eppendorf Mastercycler X50s/x50a: 3°C/sec heating and 2°C/sec cooling
• | If reactions are performed on a slide, a thermal cycler must be able to accommodate the dimensions of the Low Profile Thermocycler Adapter, including well depth (4.5 mm), distance between block and heated lid (12 mm), and reaction block dimensions (95.5 x 73 mm).
• | If reactions are performed in a tube (Probe Elution onward), thermal cycler should have uniform heating of 100 μl volumes, a temperature-controlled lid, and a 96 deep-well block or 0.2 ml block configuration.

## Real Time qPCR
PROTOCOL PLANNER ¦ CG000556 Rev H ¦ 10xgenomics.com
Visium CytAssist Spatial Gene Expression
Tested Real Time qPCR Systems
The table below lists the real time qPCR systems that have been tested by 10x Genomics for all available Visium CytAssist Spatial Gene Expression assays. Equivalent systems compatible with 10 µl reaction volumes may also be used.
| Description | Supplier | Part Number (US) | Customer Notes
| QuantStudio 12K Flex System | Applied Biosystems | 4471087
| CFX96 Real-time System (discontinued) | Bio-Rad | 1855096

## Slides
PROTOCOL PLANNER ¦ CG000556 Rev H ¦ 10xgenomics.com
Visium CytAssist Spatial Gene Expression
Visium CytAssist Spatial Gene Expression Tested Slides
The following slides have been tested for use with the Visium CytAssist instrument and associated cassettes. Diagrams for verifying that tissue sections are placed in the allowable area can be found in the Visium CytAssist Quick Reference Cards - Accessory Kit (Document CG000548).
| While the manufacturer's description of some slides may imply that they are compatible with 10x Genomics products, manufacturing tolerances may lead to dimensions that are incompatible with 10x Genomics products. Slide dimensions must be within 24.8 mm - 25.3 mm (width), 74.4 mm - 76.2 mm (length) to fit the Visium CytAssist Tissue Slide Cassette. | [7 empty] | 0
| Description | Supplier | PN | Length (mm) | Width (mm) | Thickness (mm) | Important Considerations | Customer Notes
| Epredia Shandon ColorFrost Plus | Fisher Scientific | 67-762-14 | 75 | 25 | 1
| Fisherbrand SuperFrost Plus | Fisher Scientific | 12-550-15 | 75 | 25 | 1
| Sigma-Aldrich Poly Prep Slides | Millipore Sigma | P0425 | 75 | 25 | 1
| VWR SuperFrost Plus Micro Slide, Premium | VWR | 48311-703 | 75 | 25 | 1

## Ab Optimization
PROTOCOL PLANNER ¦ CG000556 Rev H ¦ 10xgenomics.com
Visium CytAssist Spatial Gene Expression
Kits, Reagents & Equipment
Add-on Antibody Optimization, optional (CG000664)
The items in the tables below have been tested by 10x Genomics and perform optimally with Visium CytAssist Spatial Gene Expression protocols. Substituting materials may adversely affect system performance. This list may not include standard laboratory equipment such as water baths, centrifuges, pH meters, freezers etc. For items with multiple options listed, choose option based on availability and preference. Alternative part numbers for different volumes of the same validated reagent may be available.
| Item | Description | Supplier | Part Number (US) | Customer Notes
Add-on Antibody Optimization Demonstrated Protocol
| Amp Mix | AllTaq PCR Core Kit | Qiagen | 203123
| Xylene | Xylene, Reagent Grade | Millipore Sigma | 214736
|  | Xylene, Histological Grade | Millipore Sigma | 534056
| Ethanol | Ethyl Alcohol, Pure (200 Proof, anhydrous) | Millipore Sigma | E7023
|  | Ethanol absolute ≥99.5%, TechniSolv, pure (Europe Only) Or any equivalent ≥99.5% molecular biology grade ethanol | VWR | 83813.360DP
| Citrate Buffer | Citrate Buffer, pH 6.0, 10x, Antigen Retriever | Millipore Sigma | C9999-1000ML
| Tris 1 M (Tris-HCl) | Tris 1 M, pH 8.0, RNase-free | Thermo Fisher Scientific | AM9855G
|  | Tris 1 M, pH 8.0 | Teknova | T5080
|  | UltraPure 1M Tris-HCl, pH 8.0 | Invitrogen | 15568025
| PBS | PBS - Phosphate Buffered Saline (10X) pH 7.4, RNase-free Or any equivalent nuclease/RNase-free 10X PBS pH 7.4 | Thermo Fisher Scientific | AM9624
| Tween-20 | Tween 20 Surfact-Amps Detergent Solution (10% solution) | Thermo Fisher Scientific | 28320
| qPCR Mix | KAPA SYBR Fast qPCR Master Mix (2X) | KAPA Biosystems (US Only) | KK4600
Millipore Sigma (Europe, Asia & Canada)
| Nuclease-free water | Nuclease-free Water (not DEPC-treated) Or any equivalent nuclease-free (not DEPC-treated) water | Thermo Fisher Scientific | AM9937
| DAPI | DAPI Solution (1 mg/ml) | Thermo Fisher Scientific | 62248
| 8M KOH | Potassium Hydroxide Solution, 8M | Millipore Sigma | P4494-50ML
| 20X SSC Buffer | SSC Buffer 20X Concentration Or any equivalent DNase, RNase, Protease-free 20X SSC buffer | Millipore Sigma | S66391L
| Oligo-conjugated Antibodies | TotalSeq-Bn Antibodies | BioLegend | -
| Antibody Oligo Primers* | Forward Primer (5'-3'): GTGACTGGAGTTCAGACGTG Reverse Primer (3'-5'): GCTAGGACCGGCCTTAAAGC | - | -
| Secondary Antibodies** | Donkey anti-Mouse IgG (H+L) Highly Cross-Adsorbed Secondary Antibody, Alexa Fluor 568 | Thermo Fisher Scientific | A10037
|  | Donkey anti-Rabbit IgG (H+L) Highly Cross-Adsorbed Secondary Antibody, Alexa Fluor 568 | Thermo Fisher Scientific | A10042
| Autofluorescence Quencher Optional | TrueBlack Lipofuscin Autofluorescence Quencher | Biotium | 23007
| Mounting medium | SlowFade Diamond Antifade Mountant | Thermo Fisher Scientific | S36967
| Glycerol | Glycerol Or any equivalent high-purity, DNase, RNase, Protease-free glycerol | Acros Organics | 327255000
| Buffer EB | Qiagen Buffer EB | Qiagen | 19086
| Staining jar/dishes | Coplin Jar Or any equivalent Coplin jar | VWR | 100500-232
|  | Staining Dishes Or any equivalent non xylene-reactive staining dish | VWR | 25608-906
| Section dryer oven | Epredia High Capacity Section Dryer Or any equivalent dryer with stable temperature control | Fisher Scientific | A84600051
| Forceps | Excelta 3C-S-SE Tweezers Very Fine Point Straight SS | Excelta | 3C-S-SE
| 1.5 ml tubes | DNA LoBind Tubes, 1.5 ml | Eppendorf | 022431021
|  | Low DNA Binding Tubes, 1.5 ml | Sarstedt | 72.706.700
| PCR Plates and Sealing Film | Hard-shell PCR Plates 96-well, thin wall (pkg of 50) (or any compatible PCR plate) | Bio-Rad | HSP9665
|  | Microseal 'B' PCR Plate Sealing Film adhesive (Or any compatible PCR Plate sealing adhesive) | Bio-Rad | MSB1001
Additional Materials
Razor Blades
Ultrapure/Milli-Q Water for Water Bath from Milli-Q Integral Ultrapure Water System or equivalent
* Order primers at 100 micromole scale and choose standard desalting purification. **Select secondary antibodies based on primary antibody host. Avoid secondary antibodies with fluorescent dyes with emission maxima of 520 ± 20 nm such as FITC, Alexa Fluor 488, and ATTO 488 due to background fluorescence.

## FFPE
PROTOCOL PLANNER ¦ CG000556 Rev H ¦ 10xgenomics.com
Visium CytAssist Spatial Gene Expression
Kits, Reagents & Equipment | [5 empty] | 0
The items in the tables below have been tested by 10x Genomics and perform optimally with Visium CytAssist Spatial Gene Expression protocols. Substituting materials may adversely affect system performance. This list may not include standard laboratory equipment such as water baths, centrifuges, pH meters, freezers etc. For items with multiple options listed, choose option based on availability and preference. Alternative part numbers for different volumes of the same validated reagent may be available.
FFPE – Tissue Preparation Guide (CG000518 or CG000560) | [5 empty] | N
| Item | Description | Supplier | Part Number (US) | Customer Notes
For FFPE Tissue Sectioning & Section Placement
| Microtome | Epredia HM 355S Automatic Microtome Or any standard histology grade microtome | Fisher Scientific | 23-900-672
| Microtome Blade | Epredia MX35 Premier Disposable Microtome Blades, Low Profile | Fisher Scientific | 3052835
| Cool-cut Optional | Thermo Scientific Cool-Cut Optional | Fisher Scientific | 77-112-0
| Section transfer system (STS) Optional | Thermo Scientific Section Transfer System (STS) Optional - if using Section Transfer System | Fisher Scientific | 771200
| Probes | Fisherbrand Fine Precision Probe | Fisher Scientific | 12-000-153
| Forceps | Fisherbrand Curved Medium Point General Purpose Forceps | Fisher Scientific | 16-100-110
| Water bath | Premiere Tissue Floating Bath, Lighted Or any equivalent water bath | Fisher Scientific | 76278-820
| Section dryer oven | Epredia High Capacity Section Dryer | Fisher Scientific | A84600051
| Slide drying rack If using section dryer oven | StatLab TISSUE-TEK VERT 24 SLIDE RACK | Fisher Scientific | LWS2124
| Thermal cycler Alternative to section dryer oven | Any thermal cycler on the Tested Thermal Cyclers tab. | - | -
| Green Marker Optional, if marking area of interest | Sharpie Argyle Green Permanent Marker Or any equivalent hue | Sharpie | 1785396
| Brushes | Camel Hair Brushes Or any equivalent paintbrush | Ted Pella | 11859
| Blank Slides | Choose a positively-charged glass slide with dimensions compatible with the Visium CytAssist assay. See "Tested Slides" tab
Additional Materials
Razor blades
Ice bucket
Dry ice
Ultrapure/Milli-Q Water for Water Bath from Milli-Q Integral Ultrapure Water System or equivalent
| Item | Description | Supplier | Part Number (US) | Customer Notes
RNA Quality Assessment (DV200) Reagents
| Xylene | Xylene, Reagent Grade | Millipore Sigma | 214736
|  | Xylene, Histological Grade | Millipore Sigma | 534056
| Ethanol | Ethyl Alcohol, Pure (200 Proof, anhydrous) | Millipore Sigma | E7023-500ML
|  | Ethanol absolute ≥99.5%, TechniSolv, pure (Europe Only) | VWR | 83813.360DP
| RNA extraction | RNeasy FFPE Kit (50) | Qiagen | 73504
| Deparaffinization solution | Deparaffinization Solution | Qiagen | 19093
| RNase decontamination solution | RNaseZap RNase Decontamination Solution | Thermo Fisher Scientific | AM9780
| Nuclease-free water | Nuclease-free Water (not DEPC-treated) | Thermo Fisher Scientific | AM9937
| Staining dishes If working with hardset coverslipped slides | Staining Dish, White | VWR | 25608-906
| Coplin jars If working with hardset coverslipped slides | Glass Coplin Staining Jar, Screw Cap | VWR | 2100500-232
| Metal block If working with hardset coverslipped slides | Light Labs 96-WELL ALUMINUM BLOCK | Fisher Scientific | NC9820161
| 1.5-ml centrifuge tubes | DNA LoBind Tubes, 1.5 ml | Eppendorf | 22431021
| 0.2 ml PCR 8-tube strips Choose either Eppendorf, USA Scientific, or Thermo Fisher Scientific PCR 8-tube strips | PCR Tubes 0.2 ml 8-tube strips | Eppendorf | 951010022
|  | TempAssure PCR 8-tube strip | USA Scientific | 1402-4700
|  | MicroAmp 8-TubeStrip, 0.2 ml | Thermo Fisher Scientific | N8020580
|  | MicroAmp 8- cap Strip, clear | Thermo Fisher Scientific | N8010535
| Nanodrop | Nanodrop 2000c Spectrophotometers Or any equivalent Nanodrop | Thermo Fisher Scientific | ND-2000C
| Qubit Fluorometer Alternative to Nanodrop | Qubit RNA BR Assay Kit | Thermo Fisher Scientific | Q10210
|  | Qubit Assay Tubes | Thermo Fisher Scientific | Q32856
|  | Qubit 4 Fluorometer | Thermo Fisher Scientific | Q33238
| Bioanalyzer/TapeStation Choose Bioanalyzer or TapeStation based on availability & preference. | RNA 6000 Pico Kit | Agilent | 5067-1513
|  | 2100 Bioanalyzer Laptop Bundle | Agilent | G2953CA
|  | 4200 TapeStation | Agilent | G2991AA
|  | High Sensitivity RNA ScreenTape | Agilent | 5067-5579
|  | High Sensitivity RNA ScreenTape Ladder | Agilent | 5067-5581
|  | High Sensitivity RNA ScreenTape Sample Buffer | Agilent | 5067-5580
FFPE – Deparaffinization + H&E Staining + Decrosslinking (CG000520 or CG000658) | [5 empty] | N
| Item | Description | Supplier | Part Number (US) | Customer Notes
Deparaffinization, H&E Staining, & Decrosslinking Reagents
| Xylene | Xylene, Reagent Grade | Millipore Sigma | 214736
|  | Xylene, Histological Grade | Millipore Sigma | 534056
| Ethanol | Ethyl Alcohol, Pure (200 Proof, anhydrous) | Millipore Sigma | E7023-500ML
|  | Ethanol absolute ≥99.5%, TechniSolv, pure (Europe Only) | VWR | 83813.360DP
| Eosin | Eosin Y-solution, Alcoholic | Millipore Sigma | HT110116
|  | Eosin Y Solution (Modified Alcoholic) | Abcam | ab246824
|  | Eosin Y with Phloxine 1% alcoholic solution | VWR | 10143-138
|  | Eosin Y Solution, Alcoholic, with Phloxine | Millipore Sigma | HT110332
| Hematoxylin | Hematoxylin Solution, Mayer's | Millipore Sigma | HT110332
|  | Hematoxylin Solution According to Mayer | Millipore Sigma | MHS16
|  | Hematoxylin, Mayer's | Agilent | 51275
| Bluing reagent | Bluing Reagent, Dako | Agilent | CS70230-2
|  | Thermo Scientific Shandon Bluing Reagent | Fisher Scientific | 6769001
|  | Scott's Bluing Agent | Ricca Chemical Company | 6697
| Glycerol | Glycerol | Acros Organics | 327255000
|  | Glycerol Solution | Millpore Sigma | 49781
| 0.1 N HCl | Hydrochloric Acid Solution, 0.1 N Or any equivalent 0.1N hydrochloric acid solution | Fisher Chemical | SA54-1
| Staining Dishes | Staining Dishes | VWR | 25608-906
|  | Coplin Jar | VWR | 100500-232
| Section dryer oven | Epredia High Capacity Section Dryer Or any equivalent dryer with stable temperature control | Fisher Scientific | A84600051
| Thermal cycler Alternative to section dryer oven | Any thermal cycler on the Tested Thermal Cyclers tab. | - | -
| Thermomixer Alternative to water bath | Thermomixer C, with SmartBlock -2.0 mL Or any equivalent 2mL thermomixer | Eppendorf | 5382000023
| Slide holders | Slide Holders, 24-piece | VWR | 25608-868
| Coverslips (50 x 24 mm) | Fisherbrand Cover Glasses: Rectangles | Fisher Scientific | 12-544-EP
|  | Cover Glasses, Rectangular | VWR | 16004-322
Additional Materials
1000-ml Beakers (7)
Ultrapure/Milli-Q Water for Water Bath from Milli-Q Integral Ultrapure Water System or equivalent
FFPE for GEX – Deparaffinization + Decrosslinking + IF Staining (CG000519 or CG000659) | [5 empty] | N
| Item | Description | Supplier | Part Number (US) | Customer Notes
Deparaffinization, Decrosslinking, Immunofluorescence Staining & Imaging
| Xylene | Xylene, Reagent Grade | Millipore Sigma | 214736
|  | Xylene, Histological Grade | Millipore Sigma | 534056
| Glycerol | Glycerol | Acros Organics | 327255000
|  | Glycerol Solution | Millipore Sigma | 49781
| Ethanol | Ethyl Alcohol, Pure (200 Proof, anhydrous) | Millipore Sigma | E7023
|  | Ethanol absolute ≥99.5%, TechniSolv, pure (Europe Only) | VWR | 83813.360DP
| PBS | PBS - Phosphate Buffered Saline (10X) pH 7.4, RNase-free | Thermo Fisher Scientific | AM9624
| Tween-20 | Tween 20 Surfact-Amps Detergent Solution (10% solution) | Thermo Fisher Scientific | 28320
| Nuclease-free water | Nuclease-free Water (not DEPC-treated) | Thermo Fisher Scientific | AM9937
| DAPI | DAPI Solution (1 mg/ml) | Thermo Fisher Scientific | 62248
| Antibodies | - | - | -
| RNase inhibitor | RNase Inhibitor 40X | 10x Genomics | 2001488 Kit PN-1000887
|  | Protector RNase Inhibitor (Alternative to 10x Genomics product) | Millipore Sigma | 3335399001
| Mounting medium | SlowFade Diamond Antifade Mountant | Thermo Fisher Scientific | S36967
|  | SlowFade Gold Antifade Mountant | Thermo Fisher Scientific | S36966
| Section dryer oven | Epredia High Capacity Section Dryer | Fisher Scientific | A84600051
| Slide holders | Slide Holders, 24-place | VWR | 25608-868
| Coverslips (50 x 24 mm) | Fisherbrand Cover Glasses: Rectangles | Fisher Scientific | 12-544-EP
|  | Cover Glasses, Rectangular | VWR | 16004-322
| Staining jar/dishes | Coplin Jar | VWR | 100500-232
|  | Staining Dishes | VWR | 25608-906
| Green Marker Optional, if annotating slide | Sharpie Argyle Green Permanent Marker Or any equivalent hue | Sharpie | 1785396
| Autofluorescence Quencher Optional | TrueBlack Lipofuscin Autofluorescence Quencher | Biotium | 23007
Additional Materials
Beakers
Ultrapure/Milli-Q Water for Water Bath from Milli-Q Integral Ultrapure Water System or equivalent

## FF
PROTOCOL PLANNER ¦ CG000556 Rev H ¦ 10xgenomics.com
Visium CytAssist Spatial Gene Expression
Kits, Reagents & Equipment | [5 empty] | 0
The items in the tables below have been tested by 10x Genomics and perform optimally with Visium CytAssist Spatial Gene Expression protocols. Substituting materials may adversely affect system performance. This list may not include standard laboratory equipment such as water baths, centrifuges, pH meters, freezers etc. For items with multiple options listed, choose option based on availability and preference. Alternative part numbers for different volumes of the same validated reagent may be available.
Fresh Frozen for GEX – Tissue Preparation Guide (CG000636) | [5 empty] | N
| Item | Description | Supplier | Part Number (US) | Customer Notes
For Freezing & Embedding
| Isopentane | Isopentane (2-Methylbutane) | Millipore Sigma | 270342
| Forceps | Specimen Forceps, Straight, 203 mm (8") | VWR | 82027-436
|  | Specimen Forceps, Straight, 152 mm (6") | VWR | 82027-438
| Spatula | Round/Tapered Spatula, Stainless Steel | VWR | 82027-490
| Beaker | Stainless Steel Beaker (250 ml) | VWR | 89075-592
| Cryovial | WHEATON 5 ml CryoELITE Tissue Vial | Wheaton | W985100
| Mortar | Round/Tapered Spatula, Stainless Steel Remove 1.5 mL Tube holder prior to use. Choose appropriate dewar size based on the size of the steel beaker used. | Grainger | 21TT88
| OCT | TissueTek O.C.T. Compound | VWR | 25608-930
| Molds | Disposable Based Molds (15 x 15 mm) Dependent on the tissue size | VWR | 60872-488
Additional Materials
Razor blades
Liquid Nitrogen
Dry ice
| Item | Description | Supplier | Part Number (US) | Customer Notes
For Cryosectioning & Section Placement
| OCT | TissueTek O.C.T. Compound | VWR | 25608-930
| Centrifuge Tubes | Sterile Centrifuge Tubes with Flat Caps, 50 ml | VWR | 82018-050
| Brushes | Magnetic Brush, big | VWR | 73504
|  | Brush, small beveled | VWR | 14071425
|  | Flat cryostat brush, 10 mm | Fisher Scientific | 14-071-00
| Cryostat | CryoStar NX70 Cryostat Vacutome, Low Profile Blade Carrier | Thermo Fisher Scientific | 957020
| Specimen Chuck | Thermo Scientific Cryostar NX70 Specimen Chuck | Fisher Scientific | 14-071-413
| Slide Mailer | Simport Scientific LockMailer Tamper Evident Slide Mailer (Alternatively, use a 50-ml centrifuge tube) | Fisher Scientific | 22-038-399
| Microtome Blade | MX35 Ultra Microtome Blade Low Profile | Fisher Scientific | 3051835
| Glass Anti-Roll Plate, Optional | Glass Anti-Roll Plate | Fisher Scientific | A78930200
| Blank Slides | Choose a positively-charged glass slide with dimensions compatible with the Visium CytAssist assay. See "Tested Slides" tab
Additional Materials
Forceps
Dry ice
| Item | Notes |  |  | Customer Notes
General Cryostat Specifications This protocol describes the use of a Cryostar NX70 Cryostat with specific capabilities. Alternatively, use a different cryostat with the following features.
| Main Cryochamber | Maintains stable temperatures from –10°C to –20°C
| Cryostat Blade | Separate and adjustable temperature control Maintains stable temperatures from –35°C to –5°C
| Specimen Head | Separate and adjustable temperature control Maintains stable temperatures from –50°C to +10°C X-axis and Y-axis adjustment
| Blade Holder Base | Adjustable cutting angle Adjustable blade position Section thickness 10-50 μm
| Cryobar | Rapid cooling
| Item | Description | Supplier | Part Number (US) | Customer Notes
RNA Quality Assessment (RIN) Reagents
| RNA Isolation Kit | RNeasy Mini Kit (50) Refer to Purification of Total RNA from Animal Tissues in Rneasy Mini Handbook | Qiagen | 74104
|  | QIAshredder (50), Optional | Qiagen | 79654
|  | CELLDATA RNAstorm Fresh Cell and Tissue RNA Isolation Kit | Biotium | CD504
| Centrifuge Tubes | DNA LoBind Tubes, 1.5 ml Or any equivalent DNA low bind 1.5ml tubes | Eppendorf | 022434021
| 2-Mercaptoethanol | 2-Mercaptoethanol | Millipore Sigma | M6250-100ML
| Ethanol (if using CELLDATA protocol) | Ethyl Alcohol | Millipore Sigma | M7023-500ML
| Bioanalyzer/TapeStation Choose Bioanalyzer or TapeStation based on availability & preference. | RNA 6000 Pico Kit | Agilent | 5067-1513
|  | 2100 Bioanalyzer Laptop Bundle | Agilent | G2953CA
|  | 4200 TapeStation | Agilent | G2991AA
|  | High Sensitivity RNA ScreenTape | Agilent | 5067-5579
|  | High Sensitivity RNA ScreenTape Ladder | Agilent | 5067-5581
|  | High Sensitivity RNA ScreenTape Sample Buffer | Agilent | 5067-5580
Additional Materials
Nuclease-free Water
Razor blades
Forceps
Dry Ice
Wet Ice
FF – MeOH Fixation + H&E Staining + Destaining (CG000614) | [5 empty] | N
| Item | Description | Supplier | Part Number (US) | Customer Notes
Fixation, H&E Staining, Imaging, Destaining & Permeabilization
| Ethanol | Ethyl Alcohol, Pure (200 Proof, anhydrous) | Millipore Sigma | E7023-500ML
|  | Ethanol absolute ≥99.5%, TechniSolv, pure (Europe Only) | VWR | 83813.360DP
| Methanol | Methanol, for HPLC | Millipore Sigma | 34860
|  | Methanol, anhydrous, 99.8% | Millipore Sigma | 322415
| Coplin jar/staining dishes | Coplin Jar | VWR | 100500-232
|  | Staining Dishes | VWR | 25608-906
| Slide Mailers | Simport Scientific LockMailer Tamper Evident Slide Mailer | Fisher Scientific | 22-038-399
|  | Fisherbrand 5-Place Slide Mailer, PP, End Opening, Natural Optional, if using to store tissue slides after coverslipping | Fisher Scientific | HS15986
| Eosin | Eosin Y-solution, Alcoholic | Millipore Sigma | HT110116
| Hematoxylin | Hematoxylin, Mayer's | Millipore Sigma | MHS16
| Bluing Buffer | Bluing Reagent, Dako | Agilent | CS70230-2
| Glycerol | Glycerol | Acros Organics | 327255000
|  | Glycerol Solution | Millipore Sigma | 49781
| 0.1 N HCl | Hydrochloric Acid Solution, 0.1 N Or any equivalent 0.1N hydrochloric acid solution | Fisher Chemical | SA54-1
| Coverslips (50 x 24 mm) | Fisherbrand Cover Glasses: Rectangles | Fisher Scientific | 12-544-EP
|  | Cover Glasses, Rectangular | VWR | 16004-322
Additional Materials
1000-ml Beakers (7)
Ultrapure/Milli-Q Water for Water Bath from Milli-Q Integral Ultrapure Water System or equivalent
Dry ice

## FxF
PROTOCOL PLANNER ¦ CG000556 Rev H ¦ 10xgenomics.com
Visium CytAssist Spatial Gene Expression
Kits, Reagents & Equipment | [5 empty] | 0
The items in the tables below have been tested by 10x Genomics and perform optimally with Visium CytAssist Spatial Gene Expression protocols. Substituting materials may adversely affect system performance. This list may not include standard laboratory equipment such as water baths, centrifuges, pH meters, freezers etc. For items with multiple options listed, choose option based on availability and preference. Alternative part numbers for different volumes of the same validated reagent may be available.
Fixed Frozen (FxF) for GEX – Tissue Preparation Guide (CG000663) | [5 empty] | N
| Item | Description | Supplier | Part Number (US) | Customer Notes
For Fixation, Freezing & Embedding
| Paraformaldehyde | Paraformaldehyde | Millipore Sigma | 158127
|  | Paraformaldehyde, 16% w/v aq. Solution, methanol free | Alfa Aesar | 50-00-0
| PBS | Phosphate-Buffered Saline, 1X without calcium and magnesium, pH 7.4 | Corning | 21-040-CV
| Sucrose | Sucrose | Millipore Sigma | S0389
| HCl | Hydrocholoric Acid Solution, 1N Or any equivalent 0.1N hydrochloric acid solution | Honeywell | 35328
| 50-ml Centrifuge Tubes | 50 mL centrifuge tubes | Millipore Sigma | CLS430829
| Petri Dishes | CytoOne Dishes | USA Scientific | CC7682-3359
| Filters | Nalgene Rapid-Flow Sterile Disposable Filter Units with PES Membranes | Thermo Fisher Scientific | 565-0020
|  | Syringe Filter, 0.22 µm, sterile | VWR | 76479-024
| Forceps | Specimen Forceps, Straight, 203 mm (8") | VWR | 82027-436
|  | Specimen Forceps, Straight, 152 mm (6") | VWR | 82027-438
| Spatula | Round/Tapered Spatula, Stainless Steel | VWR | 82027-490
| Beaker | Fisherbrand Polypropylene Disposable Beakers | Fisher Scientific | FB0129111
| Cryovial | WHEATON 5 ml CryoELITE Tissue Vial | Wheaton | W985100
| Mortar | Round/Tapered Spatula, Stainless Steel Remove 1.5 mL Tube holder prior to use. Choose appropriate dewar size based on the size of the steel beaker used. | Grainger | 21TT88
| OCT | TissueTek O.C.T. Compound | VWR | 25608-930
| Molds | Disposable Based Molds (15 x 15 mm) Dependent on the tissue size | VWR | 60872-488
Additional Materials
Dry ice
Ice bucket
pH Meter
Rocker
| Item | Description | Supplier | Part Number (US) | Customer Notes
For Cryosectioning & Section Placement
| OCT | TissueTek O.C.T. Compound | VWR | 25608-930
| Centrifuge Tubes | 50 mL centrifuge tubes | Millipore Sigma | CLS430829
| Brushes | Magnetic Brush, big | VWR | 334172
|  | Brush, small beveled | VWR | 14071425
|  | Flat cryostat brush, 10 mm | Fisher Scientific | 14-071-00
| Cryostat | CryoStar NX70 Cryostat Vacutome, Low Profile Blade Carrier | Thermo Fisher Scientific | 957020
| Specimen Chuck | Thermo Scientific Cryostar NX70 Specimen Chuck | Fisher Scientific | 14-071-413
| Slide Mailer | Simport Scientific LockMailer Tamper Evident Slide Mailer (Alternatively, use a 50-ml centrifuge tube) | Fisher Scientific | 22-038-399
| Microtome Blade | MX35 Ultra Microtome Blade Low Profile | Fisher Scientific | 3051835
| Glass Anti-Roll Plate, Optional | Glass Anti-Roll Plate | Fisher Scientific | A78930200
| Blank Slides | Choose a positively-charged glass slide with dimensions compatible with the Visium CytAssist assay. See "Tested Slides" tab
Additional Materials
Dry ice
Forceps
| Item | Notes |  |  | Customer Notes
General Cryostat Specifications This protocol describes the use of a Cryostar NX70 Cryostat with specific capabilities. Alternatively, use a different cryostat with the following features.
| Main Cryochamber | Maintains stable temperatures from –10°C to –20°C
| Cryostat Blade | Separate and adjustable temperature control Maintains stable temperatures from –35°C to –5°C
| Specimen Head | Separate and adjustable temperature control Maintains stable temperatures from –50°C to +10°C X-axis and Y-axis adjustment
| Blade Holder Base | Adjustable cutting angle Adjustable blade position Section thickness 10-50 μm
| Cryobar | Rapid cooling
| Item | Description | Supplier | Part Number (US) | Customer Notes
RNA Quality Assessment (DV200) Reagents
| Ethanol | Ethyl Alcohol, Pure (200 Proof, anhydrous) | Millipore Sigma | E7023-500ML
|  | Ethanol absolute ≥99.5%, TechniSolv, pure (Europe Only) | VWR | 83813.360DP
| RNA Isolation | CELLDATA RNAstorm FFPE RNA Extraction Kit | Biotium | CD501
| RNase decontamination solution | RNaseZap RNase Decontamination Solution Or any equivalent RNase decontamination solution | Thermo Fisher Scientific | AM9780
| Nuclease-free water | Nuclease-free Water (not DEPC-treated) | Thermo Fisher Scientific | AM9937
| 1.5-ml centrifuge tubes | DNA LoBind Tubes, 1.5 ml | Eppendorf | 22431021
| 0.2 ml PCR 8-tube strips Choose either Eppendorf, USA Scientific, or Thermo Fisher Scientific PCR 8-tube strips | PCR Tubes 0.2 ml 8-tube strips | Eppendorf | 951010022
|  | TempAssure PCR 8-tube strip | USA Scientific | 1402-4700
|  | MicroAmp 8-TubeStrip, 0.2 ml | Thermo Fisher Scientific | N8020580
|  | MicroAmp 8- cap Strip, clear | Thermo Fisher Scientific | N8010535
| Nanodrop | Nanodrop 2000c Spectrophotometers Or any equivalent Nanodrop | Thermo Fisher Scientific | ND-2000C
| Qubit Fluorometer Alternative to Nanodrop | Qubit RNA BR Assay Kit | Thermo Fisher Scientific | Q10210
|  | Qubit Assay Tubes | Thermo Fisher Scientific | Q32856
|  | Qubit 4 Fluorometer | Thermo Fisher Scientific | Q33238
| Bioanalyzer/ TapeStation Choose Bioanalyzer or TapeStation based on availability & preference. | RNA 6000 Pico Kit | Agilent | 5067-1513
|  | 2100 Bioanalyzer Laptop Bundle | Agilent | G2953CA
|  | 4200 TapeStation | Agilent | G2991AA
|  | High Sensitivity RNA ScreenTape | Agilent | 5067-5579
|  | High Sensitivity RNA ScreenTape Ladder | Agilent | 5067-5581
|  | High Sensitivity RNA ScreenTape Sample Buffer | Agilent | 5067-5580
FxF – Rehydration + H&E Staining + Decrosslinking (CG000662)
| Item | Description | Supplier | Part Number (US) | Customer Notes
H&E Staining, Destaining, & Decrosslinking Reagents
| Ethanol | Ethyl Alcohol, Pure (200 Proof, anhydrous) | Millipore Sigma | E7023-500ML
|  | Ethanol absolute ≥99.5%, TechniSolv, pure (Europe Only) | VWR | 83813.360DP
| Eosin | Eosin Y-solution, Alcoholic | Millipore Sigma | HT110116
| Hematoxylin | Hematoxylin Solution, Mayer's | Millipore Sigma | MHS16
| Bluing reagent | Bluing Reagent, Dako | Agilent | CS70230-2
| PBS | Phosphate-Buffered Saline, 1X without calcium and magnesium, PH 7.4 | Corning | 21-040-CV
| Glycerol | Glycerol | Acros Organics | 327255000
|  | Glycerol Solution | Millipore Sigma | 49781
| 0.1 N HCl | Hydrochloric Acid Solution, 0.1 N Or any equivalent 0.1N hydrochloric acid solution | Fisher Chemical | SA54-1
| Coplin Jars | Coplin Jar | VWR | 100500-232
| Staining Dishes | Staining Dishes | VWR | 25608-906
| Green Marker Optional, if annotating slide | Sharpie Argyle Green Permanent Marker | Sharpie | 1785396
| Slide holders | Slide Holders, 24-piece Or any equivalent slide holders | VWR | 25608-868
| Coverslips (50 x 24 mm) | Fisherbrand Cover Glasses: Rectangles Or any equivalent cover glasses | Fisher Scientific | 12-544-EP
|  | Cover Glasses, Rectangular Or any equivalent cover glasses | VWR | 16004-322
Additional Materials
1000-ml Beakers (7)
Ultrapure/Milli-Q Water for Water Bath from Milli-Q Integral Ultrapure Water System or equivalent

## Imaging
PROTOCOL PLANNER ¦ CG000556 Rev H ¦ 10xgenomics.com
Visium CytAssist Spatial Gene Expression
Imaging Recommendations
An imaging system with a scanning stage that can accurately capture and stitch together large tiled images is recommended for Visium CytAssist assays. The microscope objective should be dry and free of immersion oil. Low magnification, high Numeric Aperture (NA) microscopes, e.g., 10x/0.4NA or 20x/0.8NA, are recommended to balance high resolution and high acquisition speed. Slides are loosely mounted with glycerol and a coverslip and therefore should not be inverted for imaging. If using an inverted microscope, perform imaging through the slide rather than the coverslip and use an objective (with a correction collar) designed to image through microscope slides.
| Supplier | Description | Configuration | Customer Notes
| Thermo Fisher Scientific | EVOS M7000 | Inverted
| Leica | Aperio Versa 8 LeicaDMi8 | Upright Inverted
| MetaSystems | Metafer | Upright
| Nikon | Nikon Eclipse Ti2 | Inverted
| BioTek | Cytation 7 | Inverted or Upright
| Keyence | Keyence BZX800 | Inverted
| Olympus | VS200 | Upright
| Zeiss | Imager.Z2 | Upright
| Brightfield Configuration |  |  | Customer Notes
Color camera (3 x 8 bit, 2,424x2,424 pixel resolution
White balancing functionality
2.18 µm/pixel minimum capture resolutionn
Exposure times 2-10 milli sec May vary depending on imaging system
| Fluorescence Configuration (if performing IF staining) |  |  | Customer Notes
Light source (or equivalent) with a wavelength range of 380-680 nm
Monochrome camera (14 bit, 2,424 x 2,424 pixel resolution)
DAPI filter cube (Excitation 392/23, Emission 447/60)
Additional Filters - select based on fluorophore/antibodies used
2.18 µm/pixel minimum capture resolutionn
Exposure times 100 milli sec - 2 sec May vary depending on imaging system

## User Guide
PROTOCOL PLANNER ¦ CG000556 Rev H ¦ 10xgenomics.com
Visium CytAssist Spatial Gene Expression
Kits, Reagents & Equipment | [5 empty] | 0
Visium CytAssist Spatial Gene Expression (CG000495 or CG000494) | [5 empty] | N
The items in the tables below have been tested by 10x Genomics and perform optimally with Visium CytAssist Spatial Gene Expression protocols. Substituting materials may adversely affect system performance. This list may not include standard laboratory equipment such as water baths, centrifuges, pH meters, freezers etc. For items with multiple options listed, choose option based on availability and preference. Alternative part numbers for different volumes of the same validated reagent may be available.
| Item | Description | Supplier | Part Number (US) | Customer Notes
Plastics
| 1.5 ml tubes | DNA LoBind Tubes 1.5 ml | Eppendorf | 22431021
|  | Low DNA Binding Tubes, 1.5 ml | Sarstedt | 72.706.700
| 2.0 ml tubes | DNA LoBind Tubes 2.0 ml when processing more than 2 slides | Eppendorf | 22431048
|  | Low DNA Binding Tubes, 2.0 ml | Sarstedt | 72.695.700
| 15 ml tubes | 15 ml PP Centrifuge Tubes | Corning | 730791
| 50 ml tubes | Self-Standing Polypropylene Centrifuge Tubes (50 ml), sterile | Corning | 430921
| 0.2 ml PCR 8-tube strips Choose either Eppendorf, USA Scientific, or Thermo Fisher Scientific PCR 8-tube strips | PCR Tubes 0.2 ml 8-tube strips | Eppendorf | 951010022
|  | TempAssure PCR 8-tube strip | USA Scientific | 1402-4700
|  | MicroAmp 8-Tube Strip, 0.2 ml | Thermo Fisher Scientific | N8010580
|  | MicroAmp 8 -Cap Strip, clear | Thermo Fisher Scientific | N8010535
| Slide mailer | Simport Scientific LockMailer Tamper Evidence Slide Mailer | Thermo Fisher Scientific | 22-038-399
| Centrifuge Tube Alternative to slide mailer | Self-Standing Polypropylene Centrifuge Tubes (50 ml), sterile | Corning | 430921
| PCR plates and sealing film | Hard-shell PCR Plates 96-well, thin wall (pkg of 50) Or any equivalent PCR Plate | Bio-Rad | HSP9665
|  | Microseal ‘B’ PCR Plate Sealing Film, adhesive | Bio-Rad | MSB1001
| Reagent reservoirs | Divided Polystyrene Reservoirs | VWR | 41428-958
Kits & Reagents
| Nuclease-free water | Nuclease-free Water (not DEPC-treated) Or any equivalent nuclease-free (not DEPC-treated) water | Thermo Fisher Scientific | AM9937
| Tris 1 M (Tris-HCl) | Tris 1 M, pH 8.0, RNase-free | Thermo Fisher Scientific | AM9855G
|  | Tris 1 M, pH 8.0 | Teknova | T5080
|  | UltraPure 1M Tris-HCl, pH 8.0 | Invitrogen | 15568025
| PBS | PBS - Phosphate Buffered Saline (10X) pH 7.4, RNase-free Or any equivalent nuclease/RNase-free 10X PBS pH 7.4 | Thermo Fisher Scientific | AM9624
| Tween 20 | Tween 20 Surfact-Amps Detergent Solution (10% solution) | Thermo Fisher Scientific | 28320
| qPCR | KAPA SYBR FAST qPCR Master Mix (2X) | Thermo Fisher Scientific (US Only) | 50-196-5281
|  |  | Roche Diagnostics (US Only) | KK4600
KAPA Biosystems (US Only)
Millipore Sigma (Europe, Asia, & Canada)
| SPRIselect reagent | SPRIselect Reagent Kit | Beckman Coulter | B23318
| Ethanol | Ethanol, Pure (200 Proof, anhydrous) | Millipore Sigma | E7023-500ML
| 8M KOH | Potassium Hydroxide Solution, 8M | Millipore Sigma | P4494-50ML
| 20X SSC Buffer | SSC Buffer 20X Concentrate | Millipore Sigma | S66391L
| Buffer EB | Qiagen Buffer EB | Qiagen | 19086
| Eosin | Eosin Y-solution, Alcoholic | Millipore Sigma | HT110116
|  | Eosin Y Solution (Modified Alcoholic) | Abcam | ab246824
|  | Eosin Y Solution, Alcoholic, with Phloxine | Millipore Sigma | HT110332
|  | Eosin Y with Phloxine 1% alcoholic solution Gene Expression Assay Only | VWR | 10143-138
| Ultrapure water | Ultrapure/Milli-Q water | - | -
Equipment
| Mini Centrifuge | VWR Mini Centrifuge Or any equivalent mini centrifuge | VWR | 76269-064
| Barcode Scanner Optional | Zebra DS4608-SR Standard Range Wired Barcode Scanner | Zebra | DS4608-S
Quantification & Quality Control
| Bioanalyzer & associated reagents | 2100 Bioanalyzer Laptop Bundle (discontinued) (Replacement 2100 Bioanalyzer Instrument/ 2100 Expert Laptop Bundle) | Agilent | G2943CA G2939BA/G2953CA
|  | High Sensitivity DNA Kit | Agilent | 5067-4626
| TapeStation & associated reagents (use either D1000 or D5000 reagents) | 4200 TapeStation | Agilent | G2991AA
|  | High Sensitivity D1000: ScreenTape/ Reagents | Agilent | 5067-5585/5067-5584
|  | High Sensitivity D5000: ScreenTape/ Reagents | Agilent | 5067-5592/5067-5593
| LabChip & associated reagents | LabChip GX Touch HT Nucleic Acid Analyzer | PerkinElmer | CLS137031
|  | DNA High Sensitivity Reagent Kit | PerkinElmer | CLS760672
(Choose Bioanalyzer, TapeStation or LabChip based on availability & preference)
| Qubit & associated reagents (for determining dilution factor for TapeStation, Bioanalyzer, or LabChip) | Qubit Fluorometer 4 | Thermo Fisher Scientific (US Only) | Q33238
|  | Qubit Assay Tubes Reagents | Thermo Fisher Scientific | Q32856
|  | Qubit dsDNA HS and BR Assay Kits | Thermo Fisher Scientific | Q32854
| Library quantification kit | KAPA Library Quantification Kit for Illumina Platforms | KAPA Biosystems | KK4824

## csv for Connect (hidden)
V1.28
SAMPLEPARAMETERS | SAMPLENAME | lib_trans_vol | lib_dil_vol | lib_dil_dilu | lib_do_pool | USERDEFINED1 | USERDEFINED2 | USERDEFINED3 | USERDEFINED4
#REF! | #REF! | 56.8182 | 0 | 0 | 1
#REF! | #REF! | 0 | 0 | 0 | 3
#REF! | #REF! | 43.4783 | 0 | 0 | 1
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 5 | 25 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 5 | 15 | 6
#REF! | #REF! | 0 | 5 | 20 | 6
#REF! | #REF! | 0 | 5 | 30 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
RUNPARAMETERS | SELECTION
runName
Pool 1 Diluent Volume? | #REF!
Pool 2 Diluent Volume? | #REF!
Pool 3 Diluent Volume? | #REF!
Pool 4 Diluent Volume? | #REF!
Pool 5 Diluent Volume? | #REF!
Pool 6 Diluent Volume? | #REF!

## WorksheetWillHide (hidden)
0 | 0 | 56.8182
0 | 0 | 0
0 | 0 | 43.4783
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
5 | 25 | 0
0 | 0 | 0
5 | 15 | 0
5 | 20 | 0
5 | 30 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0