## Readme
|  | PROTOCOL PLANNER | [6 empty] | CG000803
|  | Visium HD 3' Spatial Gene Expression | [6 empty] | Rev A
Introduction
The Visium HD 3' Spatial Gene Expression assay is designed to analyze poly(A) RNA in tissue sections derived from fresh frozen (FF) tissue samples. Tissue slides and a Visium HD Slide are loaded into the Visium CytAssist instrument, where they are brought into proximity with one another. Tissue on the tissue slide is permeabilized, allowing for the release of poly(A) RNA and subsequent capture by the spatially-barcoded oligonucleotides present on the Visium HD Slide surface. The Visium HD Slide is removed from the Visium CytAssist for downstream library preparation. Gene expression libraries are generated from each tissue section and sequenced. Spatial Barcodes are used to associate the reads back to the tissue section images for spatial mapping. This document provides workflow and analysis overviews and lists additional equipment, kits, and reagents for the Visium HD 3' Spatial Gene Expression protocols. The 10x Genomics Visium HD 3' Spatial Gene Expression Reagent Kits are not listed here and can be found in the Visium HD 3' FF Tissue Preparation Handbook (CG000804) and Visium HD 3' Spatial Gene Expression User Guide (CG000805). An overview of the Visium HD 3' Spatial Gene Expression data analysis is also included in this document.
Copy-Paste Guidelines: The sheet is protected to prevent altering the content. In order to copy-paste, right click to select a cell's text.
Printing Guidelines: The print area has been set for each tab in this document. Go to Print. For orientation, select "Portrait." For scaling, select "Fit all columns to one page." To print the entire workbook, Go to Print and select "Print Entire Workbook" under settings. To create a pdf document, go to Print and select "Adobe PDF" as the printer. Do not go to "Save as Adobe PDF."
Workflow Overview
Figure 1. High level workflow of the Visium HD 3' Spatial Gene Expression assay
Document Resources
Visium HD 3' Spatial Gene Expression
| Steps |  | Document |  |  |  | Doc Number
1 | Experimental Design & Planning Before starting the experiment, refer to these documents for protocol planning and preparation. |  | Visium HD 3' Protocol Planner Workflow overview and additional reagents for the Visium HD 3' workflow. |  |  |  | Planner CG000803
|  |  | Visium CytAssist Accessory Kit Quick Reference Card Determine slide allowable areas. |  |  |  | Quick Reference Card CG000548
|  |  | Visium Cassette S3 Quick Reference Card Practice cassette assembly and disassembly. |  |  |  | Quick Reference Card CG000730
|  |  | Visium HD Spatial Applications Imaging Guidelines Optimize imaging settings. |  |  |  | Technical Note CG000688
2 | Sample Preparation Consult these documents to prepare samples. |  | Visium HD 3' FF Tissue Preparation Handbook Prepare fresh frozen tissue blocks, section tissue onto slides, stain, and image. |  |  |  | Demonstrated Protocol CG000804
3 | Library Construction Perform library construction. |  | Visium HD 3' Spatial Gene Expression User Guide Construct Visium HD 3' Libraries. |  |  |  | User Guide CG000805
Protocol Steps & Timing
Steps Prior to User Guide
| • Block Freezing & Embedding (off-instrument) |  |  |  | Demonstrated Protocol CG000804
Blocks can be stored at -80°C long-term.
| • Tissue Sectioning & Section Placement (off-instrument; ~3 h) |  |  |  | Demonstrated Protocol CG000804
Tissue slides can be stored at -80°C for up to 4 weeks.
| • H&E Staining & Imaging (off-instrument) |  |  |  | Demonstrated Protocol CG000804
Slides may be stored at 4°C for up to 24 h before imaging and/or 4°C for up to 72 h after imaging.
Visium HD 3' Gene Expression User Guide
| Steps |  |  | Timing |  | Stop & Store
Step 1: Visium HD Slide & CytAssist Preparation
| 1.1 | Visium HD Slide Wash |  | 60 min
Step 2: Coverslip Removal & Destaining
| 2.1 | Coverslip Removal |  | 10 min
| 2.2 | Destaining |  | 30 min
Step 3: CytAssist-Enabled Poly(A) RNA Capture, Reverse Transcription, & Denaturation
| 3.1 | CytAssist-Enabled mRNA Capture |  | 50 min
| 3.2 | Reverse Transcription |  | 100 min
| 3.3 | Denaturation |  | 10 min
Step 4: Second Strand Synthesis & Elution
| 4.1 | Second Strand Synthesis |  | 55 min |  | 4°C ≤24 h
| 4.2 | Second Strand Elution |  | 10 min
Step 5: cDNA Amplification and SPRIselect
| 5.1 | cDNA Amplification |  | 20 min |  | 4°C ≤24 h
| 5.2 | cDNA Amplification – SPRIselect |  | 15 min |  | 4°C ≤72 h or -20°C ≤4 weeks
| 5.3 | cDNA QC & Quantification |  | 30-60 min
Step 6: Visium HD 3' Library Construction
| 6.1 | Fragmentation, End Repair & A-tailing |  | 40 min
| 6.2 | Post Fragmentation End Repair & A-tailing Double Sided Size Selection – SPRIselect |  | 25 min
| 6.3 | Adaptor Ligation |  | 20 min
| 6.4 | Post-Ligation Cleanup – SPRIselect |  | 20 min
| 6.5 | Sample Index PCR |  | 30 min |  | 4°C ≤72 h
| 6.6 | Post Sample Index PCR Double Sided Size Selection – SPRIselect |  | 25 min |  | 4°C ≤72 h or -20°C long-term
| 6.7 | Post-Library Construction QC |  | 50 min
Analysis of Visium HD 3' Spatial Gene Expression Data
For more information on analysis of Visium HD 3' Spatial Gene Expression data, refer to 10x Genomics Software Support site.
Data Analysis Overview – Visium HD 3' Spatial Gene Expression
Figure 2. Software pipeline for the Visium HD 3' Spatial Gene Expression assay.
Key information that should be collected and provided to the data analyst/bioinformatician to ensure that parameters are set appropriately for Space Ranger to analyze the data:
| • | Sample name, library type, sample index set, and sample index plate well location
| • | Visium slide serial number and Capture Area on the slide corresponding to each sample (also present in CytAssist metadata)
| • | The CytAssist instrument-captured Brightfield image with fiducial frame
| • | Microscope image (optional)
Document Revision Summary
| Updated | Version | Summary of Changes
| 2025-06-09 | Rev A | Document creation
© 2025 10x Genomics, Inc. (10x Genomics). All rights reserved. Duplication and/or reproduction of all or any portion of this document without the express written consent of 10x Genomics, is strictly forbidden. Nothing contained herein shall constitute any warranty, express or implied, as to the performance of any products described herein. Any and all warranties applicable to any products are set forth in the applicable terms and conditions of sale accompanying the purchase of such product. 10x Genomics provides no warranty and hereby disclaims any and all warranties as to the use of any third-party products or protocols described herein. The use of products described herein is subject to certain restrictions as set forth in the applicable terms and conditions of sale accompanying the purchase of such product. A non-exhaustive list of 10x Genomics’ marks, many of which are registered in the United States and other countries can be viewed at: www.10xgenomics.com/trademarks. 10x Genomics may refer to the products or services offered by other companies by their brand name or company name solely for clarity, and does not claim any rights in those third-party marks or names. 10x Genomics products may be covered by one or more of the patents as indicated at: www.10xgenomics.com/patents. All products and services described herein are intended FOR RESEARCH USE ONLY and NOT FOR USE IN DIAGNOSTIC PROCEDURES. The use of 10x Genomics products in practicing the methods set forth herein has not been validated by 10x Genomics, and such non-validated use is NOT COVERED BY 10X GENOMICS STANDARD WARRANTY, AND 10X GENOMICS HEREBY DISCLAIMS ANY AND ALL WARRANTIES FOR SUCH USE. Nothing in this document should be construed as altering, waiving or amending in any manner 10x Genomics terms and conditions of sale for the Chromium Controller or the Chromium Single Cell Controller, consumables or software, including without limitation such terms and conditions relating to certain use restrictions, limited license, warranty and limitation of liability, and nothing in this document shall be deemed to be Documentation, as that term is set forth in such terms and conditions of sale. Nothing in this document shall be construed as any representation by 10x Genomics that it currently or will at any time in the future offer or in any way support any application set forth herein.
Contact
support@10xgenomics.com
10x Genomics, Inc.
6230 Stoneridge Mall Road
Pleasanton, CA 94588 USA

## Tested Thermal Cyclers
PROTOCOL PLANNER ¦ CG000803 Rev A ¦ 10xgenomics.com
Visium HD 3' Spatial Gene Expression
Tested Thermal Cyclers
The table below lists the thermal cyclers that have been tested by 10x Genomics.
| Description | Supplier | Part Number (US) | Customer Notes
| C1000 Touch Thermal Cycler with 96-Deep Well Reaction Module (discontinued) | Bio-Rad | 1851197
| PTC Tempo Deepwell Thermal Cycler | Bio-Rad | 12015392
• | If used with a single cassette, place the cassette on the side of the Low Profile Thermocycler Adapter furthest away from the thermal cycler hinge to prevent lid lock errors.
| Biometra TAdvanced 96 SG/S with 96-well block (silver, 0.2 mL) and gradient function | Analytik Jena | 846-x-070-241/846-x-070-251 (x = 2 for 230 V; 4 for 115 V; 5 for 100 V, 50-60 Hz)
• | Adjust ramp rates (ΔR) to 2°C/sec for both heating and cooling
| Mastercycler X50s/X50a | Eppendorf | 6311000010
• | Adjust ramp rates to 3°C/sec heating and 2°C/sec cooling
| VeritiPro Thermal Cycler, 96-well | Thermo Fisher Scientific | A48141
• | Requires firmware 1.2.0 or later.
• | Open lid slowly to avoid disturbing the cassette.
• | When working with tubes, VeritiPro requires blue MicroAmp 96-Well Tray/Retainer Set for Veriti Systems (PN-4381850), with top piece removed and "Cover Ramping" enabled.
• | After incubation in any thermal cycler, if the cassette becomes stuck to the lid, remove carefully.
• | If reactions are performed on a slide, a thermal cycler must be able to accommodate the dimensions of the Low Profile Thermocycler Adapter, including well depth (4.5 mm), distance between block and heated lid (12 mm), and reaction block dimensions (95.5 x 73 mm).
• | If reactions are performed in a tube (Second Strand Elution onward), thermal cycler should have uniform heating of 100 μl volumes, a temperature-controlled lid, and a 96 deep-well block or 0.2 ml block configuration.

## Tested Real Time qPCR Systems (hidden)
PROTOCOL PLANNER ¦ CG000803 Rev A1 ¦ 10xgenomics.com
Visium HD 3' Spatial Gene Expression
Tested Real Time qPCR Systems
The table below lists the real time qPCR systems that have been tested by 10x Genomics for all available Visium HD Spatial Gene Expression assays. Equivalent systems compatible with 10 µl reaction volumes may also be used.
| Description | Supplier | Part Number (US) | Customer Notes | KD-this tab pulled directly from Visium HD planner cg000698
| QuantStudio 12K Flex System | Applied Biosystems | 4471087
| CFX Opus 96 Real-Time PCR System | Bio-Rad | 12011319
| CFX96 Real-time System (discontinued) | Bio-Rad | 1855096

## Tested Slides
PROTOCOL PLANNER ¦ CG000803 Rev A ¦ 10xgenomics.com
Visium HD 3' Spatial Gene Expression
Visium HD 3' Spatial Gene Expression Tested Slides
The following slides have been tested for use with the Visium CytAssist instrument. Diagrams for verifying that tissue sections are placed in the allowable area can be found in the Visium CytAssist Quick Reference Cards - Accessory Kit (Document CG000548).
While the manufacturer's description of some slides may imply that they are compatible with 10x Genomics products, manufacturing tolerances may lead to dimensions that are incompatible with 10x Genomics products. Slide dimensions must be within 24.8 mm - 26.25 mm (width), 74.4 mm - 76.2 mm (length), and 0.96 - 1.07 mm (thickness).
Fresh Frozen Tissue - Recommended Slides
| Description | Supplier | PN | Length (mm) | Width (mm) | Thickness (mm) | Important Considerations | Customer Notes
| Epredia Shandon ColorFrost Plus | Fisher Scientific | 67-762-14 | 75 | 25 | 1
| Fisherbrand SuperFrost Plus | Fisher Scientific | 12-550-15 | 75 | 25 | 1
| Leica X-tra Clipped Corner (White color listed; other colors are acceptable) | Leica Biosystems | 3800050CL | 76.2 | 25.4 | 1
| Leica Permaflex Plus (Pink color listed; other colors are acceptable) | Leica Biosystems | 3800019 | 75.5 | 25.5 | 1
| Schott Nexterion Slide H - 3D Hydrogel Coated Slides | Fisher Scientific | NC0782819 | 75.6 | 25 | 1 | 10x Genomics recommends placing tissues with large amounts of connective tissue or those prone to detachment on these slides to minimize risk of tissue detachment.
| Sigma-Aldrich Poly Prep Slides | Millipore Sigma | P0425 | 75 | 25 | 1
| Trajan Series 2 Adhesive Microscope Slide (Yellow color listed; other colors are acceptable) | Trajan | 472042492 | 76 | 26 | 1
| VWR SuperFrost Plus Micro Slide, Premium | VWR | 48311-703 | 75 | 25 | 1
Fresh Frozen Tissue - Not Recommended Slides
| Description | Supplier | PN | Length (mm) | Width (mm) | Thickness (mm) | Important Considerations | Customer Notes
| Matsunami Platinum Pro | Matsunami | SPRO-05 | 75 | 26 | 1 | Slide part not recommended. Partial detachment observed with a subset of tissue types tested.

## FF Handbook
PROTOCOL PLANNER ¦ CG000803 Rev A ¦ 10xgenomics.com
Visium HD 3' Spatial Gene Expression
Kits, Reagents & Equipment
Visium HD 3' FF Tissue Preparation Handbook (CG000804)
The items in the tables below have been tested by 10x Genomics and perform optimally with Visium HD 3' Spatial Gene Expression protocols. Substituting materials may adversely affect system performance. This list may not include standard laboratory equipment such as centrifuges, pH meters, freezers, etc. For items with multiple options listed, choose option based on availability and preference. Alternative part numbers for different volumes of the same validated reagent may be available.
| Item | Description | Supplier | Part Number (US) | Customer Notes
For Freezing & Embedding
| Isopentane | Isopentane (2-Methylbutane) Or any equivalent isopentane | Sigma-Aldrich | 277258
| Forceps | Specimen Forceps, Straight, 203 mm (8") | VWR | 82027-436
|  | Specimen Forceps, Straight, 152 mm (6") | VWR | 82027-438
| Spatula | Round/Tapered Spatula, Stainless Steel | VWR | 82027-490
| Beaker | Stainless Steel Beaker (250 ml) | VWR | 89075-592
| Resealable bag | 3 x 4" 4 Mil White Block Reclosable Bags Or any equivalent resealable bag | Wheaton | W985100
| Cryovial (optional) | WHEATON 5 ml CryoELITE Tissue Vial | ULINE | S-494
| Mortar | Liquid Nitrogen Cooled Mini Mortar, 1.5 mL Capacity Remove 1.5 mL Tube holder prior to use. | Grainger | 21TT88
| OCT | Tissue-Tek OCT Compound, Sakura Finetek | Sakura Finetek | 25608-930
|  | Tissue-Plus™ O.C.T. Compound | Fisher Scientific | FIS23-730-571
|  | Tissue Freezing Medium | Leica | 14020108926
| Molds | Disposable Based Molds (15 x 15 mm) Dependent on the tissue size | VWR | 60872-488
Additional Materials
Razor blades
Ice bucket
Dry ice
Liquid nitrogen (dry ice is preferred)
Dewar for liquid nitrogen Choose appropriate size based on the size of the steel beaker used
| Item | Description | Supplier | Part Number (US) | Customer Notes
For Cryosectioning & Section Placement
| OCT | Tissue-Tek OCT Compound, Sakura Finetek | Sakura Finetek | 25608-930
|  | Tissue-Plus™ O.C.T. Compound | Fisher Scientific | FIS23-730-571
|  | Tissue Freezing Medium | Leica | 14020108926
| Centrifuge Tubes | Sterile Centrifuge Tubes with Flat Caps, 50 ml | VWR | 82018-050
| Brushes | Magnetic Brush, big | VWR | 73504
|  | Brush, small beveled | VWR | 14071425
|  | Flat cryostat brush, 10 mm | Fisher Scientific | 14-071-00
| Cryostat | CryoStar NX70 Cryostat Vacutome, Low Profile Blade Carrier | Thermo Fisher Scientific | 957020
| Specimen Chuck | Thermo Scientific Cryostar NX70 Specimen Chuck | Fisher Scientific | 14-071-413
| Slide Mailer | Simport Scientific LockMailer Tamper Evident Slide Mailer (Alternatively, use a 50-ml centrifuge tube) | Fisher Scientific | 22-038-399
| Microtome Blade | MX35 Ultra Microtome Blade Low Profile | Fisher Scientific | 3051835
| Glass Anti-Roll Plate (optional) | Glass Anti-Roll Plate | Fisher Scientific | A78930200
| Blank Slides | Choose a positively-charged glass slide with dimensions compatible with the Visium HD 3' assay. See "Tested Slides" tab
| Item | Notes |  |  | Customer Notes
General Cryostat Specifications This protocol describes the use of a Cryostar NX70 Cryostat with specific capabilities. Alternatively, use a different cryostat with the following features.
| Main Cryochamber | Maintains stable temperatures from –10°C to –20°C
| Microtome Blade | Separate and adjustable temperature control Maintains stable temperatures from –35°C to –5°C
| Specimen Head | Separate and adjustable temperature control Maintains stable temperatures from –50°C to +10°C X-axis and Y-axis adjustment
| Blade Holder Base | Adjustable cutting angle Adjustable blade position Section thickness 10-50 μm
| Cryobar | Rapid cooling
| Item | Description | Supplier | Part Number (US) | Customer Notes
RNA Quality Assessment
| Nuclease-free Water | Nuclease-free water (not-DEPC treated) Or any equivalent nuclease-free (not DEPC-treated) water | Thermo Fisher Scientific | AM9932/AM9937
| RNA Isolation Kit | RNeasy Mini Kit (50) Refer to Purification of Total RNA from Animal Tissues in RNeasy Mini Handbook | Qiagen | 74104
| 2-Mercaptoethanol | 2-Mercaptoethanol | Millipore Sigma | M6250-100ML
| Ethanol (if using CELLDATA protocol) | Ethanol, Pure (200 Proof, anhydrous) | Millipore Sigma | M7023-500ML
|  | Ethanol, Pure (200 Proof, anhydrous) | Sigma | E7023-1L
| 1.5-ml Tubes | DNA LoBind Tubes, 1.5 ml Or any equivalent DNA low bind 1.5ml tubes | Eppendorf | 022434021
| Bioanalyzer/TapeStation Choose Bioanalyzer or TapeStation based on availability & preference. | RNA 6000 Pico Kit | Agilent | 5067-1513
|  | 2100 Bioanalyzer Laptop Bundle | Agilent | G2953CA
|  | 4200 TapeStation | Agilent | G2991AA
|  | High Sensitivity RNA ScreenTape | Agilent | 5067-5579
|  | High Sensitivity RNA ScreenTape Ladder | Agilent | 5067-5581
|  | High Sensitivity RNA ScreenTape Sample Buffer | Agilent | 5067-5580
Additional Materials
Forceps
Dry Ice
Wet Ice
| Item | Description | Supplier | Part Number (US) | Customer Notes
Fixation, H&E Staining, Imaging, & Optional Morphology Assessment
| PBS | PBS - Phosphate Buffered Saline (10X) pH 7.4, RNase-free Or any equivalent nuclease/RNase-free 10X PBS pH 7.4 | Thermo Fisher Scientific | AM9624
|  | PBS - Phosphate Buffered Saline (1X) pH 7.4, RNase-free Or any equivalent nuclease/RNase-free 1X PBS pH 7.4 | Corning | 21-040-CV
| Nuclease-free Water | Nuclease-free water (not-DEPC treated) Or any equivalent nuclease-free (not DEPC-treated) water | Thermo Fisher Scientific | AM9932/AM9937
| RNase decontamination solution | RNase AWAY Surface Decontaminant Or any equivalent RNase decontamination solution | Fisher Scientific | 21-402-178
| Isopropanol | Contec Sterile 70% Isopropanol Or any equivalent isopropanol | Fisher Scientific | 19-033-766
| Acetone | Acetone Or any equivalent ≥99.5% molecular biology grade acetone | Fisher Scientific | A18-1 | 1 L
|  | Acetone Or any equivalent ≥99.5% molecular biology grade acetone | Fisher Scientific | A18-500 | 500 ml
|  | Acetone, ACS, 99.5+% Or any equivalent ≥99.5% molecular biology grade acetone | Fisher Scientific | AA30698K2
| Methanol | Methanol, for HPLC Or any equivalent ≥99.5% molecular biology grade methanol | Millipore Sigma | 34860-1L-R | 1 L
|  | Methanol, for HPLC Or any equivalent ≥99.5% molecular biology grade methanol | Millipore Sigma | 34860-100ML-R | 100 ml
| Ethanol | Ethanol, Pure (200 Proof, anhydrous) Or any equivalent 200 proof, molecular biology grade ethanol | Millipore Sigma | E7023-500ML | 500 ml
|  | Ethanol, Pure (200 Proof, anhydrous) Or any equivalent 200 proof, molecular biology grade ethanol | Millipore Sigma | E7023-1L | 1 L
| Forceps | Tweezers, 4" Wafer Handling | Excelt Corp | 491P-SA-PI
| Eosin | Eosin Y-solution, Alcoholic | Millipore Sigma | HT110116 | 500 ml
|  |  |  | HT110132 | 1 L
|  |  |  | HT110180 | 2.5 L
|  |  |  | HT1101128 | 4 L
|  | Eosin Y Solution (Modified Alcoholic) | Abcam | ab246824
|  | Alcoholic Eosin Y 515 | Leica | 3801615 | 500 ml
|  |  |  | 3801616 | 4 x 500 ml
| Gill II Hematoxylin | Gill II Hematoxylin | Leica | 3801520
|  | Gill II Hematoxylin | Sigma | GHS232
| Bluing Buffer | Bluing Reagent, Dako | Agilent | CS70230-2
| Permanent Marker | Ultrafine-tipped, Dark-colored Marker | - | -
| Glycerol | Glycerol, 99.5%, for molecular biology, DNAse, RNAse and Protease free Or any equivalent high-purity, DNase, RNase, Protease-free glycerol | Acros Organics | 327255000
| 50-ml tubes | Self-Standing Polypropylene Centrifuge Tubes (50 ml), sterile (Alternatively, use a slide mailer) | Corning | 430921
| 15-ml tubes | 15 ml PP Centrifuge Tubes | Corning | 730791
| 2-ml tubes | DNA LoBind Tubes 2.0 ml | Eppendorf | 22431048
|  | Low DNA Binding Tubes, 2.0 ml | Sarstedt | 72.695.700
| 1.5-ml tubes | DNA LoBind Tubes 1.5 ml Or any equivalent DNA low bind 1.5ml tubes | Eppendorf | 22431021
|  | Low DNA Binding Tubes, 1.5 ml Or any equivalent DNA low bind 1.5ml tubes | Sarstedt | 72.706.700
| Slide holders | Slide Holders, 24-piece Or any equivalent slide holders | VWR | 25608-868
| Coverslips (50 x 24 mm) | Fisherbrand Cover Glasses: Rectangles Or any equivalent cover glasses | Fisher Scientific | 12-544-EP
|  | Cover Glasses, Rectangular Or any equivalent cover glasses | VWR | 16004-322
| Reagent reservoirs | Divided Polystyrene Reservoirs | VWR | 41428-958
| Pipette Tips | Tips LTS 200UL Filter RT-L200FLR Or any equivalent filtered pipette tips | Rainin | 30389240
|  | Tips LTS 1ML Filter RT-L1000FLR Or any equivalent filtered pipette tips | Rainin | 30389213
|  | Tips LTS 20UL Filter RT-L20FLR Or any equivalent filtered pipette tips | Rainin | 30389226
| Wide Bore Pipette Tips | Tips RT LTS 200UL FLW Or any equivalent wide bore filtered pipette tips | Rainin | 30389241
|  | Tips RT LTS 1000UL FLW Or any equivalent wide bore filtered pipette tips | Rainin | 30389218
| Lint-free Laboratory Wipes | Vectra Alpha 10 TX1010 Dry Cleanroom Wipers, Non-Sterile Or any equivalent 100% polyester lint-free cleanroom wipes | Texwipe | TX1010
|  | VWR Cleanroom Wipes, 100% Polyester Or any equivalent 100% polyester lint-free cleanroom wipes | VWR | 10835-982
|  | Labclean Cleanroom Wipes, 100% Polyester Or any equivalent 100% polyester lint-free cleanroom wipes | VWR | 470339-504
|  | Berkshire CapSure-LP 9x9" Polyester wipes Or any equivalent 100% polyester lint-free cleanroom wipes | Berkshire | CPSLP0909B8P
The Fixation, H&E, and Imaging protocol steps require two temperature-controlled instruments, one at 65°C and one at 37°C. The instrument kept at 37°C should accommodate 1.5 or 2-ml tubes. The instrument kept at 65°C should accomodate 1.5 or 2-ml tubes. Choose instruments based on preference. Do not use a water bath.
| Thermomixer | Thermomixer C, with SmartBlock -2.0 mL Or any equivalent 2mL thermomixer. | Eppendorf | 5382000023
| Bead Bath | Isotemp Digital Dry Bath/Block Heater Or any equivalent bead bath or block heater | Fisher Scientific | 88860022
Additional Materials
1000-ml Beakers (7)
Forceps
Dry Ice
Wet Ice

## User Guide
PROTOCOL PLANNER ¦ CG000803 Rev A ¦ 10xgenomics.com
Visium HD 3' Spatial Gene Expression
Kits, Reagents & Equipment
Visium HD 3' Spatial Gene Expression Library Construction (CG000805)
The items in the tables below have been tested by 10x Genomics and perform optimally with Visium HD 3' Spatial Gene Expression protocols. Substituting materials may adversely affect system performance. This list may not include standard laboratory equipment such as water baths, centrifuges, pH meters, freezers, etc. For items with multiple options listed, choose option based on availability and preference. Alternative part numbers for different volumes of the same validated reagent may be available.
| Item | Description | Supplier | Part Number (US) | Customer Notes
Plastics
| 1.5-ml tubes | DNA LoBind Tubes 1.5 ml Or any equivalent DNA low bind 1.5ml tubes | Eppendorf | 22431021
|  | Low DNA Binding Tubes, 1.5 ml Or any equivalent DNA low bind 1.5ml tubes | Sarstedt | 72.706.700
| 2-ml tubes | DNA LoBind Tubes 2.0 ml when processing more than 2 slides | Eppendorf | 22431048
|  | Low DNA Binding Tubes, 2.0 ml | Sarstedt | 72.695.700
| 15-ml tubes | 15 ml PP Centrifuge Tubes | Corning | 730791
| 50-ml tubes | Self-Standing Polypropylene Centrifuge Tubes (50 ml), sterile Alternatively, use a slide mailer | Corning | 430921
| 0.2-ml PCR 8-tube strips Choose either Eppendorf, USA Scientific, or Thermo Fisher Scientific PCR 8-tube strips | PCR Tubes 0.2 ml 8-tube strips | Eppendorf | 951010022
|  | TempAssure PCR 8-tube strip | USA Scientific | 1402-4700
|  | MicroAmp 8-Tube Strip, 0.2 ml | Thermo Fisher Scientific | N8010580
|  | MicroAmp 8 -Cap Strip, clear | Thermo Fisher Scientific | N8010535
| Slide mailer | Simport Scientific LockMailer Tamper Evidence Slide Mailer | Thermo Fisher Scientific | 22-038-399
| Pipette tips | Tips LTS 200UL Filter RT-L200FLR Or any equivalent filtered pipette tips | Rainin | 30389240
|  | Tips LTS 1ML Filter RT-L1000FLR Or any equivalent filtered pipette tips | Rainin | 30389213
|  | Tips LTS 20UL Filter RT-L20FLR Or any equivalent filtered pipette tips | Rainin | 30389226
| Lint-free Laboratory Wipes | Vectra Alpha 10 TX1010 Dry Cleanroom Wipers, Non-Sterile Or any equivalent 100% polyester lint-free cleanroom wipes | Texwipe | TX1010
|  | VWR Cleanroom Wipes, 100% Polyester Or any equivalent 100% polyester lint-free cleanroom wipes | VWR | 10835-982
|  | Labclean Cleanroom Wipes, 100% Polyester Or any equivalent 100% polyester lint-free cleanroom wipes | VWR | 470339-504
|  | Berkshire CapSure-LP 9x9" Polyester wipes Or any equivalent 100% polyester lint-free cleanroom wipes | Berkshire | CPSLP0909B8P
Kits & Reagents
| Nuclease-free water | Nuclease-free Water (not DEPC-treated) Or any equivalent nuclease-free (not DEPC-treated) water | Ambion | AM9937
| RNase decontamination solution | RNase AWAY Surface Decontaminant Or any equivalent RNase decontamination solution | Fisher Scientific | 21-402-178
| 0.1 N HCl | Hydrochloric Acid Solution, 0.1 N Or any equivalent 0.1N hydrochloric acid solution | Fisher Chemical | SA54-1
| Low TE Buffer pH 8.0 | IDTE (10 mM Tris, 0.1 mM EDTA) Or any equivalent 10 mM Tris, 0.1 mM EDTA TE Buffer pH 8.0 | Invitrogen | 12090015
|  | TE Buffer, 1X Solution pH 8.0, Low EDTA, Molecular Biology Grade Or any equivalent 10 mM Tris, 0.1 mM EDTA TE Buffer pH 8.0 | Thermo Scientific Chemicals | J75793.AE
|  | IDTE (10 mM Tris, 0.1 mM EDTA) Or any equivalent 10 mM Tris, 0.1 mM EDTA IDTE pH 8.0 | Integrated DNA Technologies | 11-05-01-13
| Tris 1M (Tris-HCl) | Tris 1M, pH 7.0 Or any equivalent 1 M, pH 7.0, molecular biology grade Tris-HCl | Teknova | T1070
| PBS | PBS - Phosphate Buffered Saline (10X) pH 7.4, RNase-free Or any equivalent nuclease/RNase-free 10X PBS pH 7.4 | Corning | 21-040-CV
| SPRIselect reagent | SPRIselect Reagent Kit | Beckman Coulter | B23318
| Ethanol | Ethanol, Pure (200 Proof, anhydrous) Or any equivalent 200 proof, molecular biology grade ethanol | Millipore Sigma | E7023-500ML
| 8M KOH | Potassium Hydroxide Solution, 8M Or any equivalent 8M KOH | Millipore Sigma | P4494-50ML
| 20X SSC Buffer | SSC Buffer 20X Concentrate Or any equivalent DNase, RNase, Protease-free 20X SSC buffer | Millipore Sigma | S6639-1L
| Buffer EB | Qiagen Buffer EB | Qiagen | 19086
| Ultrapure water | Ultrapure/Milli-Q water | - | -
Equipment
| Mini Centrifuge | VWR Mini Centrifuge Or any equivalent mini centrifuge | VWR | 76269-064
| Barcode Scanner Optional | Zebra DS4608-SR Standard Range Wired Barcode Scanner | Zebra | DS4608-S
Quantification & Quality Control
| Bioanalyzer & associated reagents | 2100 Bioanalyzer Laptop Bundle (discontinued) (Replacement 2100 Bioanalyzer Instrument/ 2100 Expert Laptop Bundle) | Agilent | G2943CA G2939BA/G2953CA
|  | High Sensitivity DNA Kit | Agilent | 5067-4626
| TapeStation & associated reagents (use either D1000 or D5000 reagents) | 4200 TapeStation | Agilent | G2991AA
|  | High Sensitivity D1000: ScreenTape/ Reagents | Agilent | 5067-5585/5067-5584
|  | High Sensitivity D5000: ScreenTape/ Reagents | Agilent | 5067-5592/5067-5593
| LabChip & associated reagents | LabChip GX Touch HT Nucleic Acid Analyzer | PerkinElmer | CLS137031
|  | DNA High Sensitivity Reagent Kit | PerkinElmer | CLS760672
(Choose Bioanalyzer, TapeStation or LabChip based on availability & preference)
| Qubit & associated reagents (for determining dilution factor for TapeStation, Bioanalyzer, or LabChip) | Qubit Fluorometer 4 | Thermo Fisher Scientific (US Only) | Q33238
|  | Qubit Assay Tubes Reagents | Thermo Fisher Scientific | Q32856
|  | Qubit dsDNA HS and BR Assay Kits | Thermo Fisher Scientific | Q32854
| Library quantification kit | KAPA Library Quantification Kit for Illumina Platforms | KAPA Biosystems | KK4824

## csv for Connect (hidden)
V1.28
SAMPLEPARAMETERS | SAMPLENAME | lib_trans_vol | lib_dil_vol | lib_dil_dilu | lib_do_pool | USERDEFINED1 | USERDEFINED2 | USERDEFINED3 | USERDEFINED4
#REF! | #REF! | 56.8182 | 0 | 0 | 1
#REF! | #REF! | 0 | 0 | 0 | 3
#REF! | #REF! | 43.4783 | 0 | 0 | 1
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 5 | 25 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 5 | 15 | 6
#REF! | #REF! | 0 | 5 | 20 | 6
#REF! | #REF! | 0 | 5 | 30 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
RUNPARAMETERS | SELECTION
runName
Pool 1 Diluent Volume? | #REF!
Pool 2 Diluent Volume? | #REF!
Pool 3 Diluent Volume? | #REF!
Pool 4 Diluent Volume? | #REF!
Pool 5 Diluent Volume? | #REF!
Pool 6 Diluent Volume? | #REF!

## WorksheetWillHide (hidden)
0 | 0 | 56.8182
0 | 0 | 0
0 | 0 | 43.4783
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
5 | 25 | 0
0 | 0 | 0
5 | 15 | 0
5 | 20 | 0
5 | 30 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0