## Readme
|  | PROTOCOL PLANNER |  |  |  |  | CG001688
|  | GEM-X Epi Multiome ATAC + Gene Expression |  |  |  |  | Rev A
Introduction
The GEM-X Epi Multiome ATAC + Gene Expression assay provides a comprehensive, scalable multiomic approach for simultaneously profiling epigenomic landscape and gene expression in the same single nuclei. This document provides workflow overviews, document resources, reagents and consumables for the Chromium Next GEM Single Cell Multiome ATAC + Gene Expression protocol. This document also provides guidance on selecting the appropriate sample preparation and library construction. An overview of the GEM-X Epi Multiome ATAC + Gene Expression data analysis is also included in this document. Visit the 10x Genomics Support website for the most current documentation.
Copy-Paste Guidelines: The sheet is protected to prevent altering the content. In order to copy-paste, right click to select a cell's text.
Printing Guidelines: The print area has been set for each tab in this document. Go to Print. For orientation, select "Portrait." For scaling, select "Fit all columns to one page." To print the entire workbook, Go to Print and select "Print Entire Workbook" under settings. To create a pdf document, go to Print and select "Adobe PDF" as the printer. Do not go to "Save as Adobe PDF."
Workflow Overview
GEM-X Multiome ATAC + Gene Expression
#VALUE!
Figure 1. The GEM-X Epi Multiome ATAC + Gene Expression workflow.
Document Resources
GEM-X Epi Multiome ATAC + Gene Expression
| Steps |  | Document |  |  | Doc Number
1 | Experimental Design & Planning Before starting the experiment, refer to these documents for protocol planning and preparation. |  | Protocol Planner Workflow overview and additional reagents the Multiome ATAC + Gene Expression workflow |  |  | Planner CG001688
2 | Sample Preparation Isolate nuclei from different sample types. |  | Nuclei Isolation for Single Cell Multiome ATAC + Gene Expression Sequencing Nuclei isolation from cells |  |  | Demonstrated Protocol CG000365 Rev E (or higher)
|  |  | Chromium Nuclei Isolation Kit Sample Prep User Guide Nuclei Isolation Kit for isolation from tissues |  |  | User Guide CG000505 Rev B (or higher), Ch 2
3 | Library Construction Perform library construction. |  | Library Construction GEM-X Epi Multiome for ATAC + 3' Gene Expression libraries |  |  | User Guide CG001689
Consult the 10x Genomics Support website for the most current list of documentation
Protocol Steps & Timing
| Steps |  |  | Timing | Stop & Store
Nuclei Isolation
| Dependent on cell type |  |  | ~1-2 h
Step 1: Individual Transposition or Step 2: Scalable Transposition (choose one)
| 1.1 | Prepare Transposition Mix |  | 10 min
| 1.2 | Isothermal Incubation |  | 30-60 min
| 1.3 | Post Transposition Wash |  | 10 min
Step 2: GEM Generation & Barcoding
| 2.1 | Prepare Master Mix |  | 10 min
| 2.2 | Load GEM-X Chip |  | 10 min
| 2.3 | Run the Chromium X Series instrument (X/iX) |  | 6 min
| 2.4 | Transfer GEMs |  | 3 min
| 2.5 | GEM Incubation |  | 75 min
| 2.6 | Quenching Reaction |  | 5 min | ≤-80°C ≤4 weeks
Step 4: Post GEM Incubation Cleanup
| 4.1 | Post GEM Incubation Cleanup - Dynabeads |  | 35 min
| 4.2 | Post GEM Incubation Cleanup - SPRIselect |  | 15 min
Step 5: Library Pre-Amplification PCR
| 5.1 | Prepare Pre-Amplification Mix |  | 10 min
| 5.2 | Pre-Amplification PCR |  | 30 min | 4°C≤18 h
| 5.3 | SPRI cleanup |  | 15 min | 4°C ≤72 h or -20°C long term
Step 6: Single Cell ATAC Library Construction
| 6.1 | Sample Index PCR |  | 45 min
| 6.2 | Post Sample Index Double Sided – SPRIselect |  | 20 min | 4°C ≤72 h or -20°C long term
| 6.3 | Post Library Construction QC |  | 60 min
Step 7: cDNA Amplification
| 7.1 | cDNA Amplification |  | 40 min | 4°C ≤72 h or -20°C ≤1 week
| 7.2 | cDNA Cleanup – SPRIselect |  | 15 min | 4°C ≤72 h or -20°C ≤4 weeks
| 7.3 | cDNA QC & Quantification |  | 50 min
Step 8: Gene Expression Library Construction
| 8.1 | Fragmentation, End Repair & A-tailing |  | 45 min
| 8.2 | Post Fragmentation, End Repair & A-tailing Double Sided – SPRIselect |  | 30 min
| 8.3 | Adaptor Ligation |  | 25 min
| 8.4 | Post Ligation Cleanup-SPRIselect |  | 20 min
| 8.5 | Sample Index PCR |  | 40 min | ­80°C ≤4 weeks
| 8.6 | Post Sample Index PCR Double Sided – SPRIselect |  | 30 min | 4°C ≤72 h or -20°C long term
| 8.7 | Post Library Construction QC |  | 50 min
Analysis of Chromium Single Cell ATAC & Gene Expression Libraries
For detailed information on analysis using Cell Ranger ARC, refer to 10x Genomics Software Support site.
Document Revision Summary
| Updated | Version | Summary of Changes
| 2026-04-02 | Rev A | New document release
© 2026 10x Genomics, Inc. FOR RESEARCH USE ONLY. NOT FOR USE IN DIAGNOSTIC PROCEDURES.
Contact
support@10xgenomics.com
10x Genomics Inc.
6230 Stoneridge Mall Road
Pleasanton, CA 94588 USA

## Thermal Cyclers
PROTOCOL PLANNER ¦ CG001688 Rev A ¦ 10xgenomics.com
GEM-X Epi Multiome ATAC + Gene Expression
Recommended Thermocyclers
The table below lists the thermal cyclers that have been validated by 10x Genomics for all currently available Chromium Single Cell protocols.
| Description |  | Supplier | Part Number (US)
| Biometra TAdvanced 96 SG/S |  | Analytik Jena* | 846-x-070-241/846-x-070-251 (x = 2 for 230 V; 4 for 115 V; 5 for 100 V, 50-60 Hz)
| Mastercycler X50s/X50a |  | Eppendorf** | 6311000010/6313000018
| VeritiPro Thermal Cycler, 96-well |  | Thermo Fisher Scientific*** | A48141
| PTC Tempo Deepwell Thermal Cycler |  | Bio-Rad | 12015392
| C1000 Touch Thermal Cycler with 96-Deep Well Reaction Module (discontinued) |  | Bio-Rad | 1851197
| Mastercycler Pro (discontinued) |  | Eppendorf | North America 950030010 International 6321 000.019
| Veriti 96-Well Thermal Cycler (discontinued) |  | Thermo Fisher Scientific | 4375786
For select instruments, ramp rates should be adjusted for all steps as described below:
| * | Analytik Jena Biometra TAdvanced 96 SG/S: 2°C/sec for both heating and cooling
| ** | Eppendorf Mastercycler X50s/X50a: 3°C/sec heating and 2°C/sec cooling
| *** | Thermo Fisher VeritiPro requires FW 1.2.0, 96 well tray/retainer (PN 4381850), and “Cover Ramping” enabled

## Pipette Tips
PROTOCOL PLANNER ¦ CG001688 Rev A ¦ 10xgenomics.com
GEM-X Epi Multiome ATAC + Gene Expression
Recommended Pipette Tips
10x Genomics recommends using only validated emulsion-safe pipette tips for all Single Cell protocols. Rainin pipette tips have been extensively validated by 10x Genomics and are highly recommended for all single cell assays. If Rainin tips are unavailable, any of the listed alternate pipette tips validated by 10x Genomics may be used.
| Supplier | Description | Part Number (US)
Pipettes
| Rainin | Pipet-Lite Multi Pipette L8-50XLS+ | 17013804
|  | Pipet-Lite Multi Pipette L8-200XLS+ | 17013805
|  | Pipet-Lite Multi Pipette L8-10XLS+ | 17013802
|  | Pipet-Lite Multi Pipette L8-20XLS+ For the GEM-X multiplex (on-chip) workflow, this pipette is only required for GEM-X OCM chip loading | 17013803
|  | Pipet-Lite LTS Pipette L-2XLS+ | 17014393
|  | Pipet-Lite LTS Pipette L-10XLS+ | 17014388
|  | Pipet-Lite LTS Pipette L-20XLS+ | 17014392
|  | Pipet-Lite LTS Pipette L-100XLS+ | 17014384
|  | Pipet-Lite LTS Pipette L-200XLS+ | 17014391
|  | Pipet-Lite LTS Pipette L-1000XLS+ | 17014382
Pipette Tips
| Rainin | Tips LTS 200UL Filter RT-L200FLR | 30389240
|  | Tips LTS 1ML Filter RT-L1000FLR | 30389213
|  | Tips LTS 20UL Filter RT-L10FLR | 30389226
Alternate Recommendations (If Rainin pipette tips are unavailable, any of the listed pipette tips may be used)
Pipettes
| Eppendorf | Eppendorf Research plus, 8-channel, epT.I.P.S. Box, 0.5 – 10 µL | 3125000010
|  | Eppendorf Research plus, 8-channel, epT.I.P.S. Box, 10 – 100 µL | 3125000036
|  | Eppendorf Research plus, 8-channel, epT.I.P.S. Box, 30 – 300 µL | 3125000052
|  | Eppendorf Research plus, 1-channel, epT.I.P.S.® Box, 0.1 – 2.5 µL | 3123000012
|  | Eppendorf Research plus, 1-channel, epT.I.P.S.® Box, 0.5 – 10 µL | 3123000020
|  | Eppendorf Research plus, 1-channel, epT.I.P.S.® Box, 2 – 20 µL | 3123000039
|  | Eppendorf Research plus, 1-channel, epT.I.P.S.® Box, 2 – 200 µL | 3123000055
|  | Eppendorf Research plus, 1-channel, epT.I.P.S.® Box, 100 – 1000 µL | 3123000063
Pipette Tips (compatible with Eppendorf pipettes only)
| Eppendorf | ep Dualfilter T.I.P.S., 2-20 µL | 30078535
|  | ep Dualfilter T.I.P.S., 2-200 µL | 30078551
|  | ep Dualfilter T.I.P.S., 2-1,000 µL | 30078578
Pipette Tips (Compatible with Rainin pipettes)
| Labcon | ZAP SLIK 20 µL Low Retention Aerosol Filter Pipet Tips for Rainin LTS | 4-1143-965-008
|  | ZAP SLIK 200 µL Low Retention Aerosol Filter Pipet Tips for Rainin LTS | 4-1144-965-008
|  | ZAP SLIK 1200 µL Low Retention Aerosol Filter Pipet Tips for Rainin LTS | 4-1145-965-008
Pipettes Tips (Compatible with Rainin pipettes)
| Biotix | xTIP4 Racked Pipette Tips, Rainin LTS Pipette Compatible, 0.1-20uL | 63300931
|  | xTIP4 Racked Pipette Tips, Rainin LTS Pipette Compatible, 200uL | 63300001
|  | xTIP4 Racked Pipette Tips, Rainin LTS Pipette Compatible, 1200uL | 63300004

## Library Construction
PROTOCOL PLANNER ¦ CG001688 Rev A ¦ 10xgenomics.com
GEM-X Epi Multiome ATAC + Gene Expression
Library Construction - Additional Kits, Reagents & Equipment
The items in the tables below have been tested by 10x Genomics and perform optimally with the Chromium Single Cell protocols. Substituting materials may adversely affect system performance. This list may not include standard laboratory equipment such as water baths, centrifuges, pH meters, freezers etc.
The kits, reagents, and equipment required for sample preparation for Epi Multiome ATAC + Gene Expression assay are not included in this document. See appropriate Demonstrated Protocol on the 10x Genomics support website for items required for sample preparation.
| Item | Description | Supplier | Part Number (US)
Plastics
| 0.2 ml PCR 8-tube strips | PCR Tubes 0.2 ml 8-tube strips | Eppendorf | 951010022
|  | TempAssure PCR 8-tube strip | USA Scientific | 1402-4700
|  | MicroAmp 8-Tube Strip, 0.2 ml MicroAmp 8-Cap Strip, clear | Thermo Fisher Scientific Thermo Fisher Scientific | N8010580 N8010535
(Choose either Eppendorf, USA Scientific or Thermo Fisher Scientific PCR 8-tube strips)
| 1.5 ml tubes | DNA LoBind Tubes 1.5 ml | Eppendorf | 22431005
| 2 ml tubes | DNA LoBind Tubes 2.0 ml | Eppendorf | 22431005
(Choose either 1.5-ml or 2-ml tubes for reagent & buffer preparation)
Kits & Reagents
| Nuclease-free water | Molecular Grade Nuclease-free Water | Thermo Fisher Scientific | AM9937
| RNAse Inhibitor | RNase Inhibitor 40X | 10X Genomics | 2001488 Kit PN-1000887
|  | Protector RNAse Inhibitor (Alternative to 10x Genomics product) | Thermo Fisher Scientific | 3335399001
| Ethanol | Ethanol, Pure (200 Proof, anhydrous) | Millipore Sigma | E7023-500ML
| SPRIselect | SPRIselect Reagent Kit | Beckman Coulter | B23318
| Tween 20 | 10% Tween 20 | Bio-Rad | 1662404
| 50% Glycerol | Glycerin (glycerol), 50% (v/v) Aqueous Solution | Ricca Chemical Company | 3290-32
| Buffer EB | Buffer | Qiagen | 19086
| Low TE Buffer | Low TE Buffer (10 mM Tris-HCl pH 8.0, 0.1 mM EDTA) | Thermo Fisher Scientific | 12090-015
Equipment
| Vortex | Vortex Mixer | VWR | 10153-838
| Reagent Reservoirs | Divided Polystyrene Reservoirs | VWR | 41428-958
| Centrifuge | Mini Centrifuge Or any equivalent mini centrifuge | VWR | 76269-064
| Thermomixer | Eppendorf ThermoMixer C | Eppendorf | 5382000023
| Heat Block | Eppendorf SmartBlock 1.5 ml, Thermoblock for 24 reaction vessel Or any equivalent temperature controlled heat block | Eppendorf | 5360000038
Quantification & Quality Control
| Bioanalyzer & associated reagents | 2100 Bioanalyzer Laptop Bundle (discontinued) (Replacement 2100 Bioanalyzer Instrument/ 2100 Expert Laptop Bundle) | Agilent | G2943CA G2939BA/G2953CA
|  | High Sensitivity DNA Kit | Agilent | 5067-4626
| TapeStation & associated reagents | 4200 TapeStation | Agilent | G2991AA
|  | High Sensitivity D1000: ScreenTape/ Reagents | Agilent | 5067-5584/ 5067-5585
|  | High Sensitivity D5000: ScreenTape/ Reagents | Agilent | 5067-5592/ 5067-5593
| LabChip & associated reagents | LabChip GX Touch HT Nucleic Acid Analyzer | PerkinElmer | CLS137031
|  | DNA High Sensitivity Reagent Kit | PerkinElmer | CLS760672
| Fragment Analyzer & associated reagents | Fragment Analyzer Automated CE System - 12 cap | Advanced Analytical | FSv2-CE2F
|  | Fragment Analyzer Automated CE System - 48/96 cap | Advanced Analytical | FSv2-CE10F
|  | High Sensitivity NGS Fragment Analysis Kit | Advanced Analytical | DNF-474
(Choose Bioanalyzer, TapeStation, LabChip, or Fragment Analyzer based on availability & preference)
| Library quantification kit | KAPA Library Quantification Kit for Illumina Platforms | KAPA Biosystems | KK4824
For some items, a number of vendor options are listed. Choose item based on availability and preference. Refer to the manufacturer's website for regional part numbers.

## csv for Connect (hidden)
V1.28
SAMPLEPARAMETERS | SAMPLENAME | lib_trans_vol | lib_dil_vol | lib_dil_dilu | lib_do_pool | USERDEFINED1 | USERDEFINED2 | USERDEFINED3 | USERDEFINED4
#REF! | #REF! | 56.8182 | 0 | 0 | 1
#REF! | #REF! | 0 | 0 | 0 | 3
#REF! | #REF! | 43.4783 | 0 | 0 | 1
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 5 | 25 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 5 | 15 | 6
#REF! | #REF! | 0 | 5 | 20 | 6
#REF! | #REF! | 0 | 5 | 30 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
RUNPARAMETERS | SELECTION
runName
Pool 1 Diluent Volume? | #REF!
Pool 2 Diluent Volume? | #REF!
Pool 3 Diluent Volume? | #REF!
Pool 4 Diluent Volume? | #REF!
Pool 5 Diluent Volume? | #REF!
Pool 6 Diluent Volume? | #REF!

## WorksheetWillHide (hidden)
0 | 0 | 56.8182
0 | 0 | 0
0 | 0 | 43.4783
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
5 | 25 | 0
0 | 0 | 0
5 | 15 | 0
5 | 20 | 0
5 | 30 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0