## ReadMe
|  |  | GEM-X Flex v2 | Doc | CG001698
|  |  | Pooling Workbook | Rev | A
Introduction
GEM-X Flex v2 provides a comprehensive, scalable, and cost-effective solution to measure gene expression in up to 384 formaldehyde fixed samples to be run within a single GEM reaction using plate-based multiplexing. Each sample is labeled with a unique Sample Barcode from the Barcode Oligo Plate, Set A/B/C/D (96 barcodes per plate; support up to 384 samples total), enabling upfront pooling and downstream demultiplexing during analysis. Gene expression is measured using the GEM-X Flex v2 Transcriptome Probe Kits v2, available for several species (consult the documents listed below for specific kit part numbers).
For GEM-X Flex v2, up to 20,000 cells per barcode can be targeted when running multiplex pools of up to 48-plex (48 unique sample barcodes). For pools above 48-plex, total input is capped at 1,000,000 cells per GEM reaction, so the per-barcode target becomes approximately 1,000,000 ÷ (number of barcodes)—for example, ~10,400 cells/barcode at 96-plex (1,000,000 ÷ 96) and ~2,600 cells/barcode at 384-plex (1,000,000 ÷ 384).
Multiplexing is most efficient when samples are pooled equally (same number of cells for each sample) using the maximum number of Sample Barcodes (384) supported by the kit. However, when pooling samples equally is not feasible, alternative pooling strategies may better suit the goals of the experiment.
The purpose of this doument is to:
• Provide a sample tracker to record metadata and sample barcodes
• Provide worksheet calculations for performing pre-hyb normalization
• Provide worksheet calculations for performing post-hyb normalization
• Provide multconfig.csv file for running Cellranger
For complete protocol, consult the user guides listed below.
Copy-Paste Guidelines: The sheet is protected to prevent altering the content. In order to copy-paste, right click to select a cell's text.
Printing Guidelines: The print area has been set for each tab in this document. Go to Print. For orientation, select "Portrait." For scaling, select "Fit all columns to one page." To print the entire workbook, Go to Print and select "Print Entire Workbook" under settings. To create a pdf document, go to Print and select "Adobe PDF" as the printer. Do not go to "Save as Adobe PDF."
Required Information
| • | Post-Quench or Post-Hybridization Cell Concentration for each sample in cells/µl
| • | Post-Quench or Post-Hybridization Sample Volume for each sample in µl
Instructions
| • | Begin each experiment with a fresh version of this workbook.
| • | Accurate cell counting is critical for optimal assay performance.
| • | For Pre-Hybridization Normalization, if fixation was performed in 1.5 ml tubes, sample volume will be ~490 µl to ~990 µl, depending on the fixation protocol. If fixation was performed in 96 well plate format, sample volume will be ~190 µl.
| • | For Post-Hybridization Pooling, if hybridization was performed using pooling workflow for > 50,000 cells, sample volume will be ~265 µl. If hybridization was performed using pooling workflow for < 50,000 cells, sample volume will be ~150 µl.
Document Resources
| Steps |  | Document | Doc Number
1 | Experimental Design & Planning Before starting the experiment, refer to these documents for protocol planning and preparation. |  | Protocol Planner Workflow overview and additional reagents for Flex v2 workflow | Planner CG000832
|  |  | Compatibility Table GEM-X Flex Gene Expression Kit Compatibility Table | Link
|  |  | Experimental Builder List of 10x kits required for Flex v2 workflow | Link
2 | Sample Preparation |  | Custom Probe Design for GEM-X Flex v2 Provides guidance on custom probe design, spike-in, and analysis for GEM-X Flex v2 applications | Technical Note CG000839
|  |  | Plate-based Sample Preparation for GEM-X Flex v2 Provides sample preparation protocols in a 96-well v-bottom deep-well plate to enable high throughput handling of up to 384 samples | Demonstrated Protocol CG000833
3 | Library Construction Perform library construction. |  | GEM-X Flex v2 For Multiplexed Samples Construct Multiplexed Gene Expression libraries | User Guide CG000834
|  |  | GEM-X Flex v2 with Feature Barcode technology for Protein Construct Multiplexed Gene and (TotalSeq™-C) Protein Expression libraries | User Guide CG000835
Document Revision Summary
| Updated | Version | Summary of Changes
| 2026-04-01 | Rev A | N/A
© 2026 10x Genomics, Inc. FOR RESEARCH USE ONLY. NOT FOR USE IN DIAGNOSTIC PROCEDURES.
Contact
support@10xgenomics.com
10x Genomics, Inc.
6230 Stoneridge Mall Road
Pleasanton, CA 94588 USA

## Guidance - NOT UPDATED (hidden)
Chromium Fixed RNA Profiling - Pooling Workbook ¦ 10xgenomics.com
Guidance for Alterntaive Pooling Strategies
Equal pooling (same number of cells for each sample) is the recomended pooling strategy, however in some cases equal pooling is not practical or possible. In such cases, alternative pooling strategies that allow unequal number of cells to be pooled can be used.
Several alternative pooling strategies are described below. The optimal strategy will depend on the goals of the experiment. This guidance tab is meant to help illustrate the different tradeoffs with each strategy and uses an example where some samples have much fewer cells after hybridization than the others.
When samples are pooled unequally, certain samples will be over-represented in the pool relative to others, and so the total number of cells per GEM reaction across all samples must be reduced to avoid exceeding the maximum supported cell numbers on any one Probe Barcode. The maximum supported cell numbers are 10,000 cells per Probe Barcode if using up to 4 Probe Barcodes, or 8,000 cells per Probe Barcode is using more than 4 Probe Barcodes.
The alternaive pooling strategies can help increase the number of cells pelleted during each washing step, thus improving cell handling and also reduce the number of calculations and opportunities for pipetting error.
However, they can also reduce the maximum number of cells that can be targeted per Probe Barcode and the number of expected cells recovered for samples, in proportion to their representation in the pool.
Example
Equal Pooling
All samples are normalized to the limiting sample (sample with lowest Total Cells in Hybridization) and same number of cells are pooled (equal pooling).
The sample hybridized with BC004 has significantly fewer cells than the others, and equal pooling would result in washing less than 200,000 cells. An alternative strategy is recommended.
Alternative Pooling Strategy 1: No Normalization
The entire volume from all samples is pooled without any normalization.
No Normalization is only recommended in cases where the differences in "Total Cells in Hybridization" between samples is small (i.e., within counting error) because cells from each sample are already present in equal proportions.
Alternative Pooling Strategy 2: Selective Normalization
User determines whether to include a sample in the normalization.
Here, only selected samples are considered in the normalization, i.e. these samples are required to be added to the pool in equal proportions. When a sample is excluded from the normalization ("Include in Normalization?" set to FALSE), all of the available cells for that sample are added to the pool if there are not enough cells available to match the others in equal number. Using this strategy, a sizeable number of cells will be washed (>750,000 cells), however only 5% of the cells in the experiment will be from the sample hybridized with BC004 (i.e. 1,672 cells from BC004 assuming 31,667 is targeted (maximum number of cells). Unequal pooling reduces the maximum number of cells that can be targeted from 40,000 when using samples on 4 Probe Barcodes pooled equally to 31,667.
Alternative Pooling Strategy 3: User-defined Normalization
User determines whether to include a sample in the normalization, as well as the number of cells to be added per sample.
The samples hybridized with Probe Barcodes, BC001, BC002, and BC003 are pooled equally, but using the user-defined value of 100,000 cells per sample, and the entirety of the samply hybridized with BC004 is added to the pool. The result is a more even representation of cells from each sample in the final pool (12% for sample with BC004), and a modest number of cells being washed (341,075 cells). As the pooling is more even, the adjusted maximum number of cells that can be targeted per GEM reaction (34,108) is also higher than with other strategies. Changing the user-defined number of cells up or down will change the represetnation of each sample in the final pool, as well as the total number of cells. For example, decreasing the user-defined number of cells from 100,000 to 60,000 reduces the total number of cells being washed, which may make it more difficult to see the cell pellet, but results in a more equal representation of all four samples in the pool.
Alternative Pooling Strategy 4: Excluding a Sample
User decides to completely exclude a sample from the experiment.
Here the sample hybridized with Probe Barcode BC004 is excluded from the experiment and only three samples are pooled equally for washing. This strategy results in no data from that sample hybridized with BC004. For this, use the Equal Pooling tab and do not enter sample concentrations and volumes for samples that are excluded.

## Multiplexing_lab_note
| WORKBOOK ¦ CG001698 Rev A ¦ 10xgenomics.com | [34 empty] | #N/A
Flex v2 Multiplexing Planning Sheet
Instructions for Using Sheet | [6 empty] | Table 1
1. | In Table 1, select the Flex version and library type from the dropdown fields. | [5 empty] | Flex Version |  | Flex_v2 |  |  | Legend
2. | In Table 1, enter the Pool/Library name and record the index that was used in sample index PCR (this is for record only; this information will not be used anywhere else in this sheet). | [5 empty] | Library Type |  | GEX |  |  | Blue | Enter data into this field
3. | In Table 2, columns B-D, enter sample condition, sample name and the number of barcodes planned for use for each sample. | [5 empty] | Library Name |  |  |  |  | Red | Verify that value is correct
4. | In the Barcode Map to the right, enter (copy&paste) the sample names to the corresponding barcode plate position. For Flex_v1 GEX+AB, Cell Ranger automatically detects AB and GEX barcode pairings; manual entry is not required. | [5 empty] | SI-PCR Index used |  |  |  |  | Black | Auto-generated; do not enter data here
Note: Flex v1 and Flex v2 barcodes cannot be used in the same experiment. Ensure the selected Flex version matches the barcodes planned for use.
Sample information entered on this tab will auto-populate other tabs.
[7 empty] | Error |  |  |  | Error Code | Does Error Appear | Cond. Error Message
[7 empty] | Flex version and barcode do not match |  |  |  | 1 | FALSE
[7 empty] | Some samples are not assigned a barcode in Barcode Map |  |  |  | 2 | FALSE
[7 empty] | Number of barcodes does not match between Barcode Assignment table and Barcode Map |  |  |  | 3 | FALSE
[7 empty] | Samples entered in the Barcode Map differ from Barcode Assignment table. |  |  |  | 4 | FALSE
|  | Warnings |  |  |  | Barcode Map
Flex v1
[7 empty] | BC001 | BC002 | BC003 | BC004 | BC005 | BC006 | BC007 | BC008 | BC009 | BC010 | BC011 | BC012 | BC013 | BC014 | BC015 | BC016 |  |  |  | BC001 | BC002 | BC003 | BC004 | BC005 | BC006 | BC007 | BC008 | BC009 | BC010 | BC013 | BC014 | BC015 | BC016
[26 empty] | BC001 | BC002 | BC003 | BC004 | BC005 | BC006 | BC007 | BC008 | BC009 | BC010 | BC013 | BC014 | BC015 | BC016
[7 empty] | CR001 | CR002 | CR003 | CR004 | CR005 | CR006 | CR007 | CR008 | CR009 | CR010 | CR011 | CR012 | CR013 | CR014 | CR015 | CR016
Table 2
Barcode Assignment | bar: CR001 to CR013
| Sample Condition | Sample_Name | Number of barcodes | probe barcodes | Num of barcode (bc_map) |  | CR001: Flex v2 | barcode maps (hide this in the final version)
| Condtion 1 | [5 empty] | CR001: Set A | Set A
| Condtion 2 | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| Condtion 3 | [5 empty] | A | [15 empty] | A | A-A01 | A-A02 | A-A03 | A-A04 | A-A05 | A-A06 | A-A07 | A-A08 | A-A09 | A-A10 | A-A11 | A-A12
| Condtion 4 | [5 empty] | B | [15 empty] | B | A-B01 | A-B02 | A-B03 | A-B04 | A-B05 | A-B06 | A-B07 | A-B08 | A-B09 | A-B10 | A-B11 | A-B12
| Condtion 5 | [5 empty] | C | [15 empty] | C | A-C01 | A-C02 | A-C03 | A-C04 | A-C05 | A-C06 | A-C07 | A-C08 | A-C09 | A-C10 | A-C11 | A-C12
| Condtion 6 | [5 empty] | D | [15 empty] | D | A-D01 | A-D02 | A-D03 | A-D04 | A-D05 | A-D06 | A-D07 | A-D08 | A-D09 | A-D10 | A-D11 | A-D12
| Condtion 7 | [5 empty] | E | [15 empty] | E | A-E01 | A-E02 | A-E03 | A-E04 | A-E05 | A-E06 | A-E07 | A-E08 | A-E09 | A-E10 | A-E11 | A-E12
| Condtion 8 | [5 empty] | F | [15 empty] | F | A-F01 | A-F02 | A-F03 | A-F04 | A-F05 | A-F06 | A-F07 | A-F08 | A-F09 | A-F10 | A-F11 | A-F12
| Condtion 9 | [5 empty] | G | [15 empty] | G | A-G01 | A-G02 | A-G03 | A-G04 | A-G05 | A-G06 | A-G07 | A-G08 | A-G09 | A-G10 | A-G11 | A-G12
| Condtion 10 | [5 empty] | H | [15 empty] | H | A-H01 | A-H02 | A-H03 | A-H04 | A-H05 | A-H06 | A-H07 | A-H08 | A-H09 | A-H10 | A-H11 | A-H12
Condtion 11
Condtion 12
| Condtion 13 | [5 empty] | Set B | [15 empty] | Set B
| Condtion 14 | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| Condtion 15 | [5 empty] | A | [15 empty] | A | B-A01 | B-A02 | B-A03 | B-A04 | B-A05 | B-A06 | B-A07 | B-A08 | B-A09 | B-A10 | B-A11 | B-A12
| Condtion 16 | [5 empty] | B | [15 empty] | B | B-B01 | B-B02 | B-B03 | B-B04 | B-B05 | B-B06 | B-B07 | B-B08 | B-B09 | B-B10 | B-B11 | B-B12
| Condtion 17 | [5 empty] | C | [15 empty] | C | B-C01 | B-C02 | B-C03 | B-C04 | B-C05 | B-C06 | B-C07 | B-C08 | B-C09 | B-C10 | B-C11 | B-C12
| Condtion 18 | [5 empty] | D | [15 empty] | D | B-D01 | B-D02 | B-D03 | B-D04 | B-D05 | B-D06 | B-D07 | B-D08 | B-D09 | B-D10 | B-D11 | B-D12
| Condtion 19 | [5 empty] | E | [15 empty] | E | B-E01 | B-E02 | B-E03 | B-E04 | B-E05 | B-E06 | B-E07 | B-E08 | B-E09 | B-E10 | B-E11 | B-E12
| Condtion 20 | [5 empty] | F | [15 empty] | F | B-F01 | B-F02 | B-F03 | B-F04 | B-F05 | B-F06 | B-F07 | B-F08 | B-F09 | B-F10 | B-F11 | B-F12
| Condtion 21 | [5 empty] | G | [15 empty] | G | B-G01 | B-G02 | B-G03 | B-G04 | B-G05 | B-G06 | B-G07 | B-G08 | B-G09 | B-G10 | B-G11 | B-G12
| Condtion 22 | [5 empty] | H | [15 empty] | H | B-H01 | B-H02 | B-H03 | B-H04 | B-H05 | B-H06 | B-H07 | B-H08 | B-H09 | B-H10 | B-H11 | B-H12
Condtion 23
Condtion 24
| Condtion 25 | [5 empty] | Set C | [15 empty] | Set C
| Condtion 26 | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| Condtion 27 | [5 empty] | A | [15 empty] | A | C-A01 | C-A02 | C-A03 | C-A04 | C-A05 | C-A06 | C-A07 | C-A08 | C-A09 | C-A10 | C-A11 | C-A12
| Condtion 28 | [5 empty] | B | [15 empty] | B | C-B01 | C-B02 | C-B03 | C-B04 | C-B05 | C-B06 | C-B07 | C-B08 | C-B09 | C-B10 | C-B11 | C-B12
| Condtion 29 | [5 empty] | C | [15 empty] | C | C-C01 | C-C02 | C-C03 | C-C04 | C-C05 | C-C06 | C-C07 | C-C08 | C-C09 | C-C10 | C-C11 | C-C12
| Condtion 30 | [5 empty] | D | [15 empty] | D | C-D01 | C-D02 | C-D03 | C-D04 | C-D05 | C-D06 | C-D07 | C-D08 | C-D09 | C-D10 | C-D11 | C-D12
| Condtion 31 | [5 empty] | E | [15 empty] | E | C-E01 | C-E02 | C-E03 | C-E04 | C-E05 | C-E06 | C-E07 | C-E08 | C-E09 | C-E10 | C-E11 | C-E12
| Condtion 32 | [5 empty] | F | [15 empty] | F | C-F01 | C-F02 | C-F03 | C-F04 | C-F05 | C-F06 | C-F07 | C-F08 | C-F09 | C-F10 | C-F11 | C-F12
| Condtion 33 | [5 empty] | G | [15 empty] | G | C-G01 | C-G02 | C-G03 | C-G04 | C-G05 | C-G06 | C-G07 | C-G08 | C-G09 | C-G10 | C-G11 | C-G12
| Condtion 34 | [5 empty] | H | [15 empty] | H | C-H01 | C-H02 | C-H03 | C-H04 | C-H05 | C-H06 | C-H07 | C-H08 | C-H09 | C-H10 | C-H11 | C-H12
Condtion 35
Condtion 36
| Condtion 37 | [5 empty] | Set D | [15 empty] | Set D
| Condtion 38 | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| Condtion 39 | [5 empty] | A | [15 empty] | A | D-A01 | D-A02 | D-A03 | D-A04 | D-A05 | D-A06 | D-A07 | D-A08 | D-A09 | D-A10 | D-A11 | D-A12
| Condtion 40 | [5 empty] | B | [15 empty] | B | D-B01 | D-B02 | D-B03 | D-B04 | D-B05 | D-B06 | D-B07 | D-B08 | D-B09 | D-B10 | D-B11 | D-B12
| Condtion 41 | [5 empty] | C | [15 empty] | C | D-C01 | D-C02 | D-C03 | D-C04 | D-C05 | D-C06 | D-C07 | D-C08 | D-C09 | D-C10 | D-C11 | D-C12
| Condtion 42 | [5 empty] | D | [15 empty] | D | D-D01 | D-D02 | D-D03 | D-D04 | D-D05 | D-D06 | D-D07 | D-D08 | D-D09 | D-D10 | D-D11 | D-D12
| Condtion 43 | [5 empty] | E | [15 empty] | E | D-E01 | D-E02 | D-E03 | D-E04 | D-E05 | D-E06 | D-E07 | D-E08 | D-E09 | D-E10 | D-E11 | D-E12
| Condtion 44 | [5 empty] | F | [15 empty] | F | D-F01 | D-F02 | D-F03 | D-F04 | D-F05 | D-F06 | D-F07 | D-F08 | D-F09 | D-F10 | D-F11 | D-F12
| Condtion 45 | [5 empty] | G | [15 empty] | G | D-G01 | D-G02 | D-G03 | D-G04 | D-G05 | D-G06 | D-G07 | D-G08 | D-G09 | D-G10 | D-G11 | D-G12
| Condtion 46 | [5 empty] | H | [15 empty] | H | D-H01 | D-H02 | D-H03 | D-H04 | D-H05 | D-H06 | D-H07 | D-H08 | D-H09 | D-H10 | D-H11 | D-H12
Condtion 47
Condtion 48
Condtion 49
Condtion 50
Condtion 51
Condtion 52
Condtion 53
Condtion 54
Condtion 55
Condtion 56
Condtion 57
Condtion 58
Condtion 59
Condtion 60
Condtion 61
Condtion 62
Condtion 63
Condtion 64
Condtion 65
Condtion 66
Condtion 67
Condtion 68
Condtion 69
Condtion 70
Condtion 71
Condtion 72
Condtion 73
Condtion 74
Condtion 75
Condtion 76
Condtion 77
Condtion 78
Condtion 79
Condtion 80
Condtion 81
Condtion 82
Condtion 83
Condtion 84
Condtion 85
Condtion 86
Condtion 87
Condtion 88
Condtion 89
Condtion 90
Condtion 91
Condtion 92
Condtion 93
Condtion 94
Condtion 95
Condtion 96
Condtion 97
Condtion 98
Condtion 99
Condtion 100
Condtion 101
Condtion 102
Condtion 103
Condtion 104
Condtion 105
Condtion 106
Condtion 107
Condtion 108
Condtion 109
Condtion 110
Condtion 111
Condtion 112
Condtion 113
Condtion 114
Condtion 115
Condtion 116
Condtion 117
Condtion 118
Condtion 119
Condtion 120
Condtion 121
Condtion 122
Condtion 123
Condtion 124
Condtion 125
Condtion 126
Condtion 127
Condtion 128
Condtion 129
Condtion 130
Condtion 131
Condtion 132
Condtion 133
Condtion 134
Condtion 135
Condtion 136
Condtion 137
Condtion 138
Condtion 139
Condtion 140
Condtion 141
Condtion 142
Condtion 143
Condtion 144
Condtion 145
Condtion 146
Condtion 147
Condtion 148
Condtion 149
Condtion 150
Condtion 151
Condtion 152
Condtion 153
Condtion 154
Condtion 155
Condtion 156
Condtion 157
Condtion 158
Condtion 159
Condtion 160
Condtion 161
Condtion 162
Condtion 163
Condtion 164
Condtion 165
Condtion 166
Condtion 167
Condtion 168
Condtion 169
Condtion 170
Condtion 171
Condtion 172
Condtion 173
Condtion 174
Condtion 175
Condtion 176
Condtion 177
Condtion 178
Condtion 179
Condtion 180
Condtion 181
Condtion 182
Condtion 183
Condtion 184
Condtion 185
Condtion 186
Condtion 187
Condtion 188
Condtion 189
Condtion 190
Condtion 191
Condtion 192
Condtion 193
Condtion 194
Condtion 195
Condtion 196
Condtion 197
Condtion 198
Condtion 199
Condtion 200
Condtion 201
Condtion 202
Condtion 203
Condtion 204
Condtion 205
Condtion 206
Condtion 207
Condtion 208
Condtion 209
Condtion 210
Condtion 211
Condtion 212
Condtion 213
Condtion 214
Condtion 215
Condtion 216
Condtion 217
Condtion 218
Condtion 219
Condtion 220
Condtion 221
Condtion 222
Condtion 223
Condtion 224
Condtion 225
Condtion 226
Condtion 227
Condtion 228
Condtion 229
Condtion 230
Condtion 231
Condtion 232
Condtion 233
Condtion 234
Condtion 235
Condtion 236
Condtion 237
Condtion 238
Condtion 239
Condtion 240
Condtion 241
Condtion 242
Condtion 243
Condtion 244
Condtion 245
Condtion 246
Condtion 247
Condtion 248
Condtion 249
Condtion 250
Condtion 251
Condtion 252
Condtion 253
Condtion 254
Condtion 255
Condtion 256
Condtion 257
Condtion 258
Condtion 259
Condtion 260
Condtion 261
Condtion 262
Condtion 263
Condtion 264
Condtion 265
Condtion 266
Condtion 267
Condtion 268
Condtion 269
Condtion 270
Condtion 271
Condtion 272
Condtion 273
Condtion 274
Condtion 275
Condtion 276
Condtion 277
Condtion 278
Condtion 279
Condtion 280
Condtion 281
Condtion 282
Condtion 283
Condtion 284
Condtion 285
Condtion 286
Condtion 287
Condtion 288
Condtion 289
Condtion 290
Condtion 291
Condtion 292
Condtion 293
Condtion 294
Condtion 295
Condtion 296
Condtion 297
Condtion 298
Condtion 299
Condtion 300
Condtion 301
Condtion 302
Condtion 303
Condtion 304
Condtion 305
Condtion 306
Condtion 307
Condtion 308
Condtion 309
Condtion 310
Condtion 311
Condtion 312
Condtion 313
Condtion 314
Condtion 315
Condtion 316
Condtion 317
Condtion 318
Condtion 319
Condtion 320
Condtion 321
Condtion 322
Condtion 323
Condtion 324
Condtion 325
Condtion 326
Condtion 327
Condtion 328
Condtion 329
Condtion 330
Condtion 331
Condtion 332
Condtion 333
Condtion 334
Condtion 335
Condtion 336
Condtion 337
Condtion 338
Condtion 339
Condtion 340
Condtion 341
Condtion 342
Condtion 343
Condtion 344
Condtion 345
Condtion 346
Condtion 347
Condtion 348
Condtion 349
Condtion 350
Condtion 351
Condtion 352
Condtion 353
Condtion 354
Condtion 355
Condtion 356
Condtion 357
Condtion 358
Condtion 359
Condtion 360
Condtion 361
Condtion 362
Condtion 363
Condtion 364
Condtion 365
Condtion 366
Condtion 367
Condtion 368
Condtion 369
Condtion 370
Condtion 371
Condtion 372
Condtion 373
Condtion 374
Condtion 375
Condtion 376
Condtion 377
Condtion 378
Condtion 379
Condtion 380
Condtion 381
Condtion 382
Condtion 383
Condtion 384

## Pre-Hyb Normalization
WORKBOOK ¦ CG001698 Rev A ¦ 10xgenomics.com
Pre-Hybridization Normalization Sheet
Instructions for Using Sheet
1. | In Table 3, columns E-F, enter Post-Fixation & Quenching Cell Concentration and Sample Volume (volume after counting).
2. | In Table 1, select from the dropdown field to indicate if any samples come from sample types where lower input into the hybridization is recommended.
3. | In Table 1, select a Normalization Method:
Do you want to store samples at post-fixation for a later experiment?
| - Yes | a. Set Normalization Method to User-Defined Cell Input
b. Enter the desired number of cells you want to proceed to hybridization.
- The Suggested Number of Cells per Sample is the minimum cell number across all samples, which can serve as a reference number.
c. Start by including all samples in the normalization (Table 3, column B set to 'TRUE'). Option to exclude the samples with the lowest Total Cells in Quenching buffer (column F) if desired. - Setting 'Include in Normalization' to TRUE ensures that these samples will have the same number of cells into hybridization. - When 'Include in Normalization' is set to FALSE, the entirety of these sample will be added; these Samples will be under- or over-represented in the final pool unless Post-hyb counting and normalization is performed.
| - No | a. Set Normalization Method to Equal Input (Recommended)
b. Start by including all samples in the normalization (Table 3, column B set to 'TRUE'). Option to exclude the samples with the lowest Total Cells in Quenching buffer (column F) if desired.
- Setting 'Include in Normalization' to TRUE ensures that these samples will have the same number of cells into hybridization. - When 'Include in Normalization' is set to FALSE, entirety of these sample will be added; these Samples will be under- or over-represented in the final pool unless Post-hyb counting and normalization is performed.
4. | In Table 2, inspect the Total Cells into Hybridization and the Maximum Number of Cells Targeted per GEM Reaction. In Table 3, column L, inspect the Max Expected Cells Recovered per Barcode Given cells to Hybridization.
If these numbers are undesirable for the experimental goals, continue excluding samples from the normalization until an acceptable compromise is achieved.
5. | Use the indicated volume in column J for each Sample when setting up the hybridization.
Table 1
|  | Hyb Input Parameters |  |  |  |  | Legend |  |  |  |  | DO NOT DELETE/MOVE/EDIT. Hide in the final loced version
|  | Do any of the samples contain: - leukocytes from blood (CG000785) - splenocytes (CG000782) - bone marrow mononuclear cells (CG000783) - cells from fixed & dissociated spleen and pancreas (CG000783) |  |  | No |  | Blue | Enter data into this field |  |  |  | Error | Error Code | Does Error Appear | Cond. Error Message
|  | Normalization Method |  |  | Equal Input (Recommended) |  | Green | Use this calculation |  |  |  | Bellow 25k Cells In each hyb | 1 | FALSE
|  | Suggested Cell Number per Sample to hybridize |  |  |  |  | Black | Auto-generated; do not enter data here |  |  |  | Exceed 500k Cells In each hyb | 2 | FALSE
|  | User-defined Cell Number per Sample to hybridize |  |  | 300000 |  | Red | Verify that value is correct |  |  |  | Exceed 100k in each hyb for leukocyte, splenocyte, BMMC and fixed&dissociated spleen and pancreas | 3 | FALSE
|  | Table 2 |  |  | Warnings | [6 empty] | Insufficient Cells for User Defined Normalization | 4 | FALSE
|  | Number of Barcodes plan to use | Total Cells into Hybridization | Max Number of Cells Targeted per GEM Rxn | [7 empty] | Cells hybridized Cannot Reach Target GEM per BC | 5 | FALSE
|  | 0 | 0 | 0 | [7 empty] | Sample with less than 100 cells/µL concentration | 6 | FALSE
[12 empty] | Some samples were excluded from normalization | 7 | FALSE
Table 3
| Include in Normalization? | Sample Name | Sample Barcode | Post-Fixation&Quenching Cell Concentration Cells in Quenching Buffer B | Post-Fixation&Quenching Sample Volume | Total Cells in Quenching Buffer Post-Fix&Quench Cell Conc. * Volume | % of Final Pool | Cells to Hybridize Lowest Cell Count Among Samples Included in Normalization | Sample Volume to be Centrifuged Cells to Hyb/ Post-Fix & Quench. Cell Conc. | Expected Cells Recovered per Barcode Assumes Max. Supported Number of Cells Targeted per GEM Rxn | Max. Expected Cells Recovered per Barcode Given Cells to Hybridize
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE
TRUE

## Post-Hyb Pooling
WORKBOOK ¦ CG001698 Rev A ¦ 10xgenomics.com
Post-Hybridization Pooling Sheet
Instructions for Using Sheet
Equal pooling refers to pooling the same number of cells from each barcode-hybridized sample. It is the recommended method for pooling and ensures that the undetected mutliplet rates are the same for each Sample Barcode. Pooling the same number of cells should also result in an approximately equal numbers of cells recovered from every barcode in the final library.
Starting with the Equal Pooling Method is recommended.
1. | In Table 1, set Pooling Method in the pooling parameters to "Equal Pooling (Recommended)."
2. | In Table 3, columns E-F, enter post-hybridization cell concentration and sample volume remaining after counting.
3. | In Table 2, inspect the Total Cells Pooled and Maximum number of Cells Targeted per GEM Reaction. In Table 3, column L, inspect the Max Expected Cells Recovered per Probe Barcode Given Total Cell Pooled.
If any of these numbers are undesirable for the experimental goal, consider the following alternative pooling strategies:
| a. | If certain samples are not necessary and can be removed to resolve warnings, consider removing the sample from the pooling consideration.
| b. | Exclude the samples from normalization with the lowest Total Cells in Hybridization (Table 3, column G) by setting 'Include in Normalization' to FALSE - Note: this is automatically change the pooling method to "Equal Pooling (subset)".
- When a sample is excluded from the normalization ("Include in Normalization?" set to FALSE), all of the available cells for that sample are added to the pool if there are not enough cells available to match the others in equal number
| c. | In Table 1, change the Pooling Method to User-Defined Normalization and explore the option of using the suggested cell numbes per sample to pool;
- The suggested number of cells per sample helps in making the representation of each sample as equal as possible, while maintaining a minimum number of cells required to safely perform the post-hyb washes.
- Insufficient Cells' is displayed for samples when Include in 'Normalization' is set to TRUE and there are not enough cells to meet the user-defined number. In these cases, there are two options: - Exclude that sample from the normalization (set Include in Normalization to FALSE, column A), or - Lower the User-defined Cell Numbers per Sample. -If no action is taken, samples labeled as Insufficient Cells will not be included in the pool.
- If the Total Cells Pooled is too low, or the Maximum Number of Cells Targeted or the Expected Cell Recovered per Probe Barcode is undesirable for the experimental goals, adjust the number in the User-defined Cell Numbers per Sample and/or exclude samples from the normalization until an acceptable compromise is achieved.
4. | Use the volumes indicated in column J (green column) to pool the samples into a 5-ml (for 4 pooling samples) or 15-ml (for pooling 16 samples) or 50-ml (for pooling >32 samples) centrifuge tube.
|  | Table 1 |  |  |  |  | Legend
|  | Pooling Parameters |  |  |  |  | Blue | Enter data into this field |  |  |  | DO NOT DELETE/MOVE/EDIT. Hide in the final loced version
|  | Pooling Method |  |  | Equal Pooling (Recommended) |  | Green | Use this calculation |  |  |  | Error | Error Code | Does Error Appear | Cond. Error Message
|  | User-defined Cell Numbers per Sample to Pool |  |  | 25000 |  | Black | Auto-generated; do not enter data here |  |  |  | Cells Pooled Cannot Reach Target GEM per BC | 2 | FALSE
|  | Suggested Cell Numbers per Sample to Pool |  |  |  |  | Red | Verify that value is correct |  |  |  | Pipette Under 2ul | 3 | FALSE
[12 empty] | Hyb Reaction has more than 500k cells | 4 | FALSE
|  | Table 2 |  |  | Warnings | [6 empty] | Insufficient Cells for User Defined Normalization | 5 | FALSE
|  | Number of Barcodes Used | Total Cells Pooled | Max Number of Cells Targeted per GEM Rxn | [7 empty] | No valid suggestion for pooling | 6 | FALSE
|  | 0 | 0 | 0 | [7 empty] | Sample with less than 100 cells/µL concentration | 7 | FALSE
[12 empty] | Differences in cell counts allow for "No Normalization" | 8 | FALSE
| Table 3 | [8 empty] | expected cell recovery assuming there is enough cells in the pool to max load | expected cell recovery given the number of uses actually pooled | DO NOT DELETE/MOVE/EDIT. Hide in the final loced version
| Include in Normalization? | Sample Name | Sample Barcode | Post-Hybridization Cell Concentration Cells in Post-Hyb Wash Buffer B | Post-Hybridization Sample Volume | Total Cells in Hybridization Post-Hyb Cell Conc. * Volume | % of Final Pool | Cells per Barcode Added to the Pool Lowest Cell Count Among Samples Included in Normalization | Sample Volume to be Added Cells per Sample Added to the Pool/ Post-Hyb. Cell Conc. | Expected Cells Recovered per Barcode Assumes Max. Supported Number of Cells Targeted per GEM Rxn | Max. Expected Cells Recovered per Barcode Given Total Cells Pooled | Number of Probe Barcodes Used Excluding Dropouts | Maximum Total Cells Targeted per GEM | Total Cells Needed to Load GEM for max loading | Max Cells per bc targeted | Cells Needed Per Barcode (assume 20% loss in wash) | Minimum Cells needed in Pool | Minimum Cells Per Barcode into Pool | Num of BC that have enough cells to reach max cell load
| TRUE | [10 empty] | 0 | [5 empty] | Not available, see Warnings | 0
| TRUE | [10 empty] | 1 | 20000 | 29000 | 20000 | 36250 | 36250 | 36250
| TRUE | [10 empty] | 2 | 40000 | 58000 | 20000 | 36250 | 72500 | 36250
| TRUE | [10 empty] | 3 | 60000 | 87000 | 20000 | 36250 | 108750 | 36250
| TRUE | [10 empty] | 4 | 80000 | 116000 | 20000 | 36250 | 145000 | 36250
| TRUE | [10 empty] | 5 | 100000 | 145000 | 20000 | 36250 | 181250 | 36250
| TRUE | [10 empty] | 6 | 120000 | 174000 | 20000 | 36250 | 217500 | 36250
| TRUE | [10 empty] | 7 | 140000 | 203000 | 20000 | 36250 | 253750 | 36250
| TRUE | [10 empty] | 8 | 160000 | 232000 | 20000 | 36250 | 290000 | 36250
| TRUE | [10 empty] | 9 | 180000 | 261000 | 20000 | 36250 | 326250 | 36250
| TRUE | [10 empty] | 10 | 200000 | 290000 | 20000 | 36250 | 362500 | 36250
| TRUE | [10 empty] | 11 | 220000 | 319000 | 20000 | 36250 | 398750 | 36250
| TRUE | [10 empty] | 12 | 240000 | 348000 | 20000 | 36250 | 435000 | 36250
| TRUE | [10 empty] | 13 | 260000 | 377000 | 20000 | 36250 | 471250 | 36250
| TRUE | [10 empty] | 14 | 280000 | 406000 | 20000 | 36250 | 507500 | 36250
| TRUE | [10 empty] | 15 | 300000 | 435000 | 20000 | 36250 | 543750 | 36250
| TRUE | [10 empty] | 16 | 320000 | 464000 | 20000 | 36250 | 580000 | 36250
| TRUE | [10 empty] | 17 | 340000 | 493000 | 20000 | 36250 | 616250 | 36250
| TRUE | [10 empty] | 18 | 360000 | 522000 | 20000 | 36250 | 652500 | 36250
| TRUE | [10 empty] | 19 | 380000 | 551000 | 20000 | 36250 | 688750 | 36250
| TRUE | [10 empty] | 20 | 400000 | 580000 | 20000 | 36250 | 725000 | 36250
| TRUE | [10 empty] | 21 | 420000 | 609000 | 20000 | 36250 | 761250 | 36250
| TRUE | [10 empty] | 22 | 440000 | 638000 | 20000 | 36250 | 797500 | 36250
| TRUE | [10 empty] | 23 | 460000 | 667000 | 20000 | 36250 | 833750 | 36250
| TRUE | [10 empty] | 24 | 480000 | 696000 | 20000 | 36250 | 870000 | 36250
| TRUE | [10 empty] | 25 | 500000 | 725000 | 20000 | 36250 | 906250 | 36250
| TRUE | [10 empty] | 26 | 520000 | 754000 | 20000 | 36250 | 942500 | 36250
| TRUE | [10 empty] | 27 | 540000 | 783000 | 20000 | 36250 | 978750 | 36250
| TRUE | [10 empty] | 28 | 560000 | 812000 | 20000 | 36250 | 1015000 | 36250
| TRUE | [10 empty] | 29 | 580000 | 841000 | 20000 | 36250 | 1051250 | 36250
| TRUE | [10 empty] | 30 | 600000 | 870000 | 20000 | 36250 | 1087500 | 36250
| TRUE | [10 empty] | 31 | 620000 | 899000 | 20000 | 36250 | 1123750 | 36250
| TRUE | [10 empty] | 32 | 640000 | 928000 | 20000 | 36250 | 1160000 | 36250
| TRUE | [10 empty] | 33 | 660000 | 957000 | 20000 | 36250 | 1196250 | 36250
| TRUE | [10 empty] | 34 | 680000 | 986000 | 20000 | 36250 | 1232500 | 36250
| TRUE | [10 empty] | 35 | 700000 | 1015000 | 20000 | 36250 | 1268750 | 36250
| TRUE | [10 empty] | 36 | 720000 | 1044000 | 20000 | 36250 | 1305000 | 36250
| TRUE | [10 empty] | 37 | 740000 | 1073000 | 20000 | 36250 | 1341250 | 36250
| TRUE | [10 empty] | 38 | 760000 | 1102000 | 20000 | 36250 | 1377500 | 36250
| TRUE | [10 empty] | 39 | 780000 | 1131000 | 20000 | 36250 | 1413750 | 36250
| TRUE | [10 empty] | 40 | 800000 | 1160000 | 20000 | 36250 | 1450000 | 36250
| TRUE | [10 empty] | 41 | 820000 | 1189000 | 20000 | 36250 | 1486250 | 36250
| TRUE | [10 empty] | 42 | 840000 | 1218000 | 20000 | 36250 | 1522500 | 36250
| TRUE | [10 empty] | 43 | 860000 | 1247000 | 20000 | 36250 | 1558750 | 36250
| TRUE | [10 empty] | 44 | 880000 | 1276000 | 20000 | 36250 | 1595000 | 36250
| TRUE | [10 empty] | 45 | 900000 | 1305000 | 20000 | 36250 | 1631250 | 36250
| TRUE | [10 empty] | 46 | 920000 | 1334000 | 20000 | 36250 | 1667500 | 36250
| TRUE | [10 empty] | 47 | 940000 | 1363000 | 20000 | 36250 | 1703750 | 36250
| TRUE | [10 empty] | 48 | 960000 | 1392000 | 20000 | 36250 | 1740000 | 36250
| TRUE | [10 empty] | 49 | 980000 | 1421000 | 20000 | 36250 | 1776250 | 36250
| TRUE | [10 empty] | 50 | 1000000 | 1450000 | 20000 | 36250 | 1812500 | 36250
| TRUE | [10 empty] | 51 | 1000000 | 1450000 | 19607.8431 | 35539.2157 | 1812500 | 35539.2157
| TRUE | [10 empty] | 52 | 1000000 | 1450000 | 19230.7692 | 34855.7692 | 1812500 | 34855.7692
| TRUE | [10 empty] | 53 | 1000000 | 1450000 | 18867.9245 | 34198.1132 | 1812500 | 34198.1132
| TRUE | [10 empty] | 54 | 1000000 | 1450000 | 18518.5185 | 33564.8148 | 1812500 | 33564.8148
| TRUE | [10 empty] | 55 | 1000000 | 1450000 | 18181.8182 | 32954.5455 | 1812500 | 32954.5455
| TRUE | [10 empty] | 56 | 1000000 | 1450000 | 17857.1429 | 32366.0714 | 1812500 | 32366.0714
| TRUE | [10 empty] | 57 | 1000000 | 1450000 | 17543.8596 | 31798.2456 | 1812500 | 31798.2456
| TRUE | [10 empty] | 58 | 1000000 | 1450000 | 17241.3793 | 31250 | 1812500 | 31250
| TRUE | [10 empty] | 59 | 1000000 | 1450000 | 16949.1525 | 30720.339 | 1812500 | 30720.339
| TRUE | [10 empty] | 60 | 1000000 | 1450000 | 16666.6667 | 30208.3333 | 1812500 | 30208.3333
| TRUE | [10 empty] | 61 | 1000000 | 1450000 | 16393.4426 | 29713.1148 | 1812500 | 29713.1148
| TRUE | [10 empty] | 62 | 1000000 | 1450000 | 16129.0323 | 29233.871 | 1812500 | 29233.871
| TRUE | [10 empty] | 63 | 1000000 | 1450000 | 15873.0159 | 28769.8413 | 1812500 | 28769.8413
| TRUE | [10 empty] | 64 | 1000000 | 1450000 | 15625 | 28320.3125 | 1812500 | 28320.3125
| TRUE | [10 empty] | 65 | 1000000 | 1450000 | 15384.6154 | 27884.6154 | 1812500 | 27884.6154
| TRUE | [10 empty] | 66 | 1000000 | 1450000 | 15151.5152 | 27462.1212 | 1812500 | 27462.1212
| TRUE | [10 empty] | 67 | 1000000 | 1450000 | 14925.3731 | 27052.2388 | 1812500 | 27052.2388
| TRUE | [10 empty] | 68 | 1000000 | 1450000 | 14705.8824 | 26654.4118 | 1812500 | 26654.4118
| TRUE | [10 empty] | 69 | 1000000 | 1450000 | 14492.7536 | 26268.1159 | 1812500 | 26268.1159
| TRUE | [10 empty] | 70 | 1000000 | 1450000 | 14285.7143 | 25892.8571 | 1812500 | 25892.8571
| TRUE | [10 empty] | 71 | 1000000 | 1450000 | 14084.507 | 25528.169 | 1812500 | 25528.169
| TRUE | [10 empty] | 72 | 1000000 | 1450000 | 13888.8889 | 25173.6111 | 1812500 | 25173.6111
| TRUE | [10 empty] | 73 | 1000000 | 1450000 | 13698.6301 | 24828.7671 | 1812500 | 24828.7671
| TRUE | [10 empty] | 74 | 1000000 | 1450000 | 13513.5135 | 24493.2432 | 1812500 | 24493.2432
| TRUE | [10 empty] | 75 | 1000000 | 1450000 | 13333.3333 | 24166.6667 | 1812500 | 24166.6667
| TRUE | [10 empty] | 76 | 1000000 | 1450000 | 13157.8947 | 23848.6842 | 1812500 | 23848.6842
| TRUE | [10 empty] | 77 | 1000000 | 1450000 | 12987.013 | 23538.961 | 1812500 | 23538.961
| TRUE | [10 empty] | 78 | 1000000 | 1450000 | 12820.5128 | 23237.1795 | 1812500 | 23237.1795
| TRUE | [10 empty] | 79 | 1000000 | 1450000 | 12658.2278 | 22943.038 | 1812500 | 22943.038
| TRUE | [10 empty] | 80 | 1000000 | 1450000 | 12500 | 22656.25 | 1812500 | 22656.25
| TRUE | [10 empty] | 81 | 1000000 | 1450000 | 12345.679 | 22376.5432 | 1812500 | 22376.5432
| TRUE | [10 empty] | 82 | 1000000 | 1450000 | 12195.122 | 22103.6585 | 1812500 | 22103.6585
| TRUE | [10 empty] | 83 | 1000000 | 1450000 | 12048.1928 | 21837.3494 | 1812500 | 21837.3494
| TRUE | [10 empty] | 84 | 1000000 | 1450000 | 11904.7619 | 21577.381 | 1812500 | 21577.381
| TRUE | [10 empty] | 85 | 1000000 | 1450000 | 11764.7059 | 21323.5294 | 1812500 | 21323.5294
| TRUE | [10 empty] | 86 | 1000000 | 1450000 | 11627.907 | 21075.5814 | 1812500 | 21075.5814
| TRUE | [10 empty] | 87 | 1000000 | 1450000 | 11494.2529 | 20833.3333 | 1812500 | 20833.3333
| TRUE | [10 empty] | 88 | 1000000 | 1450000 | 11363.6364 | 20596.5909 | 1812500 | 20596.5909
| TRUE | [10 empty] | 89 | 1000000 | 1450000 | 11235.9551 | 20365.1685 | 1812500 | 20365.1685
| TRUE | [10 empty] | 90 | 1000000 | 1450000 | 11111.1111 | 20138.8889 | 1812500 | 20138.8889
| TRUE | [10 empty] | 91 | 1000000 | 1450000 | 10989.011 | 19917.5824 | 1812500 | 19917.5824
| TRUE | [10 empty] | 92 | 1000000 | 1450000 | 10869.5652 | 19701.087 | 1812500 | 19701.087
| TRUE | [10 empty] | 93 | 1000000 | 1450000 | 10752.6882 | 19489.2473 | 1812500 | 19489.2473
| TRUE | [10 empty] | 94 | 1000000 | 1450000 | 10638.2979 | 19281.9149 | 1812500 | 19281.9149
| TRUE | [10 empty] | 95 | 1000000 | 1450000 | 10526.3158 | 19078.9474 | 1812500 | 19078.9474
| TRUE | [10 empty] | 96 | 1000000 | 1450000 | 10416.6667 | 18880.2083 | 1812500 | 18880.2083
| TRUE | [10 empty] | 97 | 1000000 | 1450000 | 10309.2784 | 18685.567 | 1812500 | 18685.567
| TRUE | [10 empty] | 98 | 1000000 | 1450000 | 10204.0816 | 18494.898 | 1812500 | 18494.898
| TRUE | [10 empty] | 99 | 1000000 | 1450000 | 10101.0101 | 18308.0808 | 1812500 | 18308.0808
| TRUE | [10 empty] | 100 | 1000000 | 1450000 | 10000 | 18125 | 1812500 | 18125
| TRUE | [10 empty] | 101 | 1000000 | 1450000 | 9900.9901 | 17945.5446 | 1812500 | 17945.5446
| TRUE | [10 empty] | 102 | 1000000 | 1450000 | 9803.9216 | 17769.6078 | 1812500 | 17769.6078
| TRUE | [10 empty] | 103 | 1000000 | 1450000 | 9708.7379 | 17597.0874 | 1812500 | 17597.0874
| TRUE | [10 empty] | 104 | 1000000 | 1450000 | 9615.3846 | 17427.8846 | 1812500 | 17427.8846
| TRUE | [10 empty] | 105 | 1000000 | 1450000 | 9523.8095 | 17261.9048 | 1812500 | 17261.9048
| TRUE | [10 empty] | 106 | 1000000 | 1450000 | 9433.9623 | 17099.0566 | 1812500 | 17099.0566
| TRUE | [10 empty] | 107 | 1000000 | 1450000 | 9345.7944 | 16939.2523 | 1812500 | 16939.2523
| TRUE | [10 empty] | 108 | 1000000 | 1450000 | 9259.2593 | 16782.4074 | 1812500 | 16782.4074
| TRUE | [10 empty] | 109 | 1000000 | 1450000 | 9174.3119 | 16628.4404 | 1812500 | 16628.4404
| TRUE | [10 empty] | 110 | 1000000 | 1450000 | 9090.9091 | 16477.2727 | 1812500 | 16477.2727
| TRUE | [10 empty] | 111 | 1000000 | 1450000 | 9009.009 | 16328.8288 | 1812500 | 16328.8288
| TRUE | [10 empty] | 112 | 1000000 | 1450000 | 8928.5714 | 16183.0357 | 1812500 | 16183.0357
| TRUE | [10 empty] | 113 | 1000000 | 1450000 | 8849.5575 | 16039.823 | 1812500 | 16039.823
| TRUE | [10 empty] | 114 | 1000000 | 1450000 | 8771.9298 | 15899.1228 | 1812500 | 15899.1228
| TRUE | [10 empty] | 115 | 1000000 | 1450000 | 8695.6522 | 15760.8696 | 1812500 | 15760.8696
| TRUE | [10 empty] | 116 | 1000000 | 1450000 | 8620.6897 | 15625 | 1812500 | 15625
| TRUE | [10 empty] | 117 | 1000000 | 1450000 | 8547.0085 | 15491.453 | 1812500 | 15491.453
| TRUE | [10 empty] | 118 | 1000000 | 1450000 | 8474.5763 | 15360.1695 | 1812500 | 15360.1695
| TRUE | [10 empty] | 119 | 1000000 | 1450000 | 8403.3613 | 15231.0924 | 1812500 | 15231.0924
| TRUE | [10 empty] | 120 | 1000000 | 1450000 | 8333.3333 | 15104.1667 | 1812500 | 15104.1667
| TRUE | [10 empty] | 121 | 1000000 | 1450000 | 8264.4628 | 14979.3388 | 1812500 | 14979.3388
| TRUE | [10 empty] | 122 | 1000000 | 1450000 | 8196.7213 | 14856.5574 | 1812500 | 14856.5574
| TRUE | [10 empty] | 123 | 1000000 | 1450000 | 8130.0813 | 14735.7724 | 1812500 | 14735.7724
| TRUE | [10 empty] | 124 | 1000000 | 1450000 | 8064.5161 | 14616.9355 | 1812500 | 14616.9355
| TRUE | [10 empty] | 125 | 1000000 | 1450000 | 8000 | 14500 | 1812500 | 14500
| TRUE | [10 empty] | 126 | 1000000 | 1450000 | 7936.5079 | 14384.9206 | 1812500 | 14384.9206
| TRUE | [10 empty] | 127 | 1000000 | 1450000 | 7874.0157 | 14271.6535 | 1812500 | 14271.6535
| TRUE | [10 empty] | 128 | 1000000 | 1450000 | 7812.5 | 14160.1562 | 1812500 | 14160.1562
| TRUE | [10 empty] | 129 | 1000000 | 1450000 | 7751.938 | 14050.3876 | 1812500 | 14050.3876
| TRUE | [10 empty] | 130 | 1000000 | 1450000 | 7692.3077 | 13942.3077 | 1812500 | 13942.3077
| TRUE | [10 empty] | 131 | 1000000 | 1450000 | 7633.5878 | 13835.8779 | 1812500 | 13835.8779
| TRUE | [10 empty] | 132 | 1000000 | 1450000 | 7575.7576 | 13731.0606 | 1812500 | 13731.0606
| TRUE | [10 empty] | 133 | 1000000 | 1450000 | 7518.797 | 13627.8195 | 1812500 | 13627.8195
| TRUE | [10 empty] | 134 | 1000000 | 1450000 | 7462.6866 | 13526.1194 | 1812500 | 13526.1194
| TRUE | [10 empty] | 135 | 1000000 | 1450000 | 7407.4074 | 13425.9259 | 1812500 | 13425.9259
| TRUE | [10 empty] | 136 | 1000000 | 1450000 | 7352.9412 | 13327.2059 | 1812500 | 13327.2059
| TRUE | [10 empty] | 137 | 1000000 | 1450000 | 7299.2701 | 13229.927 | 1812500 | 13229.927
| TRUE | [10 empty] | 138 | 1000000 | 1450000 | 7246.3768 | 13134.058 | 1812500 | 13134.058
| TRUE | [10 empty] | 139 | 1000000 | 1450000 | 7194.2446 | 13039.5683 | 1812500 | 13039.5683
| TRUE | [10 empty] | 140 | 1000000 | 1450000 | 7142.8571 | 12946.4286 | 1812500 | 12946.4286
| TRUE | [10 empty] | 141 | 1000000 | 1450000 | 7092.1986 | 12854.6099 | 1812500 | 12854.6099
| TRUE | [10 empty] | 142 | 1000000 | 1450000 | 7042.2535 | 12764.0845 | 1812500 | 12764.0845
| TRUE | [10 empty] | 143 | 1000000 | 1450000 | 6993.007 | 12674.8252 | 1812500 | 12674.8252
| TRUE | [10 empty] | 144 | 1000000 | 1450000 | 6944.4444 | 12586.8056 | 1812500 | 12586.8056
| TRUE | [10 empty] | 145 | 1000000 | 1450000 | 6896.5517 | 12500 | 1812500 | 12500
| TRUE | [10 empty] | 146 | 1000000 | 1450000 | 6849.3151 | 12414.3836 | 1812500 | 12414.3836
| TRUE | [10 empty] | 147 | 1000000 | 1450000 | 6802.7211 | 12329.932 | 1812500 | 12329.932
| TRUE | [10 empty] | 148 | 1000000 | 1450000 | 6756.7568 | 12246.6216 | 1812500 | 12246.6216
| TRUE | [10 empty] | 149 | 1000000 | 1450000 | 6711.4094 | 12164.4295 | 1812500 | 12164.4295
| TRUE | [10 empty] | 150 | 1000000 | 1450000 | 6666.6667 | 12083.3333 | 1812500 | 12083.3333
| TRUE | [10 empty] | 151 | 1000000 | 1450000 | 6622.5166 | 12003.3113 | 1812500 | 12003.3113
| TRUE | [10 empty] | 152 | 1000000 | 1450000 | 6578.9474 | 11924.3421 | 1812500 | 11924.3421
| TRUE | [10 empty] | 153 | 1000000 | 1450000 | 6535.9477 | 11846.4052 | 1812500 | 11846.4052
| TRUE | [10 empty] | 154 | 1000000 | 1450000 | 6493.5065 | 11769.4805 | 1812500 | 11769.4805
| TRUE | [10 empty] | 155 | 1000000 | 1450000 | 6451.6129 | 11693.5484 | 1812500 | 11693.5484
| TRUE | [10 empty] | 156 | 1000000 | 1450000 | 6410.2564 | 11618.5897 | 1812500 | 11618.5897
| TRUE | [10 empty] | 157 | 1000000 | 1450000 | 6369.4268 | 11544.586 | 1812500 | 11544.586
| TRUE | [10 empty] | 158 | 1000000 | 1450000 | 6329.1139 | 11471.519 | 1812500 | 11471.519
| TRUE | [10 empty] | 159 | 1000000 | 1450000 | 6289.3082 | 11399.3711 | 1812500 | 11399.3711
| TRUE | [10 empty] | 160 | 1000000 | 1450000 | 6250 | 11328.125 | 1812500 | 11328.125
| TRUE | [10 empty] | 161 | 1000000 | 1450000 | 6211.1801 | 11257.764 | 1812500 | 11257.764
| TRUE | [10 empty] | 162 | 1000000 | 1450000 | 6172.8395 | 11188.2716 | 1812500 | 11188.2716
| TRUE | [10 empty] | 163 | 1000000 | 1450000 | 6134.9693 | 11119.6319 | 1812500 | 11119.6319
| TRUE | [10 empty] | 164 | 1000000 | 1450000 | 6097.561 | 11051.8293 | 1812500 | 11051.8293
| TRUE | [10 empty] | 165 | 1000000 | 1450000 | 6060.6061 | 10984.8485 | 1812500 | 10984.8485
| TRUE | [10 empty] | 166 | 1000000 | 1450000 | 6024.0964 | 10918.6747 | 1812500 | 10918.6747
| TRUE | [10 empty] | 167 | 1000000 | 1450000 | 5988.024 | 10853.2934 | 1812500 | 10853.2934
| TRUE | [10 empty] | 168 | 1000000 | 1450000 | 5952.381 | 10788.6905 | 1812500 | 10788.6905
| TRUE | [10 empty] | 169 | 1000000 | 1450000 | 5917.1598 | 10724.8521 | 1812500 | 10724.8521
| TRUE | [10 empty] | 170 | 1000000 | 1450000 | 5882.3529 | 10661.7647 | 1812500 | 10661.7647
| TRUE | [10 empty] | 171 | 1000000 | 1450000 | 5847.9532 | 10599.4152 | 1812500 | 10599.4152
| TRUE | [10 empty] | 172 | 1000000 | 1450000 | 5813.9535 | 10537.7907 | 1812500 | 10537.7907
| TRUE | [10 empty] | 173 | 1000000 | 1450000 | 5780.3468 | 10476.8786 | 1812500 | 10476.8786
| TRUE | [10 empty] | 174 | 1000000 | 1450000 | 5747.1264 | 10416.6667 | 1812500 | 10416.6667
| TRUE | [10 empty] | 175 | 1000000 | 1450000 | 5714.2857 | 10357.1429 | 1812500 | 10357.1429
| TRUE | [10 empty] | 176 | 1000000 | 1450000 | 5681.8182 | 10298.2955 | 1812500 | 10298.2955
| TRUE | [10 empty] | 177 | 1000000 | 1450000 | 5649.7175 | 10240.113 | 1812500 | 10240.113
| TRUE | [10 empty] | 178 | 1000000 | 1450000 | 5617.9775 | 10182.5843 | 1812500 | 10182.5843
| TRUE | [10 empty] | 179 | 1000000 | 1450000 | 5586.5922 | 10125.6983 | 1812500 | 10125.6983
| TRUE | [10 empty] | 180 | 1000000 | 1450000 | 5555.5556 | 10069.4444 | 1812500 | 10069.4444
| TRUE | [10 empty] | 181 | 1000000 | 1450000 | 5524.8619 | 10013.8122 | 1812500 | 10013.8122
| TRUE | [10 empty] | 182 | 1000000 | 1450000 | 5494.5055 | 9958.7912 | 1812500 | 9958.7912
| TRUE | [10 empty] | 183 | 1000000 | 1450000 | 5464.4809 | 9904.3716 | 1812500 | 9904.3716
| TRUE | [10 empty] | 184 | 1000000 | 1450000 | 5434.7826 | 9850.5435 | 1812500 | 9850.5435
| TRUE | [10 empty] | 185 | 1000000 | 1450000 | 5405.4054 | 9797.2973 | 1812500 | 9797.2973
| TRUE | [10 empty] | 186 | 1000000 | 1450000 | 5376.3441 | 9744.6237 | 1812500 | 9744.6237
| TRUE | [10 empty] | 187 | 1000000 | 1450000 | 5347.5936 | 9692.5134 | 1812500 | 9692.5134
| TRUE | [10 empty] | 188 | 1000000 | 1450000 | 5319.1489 | 9640.9574 | 1812500 | 9640.9574
| TRUE | [10 empty] | 189 | 1000000 | 1450000 | 5291.0053 | 9589.9471 | 1812500 | 9589.9471
| TRUE | [10 empty] | 190 | 1000000 | 1450000 | 5263.1579 | 9539.4737 | 1812500 | 9539.4737
| TRUE | [10 empty] | 191 | 1000000 | 1450000 | 5235.6021 | 9489.5288 | 1812500 | 9489.5288
| TRUE | [10 empty] | 192 | 1000000 | 1450000 | 5208.3333 | 9440.1042 | 1812500 | 9440.1042
| TRUE | [10 empty] | 193 | 1000000 | 1450000 | 5181.3472 | 9391.1917 | 1812500 | 9391.1917
| TRUE | [10 empty] | 194 | 1000000 | 1450000 | 5154.6392 | 9342.7835 | 1812500 | 9342.7835
| TRUE | [10 empty] | 195 | 1000000 | 1450000 | 5128.2051 | 9294.8718 | 1812500 | 9294.8718
| TRUE | [10 empty] | 196 | 1000000 | 1450000 | 5102.0408 | 9247.449 | 1812500 | 9247.449
| TRUE | [10 empty] | 197 | 1000000 | 1450000 | 5076.1421 | 9200.5076 | 1812500 | 9200.5076
| TRUE | [10 empty] | 198 | 1000000 | 1450000 | 5050.5051 | 9154.0404 | 1812500 | 9154.0404
| TRUE | [10 empty] | 199 | 1000000 | 1450000 | 5025.1256 | 9108.0402 | 1812500 | 9108.0402
| TRUE | [10 empty] | 200 | 1000000 | 1450000 | 5000 | 9062.5 | 1812500 | 9062.5
| TRUE | [10 empty] | 201 | 1000000 | 1450000 | 4975.1244 | 9017.4129 | 1812500 | 9017.4129
| TRUE | [10 empty] | 202 | 1000000 | 1450000 | 4950.495 | 8972.7723 | 1812500 | 8972.7723
| TRUE | [10 empty] | 203 | 1000000 | 1450000 | 4926.1084 | 8928.5714 | 1812500 | 8928.5714
| TRUE | [10 empty] | 204 | 1000000 | 1450000 | 4901.9608 | 8884.8039 | 1812500 | 8884.8039
| TRUE | [10 empty] | 205 | 1000000 | 1450000 | 4878.0488 | 8841.4634 | 1812500 | 8841.4634
| TRUE | [10 empty] | 206 | 1000000 | 1450000 | 4854.3689 | 8798.5437 | 1812500 | 8798.5437
| TRUE | [10 empty] | 207 | 1000000 | 1450000 | 4830.9179 | 8756.0386 | 1812500 | 8756.0386
| TRUE | [10 empty] | 208 | 1000000 | 1450000 | 4807.6923 | 8713.9423 | 1812500 | 8713.9423
| TRUE | [10 empty] | 209 | 1000000 | 1450000 | 4784.689 | 8672.2488 | 1812500 | 8672.2488
| TRUE | [10 empty] | 210 | 1000000 | 1450000 | 4761.9048 | 8630.9524 | 1812500 | 8630.9524
| TRUE | [10 empty] | 211 | 1000000 | 1450000 | 4739.3365 | 8590.0474 | 1812500 | 8590.0474
| TRUE | [10 empty] | 212 | 1000000 | 1450000 | 4716.9811 | 8549.5283 | 1812500 | 8549.5283
| TRUE | [10 empty] | 213 | 1000000 | 1450000 | 4694.8357 | 8509.3897 | 1812500 | 8509.3897
| TRUE | [10 empty] | 214 | 1000000 | 1450000 | 4672.8972 | 8469.6262 | 1812500 | 8469.6262
| TRUE | [10 empty] | 215 | 1000000 | 1450000 | 4651.1628 | 8430.2326 | 1812500 | 8430.2326
| TRUE | [10 empty] | 216 | 1000000 | 1450000 | 4629.6296 | 8391.2037 | 1812500 | 8391.2037
| TRUE | [10 empty] | 217 | 1000000 | 1450000 | 4608.2949 | 8352.5346 | 1812500 | 8352.5346
| TRUE | [10 empty] | 218 | 1000000 | 1450000 | 4587.156 | 8314.2202 | 1812500 | 8314.2202
| TRUE | [10 empty] | 219 | 1000000 | 1450000 | 4566.21 | 8276.2557 | 1812500 | 8276.2557
| TRUE | [10 empty] | 220 | 1000000 | 1450000 | 4545.4545 | 8238.6364 | 1812500 | 8238.6364
| TRUE | [10 empty] | 221 | 1000000 | 1450000 | 4524.8869 | 8201.3575 | 1812500 | 8201.3575
| TRUE | [10 empty] | 222 | 1000000 | 1450000 | 4504.5045 | 8164.4144 | 1812500 | 8164.4144
| TRUE | [10 empty] | 223 | 1000000 | 1450000 | 4484.3049 | 8127.8027 | 1812500 | 8127.8027
| TRUE | [10 empty] | 224 | 1000000 | 1450000 | 4464.2857 | 8091.5179 | 1812500 | 8091.5179
| TRUE | [10 empty] | 225 | 1000000 | 1450000 | 4444.4444 | 8055.5556 | 1812500 | 8055.5556
| TRUE | [10 empty] | 226 | 1000000 | 1450000 | 4424.7788 | 8019.9115 | 1812500 | 8019.9115
| TRUE | [10 empty] | 227 | 1000000 | 1450000 | 4405.2863 | 7984.5815 | 1812500 | 7984.5815
| TRUE | [10 empty] | 228 | 1000000 | 1450000 | 4385.9649 | 7949.5614 | 1812500 | 7949.5614
| TRUE | [10 empty] | 229 | 1000000 | 1450000 | 4366.8122 | 7914.8472 | 1812500 | 7914.8472
| TRUE | [10 empty] | 230 | 1000000 | 1450000 | 4347.8261 | 7880.4348 | 1812500 | 7880.4348
| TRUE | [10 empty] | 231 | 1000000 | 1450000 | 4329.0043 | 7846.3203 | 1812500 | 7846.3203
| TRUE | [10 empty] | 232 | 1000000 | 1450000 | 4310.3448 | 7812.5 | 1812500 | 7812.5
| TRUE | [10 empty] | 233 | 1000000 | 1450000 | 4291.8455 | 7778.97 | 1812500 | 7778.97
| TRUE | [10 empty] | 234 | 1000000 | 1450000 | 4273.5043 | 7745.7265 | 1812500 | 7745.7265
| TRUE | [10 empty] | 235 | 1000000 | 1450000 | 4255.3191 | 7712.766 | 1812500 | 7712.766
| TRUE | [10 empty] | 236 | 1000000 | 1450000 | 4237.2881 | 7680.0847 | 1812500 | 7680.0847
| TRUE | [10 empty] | 237 | 1000000 | 1450000 | 4219.4093 | 7647.6793 | 1812500 | 7647.6793
| TRUE | [10 empty] | 238 | 1000000 | 1450000 | 4201.6807 | 7615.5462 | 1812500 | 7615.5462
| TRUE | [10 empty] | 239 | 1000000 | 1450000 | 4184.1004 | 7583.682 | 1812500 | 7583.682
| TRUE | [10 empty] | 240 | 1000000 | 1450000 | 4166.6667 | 7552.0833 | 1812500 | 7552.0833
| TRUE | [10 empty] | 241 | 1000000 | 1450000 | 4149.3776 | 7520.7469 | 1812500 | 7520.7469
| TRUE | [10 empty] | 242 | 1000000 | 1450000 | 4132.2314 | 7489.6694 | 1812500 | 7489.6694
| TRUE | [10 empty] | 243 | 1000000 | 1450000 | 4115.2263 | 7458.8477 | 1812500 | 7458.8477
| TRUE | [10 empty] | 244 | 1000000 | 1450000 | 4098.3607 | 7428.2787 | 1812500 | 7428.2787
| TRUE | [10 empty] | 245 | 1000000 | 1450000 | 4081.6327 | 7397.9592 | 1812500 | 7397.9592
| TRUE | [10 empty] | 246 | 1000000 | 1450000 | 4065.0407 | 7367.8862 | 1812500 | 7367.8862
| TRUE | [10 empty] | 247 | 1000000 | 1450000 | 4048.583 | 7338.0567 | 1812500 | 7338.0567
| TRUE | [10 empty] | 248 | 1000000 | 1450000 | 4032.2581 | 7308.4677 | 1812500 | 7308.4677
| TRUE | [10 empty] | 249 | 1000000 | 1450000 | 4016.0643 | 7279.1165 | 1812500 | 7279.1165
| TRUE | [10 empty] | 250 | 1000000 | 1450000 | 4000 | 7250 | 1812500 | 7250
| TRUE | [10 empty] | 251 | 1000000 | 1450000 | 3984.0637 | 7221.1155 | 1812500 | 7221.1155
| TRUE | [10 empty] | 252 | 1000000 | 1450000 | 3968.254 | 7192.4603 | 1812500 | 7192.4603
| TRUE | [10 empty] | 253 | 1000000 | 1450000 | 3952.5692 | 7164.0316 | 1812500 | 7164.0316
| TRUE | [10 empty] | 254 | 1000000 | 1450000 | 3937.0079 | 7135.8268 | 1812500 | 7135.8268
| TRUE | [10 empty] | 255 | 1000000 | 1450000 | 3921.5686 | 7107.8431 | 1812500 | 7107.8431
| TRUE | [10 empty] | 256 | 1000000 | 1450000 | 3906.25 | 7080.0781 | 1812500 | 7080.0781
| TRUE | [10 empty] | 257 | 1000000 | 1450000 | 3891.0506 | 7052.5292 | 1812500 | 7052.5292
| TRUE | [10 empty] | 258 | 1000000 | 1450000 | 3875.969 | 7025.1938 | 1812500 | 7025.1938
| TRUE | [10 empty] | 259 | 1000000 | 1450000 | 3861.0039 | 6998.0695 | 1812500 | 6998.0695
| TRUE | [10 empty] | 260 | 1000000 | 1450000 | 3846.1538 | 6971.1538 | 1812500 | 6971.1538
| TRUE | [10 empty] | 261 | 1000000 | 1450000 | 3831.4176 | 6944.4444 | 1812500 | 6944.4444
| TRUE | [10 empty] | 262 | 1000000 | 1450000 | 3816.7939 | 6917.9389 | 1812500 | 6917.9389
| TRUE | [10 empty] | 263 | 1000000 | 1450000 | 3802.2814 | 6891.635 | 1812500 | 6891.635
| TRUE | [10 empty] | 264 | 1000000 | 1450000 | 3787.8788 | 6865.5303 | 1812500 | 6865.5303
| TRUE | [10 empty] | 265 | 1000000 | 1450000 | 3773.5849 | 6839.6226 | 1812500 | 6839.6226
| TRUE | [10 empty] | 266 | 1000000 | 1450000 | 3759.3985 | 6813.9098 | 1812500 | 6813.9098
| TRUE | [10 empty] | 267 | 1000000 | 1450000 | 3745.3184 | 6788.3895 | 1812500 | 6788.3895
| TRUE | [10 empty] | 268 | 1000000 | 1450000 | 3731.3433 | 6763.0597 | 1812500 | 6763.0597
| TRUE | [10 empty] | 269 | 1000000 | 1450000 | 3717.4721 | 6737.9182 | 1812500 | 6737.9182
| TRUE | [10 empty] | 270 | 1000000 | 1450000 | 3703.7037 | 6712.963 | 1812500 | 6712.963
| TRUE | [10 empty] | 271 | 1000000 | 1450000 | 3690.0369 | 6688.1919 | 1812500 | 6688.1919
| TRUE | [10 empty] | 272 | 1000000 | 1450000 | 3676.4706 | 6663.6029 | 1812500 | 6663.6029
| TRUE | [10 empty] | 273 | 1000000 | 1450000 | 3663.0037 | 6639.1941 | 1812500 | 6639.1941
| TRUE | [10 empty] | 274 | 1000000 | 1450000 | 3649.635 | 6614.9635 | 1812500 | 6614.9635
| TRUE | [10 empty] | 275 | 1000000 | 1450000 | 3636.3636 | 6590.9091 | 1812500 | 6590.9091
| TRUE | [10 empty] | 276 | 1000000 | 1450000 | 3623.1884 | 6567.029 | 1812500 | 6567.029
| TRUE | [10 empty] | 277 | 1000000 | 1450000 | 3610.1083 | 6543.3213 | 1812500 | 6543.3213
| TRUE | [10 empty] | 278 | 1000000 | 1450000 | 3597.1223 | 6519.7842 | 1812500 | 6519.7842
| TRUE | [10 empty] | 279 | 1000000 | 1450000 | 3584.2294 | 6496.4158 | 1812500 | 6496.4158
| TRUE | [10 empty] | 280 | 1000000 | 1450000 | 3571.4286 | 6473.2143 | 1812500 | 6473.2143
| TRUE | [10 empty] | 281 | 1000000 | 1450000 | 3558.7189 | 6450.1779 | 1812500 | 6450.1779
| TRUE | [10 empty] | 282 | 1000000 | 1450000 | 3546.0993 | 6427.305 | 1812500 | 6427.305
| TRUE | [10 empty] | 283 | 1000000 | 1450000 | 3533.5689 | 6404.5936 | 1812500 | 6404.5936
| TRUE | [10 empty] | 284 | 1000000 | 1450000 | 3521.1268 | 6382.0423 | 1812500 | 6382.0423
| TRUE | [10 empty] | 285 | 1000000 | 1450000 | 3508.7719 | 6359.6491 | 1812500 | 6359.6491
| TRUE | [10 empty] | 286 | 1000000 | 1450000 | 3496.5035 | 6337.4126 | 1812500 | 6337.4126
| TRUE | [10 empty] | 287 | 1000000 | 1450000 | 3484.3206 | 6315.331 | 1812500 | 6315.331
| TRUE | [10 empty] | 288 | 1000000 | 1450000 | 3472.2222 | 6293.4028 | 1812500 | 6293.4028
| TRUE | [10 empty] | 289 | 1000000 | 1450000 | 3460.2076 | 6271.6263 | 1812500 | 6271.6263
| TRUE | [10 empty] | 290 | 1000000 | 1450000 | 3448.2759 | 6250 | 1812500 | 6250
| TRUE | [10 empty] | 291 | 1000000 | 1450000 | 3436.4261 | 6228.5223 | 1812500 | 6228.5223
| TRUE | [10 empty] | 292 | 1000000 | 1450000 | 3424.6575 | 6207.1918 | 1812500 | 6207.1918
| TRUE | [10 empty] | 293 | 1000000 | 1450000 | 3412.9693 | 6186.0068 | 1812500 | 6186.0068
| TRUE | [10 empty] | 294 | 1000000 | 1450000 | 3401.3605 | 6164.966 | 1812500 | 6164.966
| TRUE | [10 empty] | 295 | 1000000 | 1450000 | 3389.8305 | 6144.0678 | 1812500 | 6144.0678
| TRUE | [10 empty] | 296 | 1000000 | 1450000 | 3378.3784 | 6123.3108 | 1812500 | 6123.3108
| TRUE | [10 empty] | 297 | 1000000 | 1450000 | 3367.0034 | 6102.6936 | 1812500 | 6102.6936
| TRUE | [10 empty] | 298 | 1000000 | 1450000 | 3355.7047 | 6082.2148 | 1812500 | 6082.2148
| TRUE | [10 empty] | 299 | 1000000 | 1450000 | 3344.4816 | 6061.8729 | 1812500 | 6061.8729
| TRUE | [10 empty] | 300 | 1000000 | 1450000 | 3333.3333 | 6041.6667 | 1812500 | 6041.6667
| TRUE | [10 empty] | 301 | 1000000 | 1450000 | 3322.2591 | 6021.5947 | 1812500 | 6021.5947
| TRUE | [10 empty] | 302 | 1000000 | 1450000 | 3311.2583 | 6001.6556 | 1812500 | 6001.6556
| TRUE | [10 empty] | 303 | 1000000 | 1450000 | 3300.33 | 5981.8482 | 1812500 | 5981.8482
| TRUE | [10 empty] | 304 | 1000000 | 1450000 | 3289.4737 | 5962.1711 | 1812500 | 5962.1711
| TRUE | [10 empty] | 305 | 1000000 | 1450000 | 3278.6885 | 5942.623 | 1812500 | 5942.623
| TRUE | [10 empty] | 306 | 1000000 | 1450000 | 3267.9739 | 5923.2026 | 1812500 | 5923.2026
| TRUE | [10 empty] | 307 | 1000000 | 1450000 | 3257.329 | 5903.9088 | 1812500 | 5903.9088
| TRUE | [10 empty] | 308 | 1000000 | 1450000 | 3246.7532 | 5884.7403 | 1812500 | 5884.7403
| TRUE | [10 empty] | 309 | 1000000 | 1450000 | 3236.246 | 5865.6958 | 1812500 | 5865.6958
| TRUE | [10 empty] | 310 | 1000000 | 1450000 | 3225.8065 | 5846.7742 | 1812500 | 5846.7742
| TRUE | [10 empty] | 311 | 1000000 | 1450000 | 3215.4341 | 5827.9743 | 1812500 | 5827.9743
| TRUE | [10 empty] | 312 | 1000000 | 1450000 | 3205.1282 | 5809.2949 | 1812500 | 5809.2949
| TRUE | [10 empty] | 313 | 1000000 | 1450000 | 3194.8882 | 5790.7348 | 1812500 | 5790.7348
| TRUE | [10 empty] | 314 | 1000000 | 1450000 | 3184.7134 | 5772.293 | 1812500 | 5772.293
| TRUE | [10 empty] | 315 | 1000000 | 1450000 | 3174.6032 | 5753.9683 | 1812500 | 5753.9683
| TRUE | [10 empty] | 316 | 1000000 | 1450000 | 3164.557 | 5735.7595 | 1812500 | 5735.7595
| TRUE | [10 empty] | 317 | 1000000 | 1450000 | 3154.5741 | 5717.6656 | 1812500 | 5717.6656
| TRUE | [10 empty] | 318 | 1000000 | 1450000 | 3144.6541 | 5699.6855 | 1812500 | 5699.6855
| TRUE | [10 empty] | 319 | 1000000 | 1450000 | 3134.7962 | 5681.8182 | 1812500 | 5681.8182
| TRUE | [10 empty] | 320 | 1000000 | 1450000 | 3125 | 5664.0625 | 1812500 | 5664.0625
| TRUE | [10 empty] | 321 | 1000000 | 1450000 | 3115.2648 | 5646.4174 | 1812500 | 5646.4174
| TRUE | [10 empty] | 322 | 1000000 | 1450000 | 3105.5901 | 5628.882 | 1812500 | 5628.882
| TRUE | [10 empty] | 323 | 1000000 | 1450000 | 3095.9752 | 5611.4551 | 1812500 | 5611.4551
| TRUE | [10 empty] | 324 | 1000000 | 1450000 | 3086.4198 | 5594.1358 | 1812500 | 5594.1358
| TRUE | [10 empty] | 325 | 1000000 | 1450000 | 3076.9231 | 5576.9231 | 1812500 | 5576.9231
| TRUE | [10 empty] | 326 | 1000000 | 1450000 | 3067.4847 | 5559.816 | 1812500 | 5559.816
| TRUE | [10 empty] | 327 | 1000000 | 1450000 | 3058.104 | 5542.8135 | 1812500 | 5542.8135
| TRUE | [10 empty] | 328 | 1000000 | 1450000 | 3048.7805 | 5525.9146 | 1812500 | 5525.9146
| TRUE | [10 empty] | 329 | 1000000 | 1450000 | 3039.5137 | 5509.1185 | 1812500 | 5509.1185
| TRUE | [10 empty] | 330 | 1000000 | 1450000 | 3030.303 | 5492.4242 | 1812500 | 5492.4242
| TRUE | [10 empty] | 331 | 1000000 | 1450000 | 3021.148 | 5475.8308 | 1812500 | 5475.8308
| TRUE | [10 empty] | 332 | 1000000 | 1450000 | 3012.0482 | 5459.3373 | 1812500 | 5459.3373
| TRUE | [10 empty] | 333 | 1000000 | 1450000 | 3003.003 | 5442.9429 | 1812500 | 5442.9429
| TRUE | [10 empty] | 334 | 1000000 | 1450000 | 2994.012 | 5426.6467 | 1812500 | 5426.6467
| TRUE | [10 empty] | 335 | 1000000 | 1450000 | 2985.0746 | 5410.4478 | 1812500 | 5410.4478
| TRUE | [10 empty] | 336 | 1000000 | 1450000 | 2976.1905 | 5394.3452 | 1812500 | 5394.3452
| TRUE | [10 empty] | 337 | 1000000 | 1450000 | 2967.3591 | 5378.3383 | 1812500 | 5378.3383
| TRUE | [10 empty] | 338 | 1000000 | 1450000 | 2958.5799 | 5362.426 | 1812500 | 5362.426
| TRUE | [10 empty] | 339 | 1000000 | 1450000 | 2949.8525 | 5346.6077 | 1812500 | 5346.6077
| TRUE | [10 empty] | 340 | 1000000 | 1450000 | 2941.1765 | 5330.8824 | 1812500 | 5330.8824
| TRUE | [10 empty] | 341 | 1000000 | 1450000 | 2932.5513 | 5315.2493 | 1812500 | 5315.2493
| TRUE | [10 empty] | 342 | 1000000 | 1450000 | 2923.9766 | 5299.7076 | 1812500 | 5299.7076
| TRUE | [10 empty] | 343 | 1000000 | 1450000 | 2915.4519 | 5284.2566 | 1812500 | 5284.2566
| TRUE | [10 empty] | 344 | 1000000 | 1450000 | 2906.9767 | 5268.8953 | 1812500 | 5268.8953
| TRUE | [10 empty] | 345 | 1000000 | 1450000 | 2898.5507 | 5253.6232 | 1812500 | 5253.6232
| TRUE | [10 empty] | 346 | 1000000 | 1450000 | 2890.1734 | 5238.4393 | 1812500 | 5238.4393
| TRUE | [10 empty] | 347 | 1000000 | 1450000 | 2881.8444 | 5223.3429 | 1812500 | 5223.3429
| TRUE | [10 empty] | 348 | 1000000 | 1450000 | 2873.5632 | 5208.3333 | 1812500 | 5208.3333
| TRUE | [10 empty] | 349 | 1000000 | 1450000 | 2865.3295 | 5193.4097 | 1812500 | 5193.4097
| TRUE | [10 empty] | 350 | 1000000 | 1450000 | 2857.1429 | 5178.5714 | 1812500 | 5178.5714
| TRUE | [10 empty] | 351 | 1000000 | 1450000 | 2849.0028 | 5163.8177 | 1812500 | 5163.8177
| TRUE | [10 empty] | 352 | 1000000 | 1450000 | 2840.9091 | 5149.1477 | 1812500 | 5149.1477
| TRUE | [10 empty] | 353 | 1000000 | 1450000 | 2832.8612 | 5134.5609 | 1812500 | 5134.5609
| TRUE | [10 empty] | 354 | 1000000 | 1450000 | 2824.8588 | 5120.0565 | 1812500 | 5120.0565
| TRUE | [10 empty] | 355 | 1000000 | 1450000 | 2816.9014 | 5105.6338 | 1812500 | 5105.6338
| TRUE | [10 empty] | 356 | 1000000 | 1450000 | 2808.9888 | 5091.2921 | 1812500 | 5091.2921
| TRUE | [10 empty] | 357 | 1000000 | 1450000 | 2801.1204 | 5077.0308 | 1812500 | 5077.0308
| TRUE | [10 empty] | 358 | 1000000 | 1450000 | 2793.2961 | 5062.8492 | 1812500 | 5062.8492
| TRUE | [10 empty] | 359 | 1000000 | 1450000 | 2785.5153 | 5048.7465 | 1812500 | 5048.7465
| TRUE | [10 empty] | 360 | 1000000 | 1450000 | 2777.7778 | 5034.7222 | 1812500 | 5034.7222
| TRUE | [10 empty] | 361 | 1000000 | 1450000 | 2770.0831 | 5020.7756 | 1812500 | 5020.7756
| TRUE | [10 empty] | 362 | 1000000 | 1450000 | 2762.4309 | 5006.9061 | 1812500 | 5006.9061
| TRUE | [10 empty] | 363 | 1000000 | 1450000 | 2754.8209 | 4993.1129 | 1812500 | 4993.1129
| TRUE | [10 empty] | 364 | 1000000 | 1450000 | 2747.2527 | 4979.3956 | 1812500 | 4979.3956
| TRUE | [10 empty] | 365 | 1000000 | 1450000 | 2739.726 | 4965.7534 | 1812500 | 4965.7534
| TRUE | [10 empty] | 366 | 1000000 | 1450000 | 2732.2404 | 4952.1858 | 1812500 | 4952.1858
| TRUE | [10 empty] | 367 | 1000000 | 1450000 | 2724.7956 | 4938.6921 | 1812500 | 4938.6921
| TRUE | [10 empty] | 368 | 1000000 | 1450000 | 2717.3913 | 4925.2717 | 1812500 | 4925.2717
| TRUE | [10 empty] | 369 | 1000000 | 1450000 | 2710.0271 | 4911.9241 | 1812500 | 4911.9241
| TRUE | [10 empty] | 370 | 1000000 | 1450000 | 2702.7027 | 4898.6486 | 1812500 | 4898.6486
| TRUE | [10 empty] | 371 | 1000000 | 1450000 | 2695.4178 | 4885.4447 | 1812500 | 4885.4447
| TRUE | [10 empty] | 372 | 1000000 | 1450000 | 2688.172 | 4872.3118 | 1812500 | 4872.3118
| TRUE | [10 empty] | 373 | 1000000 | 1450000 | 2680.9651 | 4859.2493 | 1812500 | 4859.2493
| TRUE | [10 empty] | 374 | 1000000 | 1450000 | 2673.7968 | 4846.2567 | 1812500 | 4846.2567
| TRUE | [10 empty] | 375 | 1000000 | 1450000 | 2666.6667 | 4833.3333 | 1812500 | 4833.3333
| TRUE | [10 empty] | 376 | 1000000 | 1450000 | 2659.5745 | 4820.4787 | 1812500 | 4820.4787
| TRUE | [10 empty] | 377 | 1000000 | 1450000 | 2652.5199 | 4807.6923 | 1812500 | 4807.6923
| TRUE | [10 empty] | 378 | 1000000 | 1450000 | 2645.5026 | 4794.9735 | 1812500 | 4794.9735
| TRUE | [10 empty] | 379 | 1000000 | 1450000 | 2638.5224 | 4782.3219 | 1812500 | 4782.3219
| TRUE | [10 empty] | 380 | 1000000 | 1450000 | 2631.5789 | 4769.7368 | 1812500 | 4769.7368
| TRUE | [10 empty] | 381 | 1000000 | 1450000 | 2624.6719 | 4757.2178 | 1812500 | 4757.2178
| TRUE | [10 empty] | 382 | 1000000 | 1450000 | 2617.801 | 4744.7644 | 1812500 | 4744.7644
| TRUE | [10 empty] | 383 | 1000000 | 1450000 | 2610.9661 | 4732.376 | 1812500 | 4732.376
[12 empty] | 384 | 1000000 | 1450000 | 2604.1667 | 4720.0521 | 1812500 | 4720.0521

## multi_config.csv
[gene-expression]
probe-set | [Enter path to probe set csv]
create-bam | FALSE
[libraries]
fastq_id | fastqs | feature_types
[Enter GEX fastq_id] | [Enter GEX Fastq file path] | Gene Expression
[samples]
sample_id | probe_barcode_ids | description