## Readme
|  | PROTOCOL PLANNER | [5 empty] | CG000832
|  | GEM-X Flex v2 – Protocol Planner | [6 empty] | Rev B
Introduction
GEM-X Flex v2 offers comprehensive scalable solutions to measure gene and protein expression in samples that are fixed with formaldehyde. This document provides workflow overviews, document resources, reagents, and consumables for the GEM-X Flex v2 protocols. This document also provides guidance on selecting the appropriate sample preparation and library construction protocols for different workflows. An overview of the GEM-X Flex v2 data analysis is also included in this document. The 10x Genomics GEM-X Flex v2 Reagent Kits are not listed in this document.
Copy-Paste Guidelines: The sheet is protected to prevent altering the content. In order to copy-paste, right click to select a cell's text.
Printing Guidelines: The print area has been set for each tab in this document. Go to Print. For orientation, select "Portrait." For scaling, select "Fit all columns to one page." To print the entire workbook, Go to Print and select "Print Entire Workbook" under settings. To create a pdf document, go to Print and select "Adobe PDF" as the printer. Do not go to "Save as Adobe PDF."
General Workflow Overview
Figure 1. Samples are either labeled with antibody-oligonucleotide conjugates and fixed (gene and protein expression workflows) or are directly fixed (gene expression only workflows). Fixed samples are first hybridized to probe sets. After overnight incubation, additional barcoding oligos are added. The hybridized samples are pooled with up to 384 samples. During GEM generation, the probe sets and barcoding oligos are ligated and extended to incorporate unique Sample Barcodes. Sequencing libraries are then prepared, sequenced, and analyzed.
GEM-X Flex v2 Protocol Selection
| This section provides guidance on choosing the appropriate documents for the following GEM-X Flex workflows. A high-level overview of protocol timing and stop options is also included. | [8 empty] | Please ignore this column
Select one workflow option:
| 1. Gene Expression Only |  |  |  |  | 1. Gene Expression |  |  |  | 1. Gene Expression
[5 empty] | The relevant documentation and workflow image will become highlighted below. |  |  |  |  | 2. Gene & Protein Expression
2. Gene & Protein Expression
Workflow 1: Gene Expression Only
| Steps |  |  | Doc Number | Timing |  | Stop & Store
Sample Preparation (select one demonstrated protocol)
| Fix Cells/Nuclei Suspension |  |  | CG000782 | variable |  | 4°C ≤1 week/-80°C ≤12 months |  |  | Y
| Tissue Fixation & Dissociation |  |  | CG000783
| FFPE - Sample Preparation |  |  | CG000784
| Blood Fixation & Cell Isolation |  |  | CG000785
| Plate-based Sample Fixation |  |  | CG000833
Library Construction (Detailed steps & guidance on probe hybridization, GEM generation & library construction)
| GEM-X Flex v2 |  |  | CG000834
|  |  |  | CG000841 GEM-X Flex v2 User Guide for Singleplexed Samples for use with GEM-X Flex v2, 4 Sample Kits (PN-1000926/ 1000930) | [5 empty] | Y
Workflow 2: Gene & Protein Expression
| Steps |  |  | Doc Number | Timing |  | Stop & Store
Sample Labeling (Label cells with cell surface and intracellular antibody-oligonucleotide conjugates)
| Cell Surface & Intracellular Protein Labeling |  |  | CG000781 | 2–3 h |  | -80°C ≤12 months after brief fixation during intracellular protein labeling |  |  | N
Sample Preparation (Detailed guidance for sample fixation)
| Fix Cells/Nuclei Suspension Plate-based Sample Fixation |  |  | CG000782 CG000833 | variable |  | 4°C ≤1 week/-80°C ≤12 months |  |  | N
Library Construction (Detailed steps & guidance on probe hybridization, GEM generation & library construction)
| GEM-X Flex v2 with Feature Barcode technology for Protein |  |  | CG000835 | [5 empty] | N
CG000841 GEM-X Flex v2 User Guide for Singleplexed Samples for use with GEM-X Flex v2, 4 Sample Kits (PN-1000926/1000930)
Additional Resources
| Steps |  | Document
| Using Custom Probes |  | Custom Probe Design for GEM-X Flex v2 (CG000839) Guidance for designing and using custom probes for GEM-X Flex v2 experiments | [6 empty] | Y
| CRISPR Screening with GEM-X Flex Assay |  | CRISPR Screening with GEM-X Flex v2 |  |  |  |  | Technical Note CG000xxx |  | Y
Specific Workflow Overview
1. GEM-X Flex v2 Gene Expression | [9 empty] | Y
*For multiplexing. Not applicable to singleplex workflow using GEM-X Flex v2 4 sample kit (PN-1000926/1000930)
2. GEM-X Flex v2 Gene & Protein Expression | [9 empty] | N
*For multiplexing. Not applicable to singleplex workflow using GEM-X Flex v2 4 sample kit (PN-1000926/1000930)
Library Construction: Protocol Steps & Timing (for Workflows 1-2) | [9 empty] | Y
| Steps |  |  |  | Timing |  | Stop & Store
Step 1: Hybridization
| 1.1 | Probe Hybridization |  |  | 16-24 h
Step 2: Barcode Oligo Hybridization
| 2.1 | Barcode Oligo Hybridization* |  |  | 150 min
Step 3: Post-Hybridization Washing
| 3.1 | Post-Hybridization Pool & Wash |  |  | 60–90 min |  | -80°C ≤12 months
Step 4: GEM Generation & Barcoding
| 4.1 | Prepare Master Mix + Sample Dilution |  |  | 30 min
| 4.2 | Load GEM-X FX Chip |  |  | 10 min
| 4.3 | Run the Chromium X/iX |  |  | 6 min
| 4.4 | Transfer Gel Beads-in-Emulsion (GEMs) |  |  | 5 min
| 4.5 | GEM Incubation |  |  | 125 min |  | 4°C ≤1 week (GEMs) or -80°C ≤12 months (washed undiluted sample from step 3.1)
Step 5: GEM Recovery and Pre-Amplification
| 5.1 | Post-GEM Incubation – Recovery |  |  | 10 min
| 5.2 | Pre-Amplification PCR |  |  | 55 min |  | 4°C ≤72 h/-20°C ≤1 week
| 5.3 | DNA Cleanup – SPRIselect |  |  | 30 min |  | 4°C ≤72 h/-20°C ≤4 weeks
Step 6: GEM-X Flex – Gene Expression Library Construction
| 6.1 | Sample Index PCR |  |  | 40–60 min** |  | 4°C ≤72 h
| 6.2 | Post Sample Index PCR Size Selection – SPRIselect |  |  | 30 min |  | 4°C ≤72 h/-20°C long term
| 6.3 | Post Library Construction QC |  |  | 60 min
Step 7: GEM-X Flex – Protein Expression Library Construction***
| 7.1 | Sample Index PCR |  |  | 40–60 min** |  | 4°C ≤72 h
| 7.2 | Post Sample Index PCR Size Selection – SPRIselect |  |  | 30 min |  | 4°C ≤72 h/-20°C long term
| 7.3 | Post Library Construction QC |  |  | 60 min
*For multplexing experiments only
**Variable depending upon the cycle number determination method used. See relevant User Guides for details.
***Only applicable to gene and protein expression workflows (CG000835)
Data Analysis Overview
For Gene Expression Only | [9 empty] | Y
For Gene & Protein Expression | [9 empty] | N
The following key information should be collected and provided to the data analyst/bioinformatician to ensure that the parameters are set appropriately for Cell Ranger to analyze the data:
| • | Target number of cells to be recovered per sample
| • | Sample and library name to be appended to the FASTQ file name and the corresponding library type
| • | The sample indices used for each GEM-X Flex v2 – Gene Expression, Protein Expression, or CRISPR Guide Capture library
| • | The probe set and Barocde Oligos used
| • | The Sample Barcodes used for each sample in a multiplexing experiment for GEM-X Flex v2 – Gene Expression, Protein Expression, or CRISPR Guide Capture library
Document Revision Summary
| Updated | Version | Summary of Changes
| 05/2026 | Rev B | Updated probe-related information in Readme tab Minor updates in format
| 10/2025 | Rev A | Document creation
© 2026 10x Genomics, Inc. FOR RESEARCH USE ONLY. NOT FOR USE IN DIAGNOSTIC PROCEDURES.
Contact
support@10xgenomics.com
10x Genomics
6230 Stoneridge Mall Road
Pleasanton, CA 94588 USA

## Thermal Cyclers
PROTOCOL PLANNER ¦ CG000832 Rev B ¦ 10xgenomics.com
GEM-X Flex v2
Recommended Thermocyclers for PCR and Plate-based Incubation Steps
The table below lists the thermal cyclers that have been validated by 10x Genomics for all currently available Chromium Single Cell protocols.
| Description | Supplier | Part Number (US)
FALSE | Biometra TAdvanced 96 SG/S | Analytik Jena* | 846-x-070-241/846-x-070-251 (x = 2 for 230 V; 4 for 115 V; 5 for 100 V, 50-60 Hz)
FALSE | Mastercycler X50s/X50a | Eppendorf** | 6311000010/6313000018
FALSE | VeritiPro Thermal Cycler, 96-well (untested for 96-well plates) | Thermo Fisher Scientific*** | A48141
FALSE | PTC Tempo Deepwell Thermal Cycler | Bio-Rad | 12015392
FALSE | C1000 Touch Thermal Cycler with 96-Deep Well Reaction Module (discontinued) | Bio-Rad | 1851197
For select instruments, ramp rates should be adjusted for all steps as described below: *Analytik Jena Biometra TAdvanced 96 SG/S: 2°C/sec for both heating and cooling **Eppendorf Mastercycler X50s/X50a: 3°C/sec heating and 2°C/sec cooling ***Thermo Fisher VeritiPro requires FW 1.2.0, 96 well tray/retainer (PN 4381850), and “Cover Ramping” enabled
Recommended Real Time qPCR Systems
For Optional Gene & Protein Expression Library - Cycle Number Determination Using qPCR
| Description | Supplier | Part Number (US)
FALSE | QuantStudio 12K Flex System | Applied Biosystems | 4471087
FALSE | CFX96 Real-time System (discontinued) | Bio-Rad | 1855096

## Pipette Tips
PROTOCOL PLANNER ¦ CG000832 Rev B ¦ 10xgenomics.com
GEM-X Flex v2
Recommended Pipette Tips
10x Genomics recommends using only validated emulsion-safe pipette tips for all Single Cell protocols. Rainin pipette tips have been extensively validated by 10x Genomics and are highly recommended for all single cell assays. If Rainin tips are unavailable, any of the listed alternate pipette tips validated by 10x Genomics may be used.
| Supplier | Description | Part Number (US)
Pipettes
| Rainin | Pipet-Lite Multi Pipette L8-50XLS+ | 17013804
|  | Pipet-Lite Multi Pipette L8-200XLS+ | 17013805
|  | Pipet-Lite Multi Pipette L8-10XLS+ | 17013802
|  | Pipet-Lite Multi Pipette L8-20XLS+ | 17013803
|  | Pipet-Lite LTS Pipette L-2XLS+ | 17014393
|  | Pipet-Lite LTS Pipette L-10XLS+ | 17014388
|  | Pipet-Lite LTS Pipette L-20XLS+ | 17014392
|  | Pipet-Lite LTS Pipette L-100XLS+ | 17014384
|  | Pipet-Lite LTS Pipette L-200XLS+ | 17014391
|  | Pipet-Lite LTS Pipette L-1000XLS+ | 17014382
Pipette Tips
| Rainin | Tips LTS 200UL Filter RT-L200FLR | 30389240
|  | Tips LTS 1ML Filter RT-L1000FLR | 30389213
|  | Tips LTS 20UL Filter RT-L10FLR | 30389226
Alternate Recommendations (If Rainin pipette tips are unavailable, any of the listed pipette tips may be used)
Pipettes
| Eppendorf | Eppendorf Research plus, 8-channel, epT.I.P.S. Box, 0.5 – 10 µL | 3125000010
|  | Eppendorf Research plus, 8-channel, epT.I.P.S. Box, 10 – 100 µL | 3125000036
|  | Eppendorf Research plus, 8-channel, epT.I.P.S. Box, 30 – 300 µL | 3125000052
|  | Eppendorf Research plus, 1-channel, epT.I.P.S.® Box, 0.1 – 2.5 µL | 3123000012
|  | Eppendorf Research plus, 1-channel, epT.I.P.S.® Box, 0.5 – 10 µL | 3123000020
|  | Eppendorf Research plus, 1-channel, epT.I.P.S.® Box, 2 – 20 µL | 3123000039
|  | Eppendorf Research plus, 1-channel, epT.I.P.S.® Box, 2 – 200 µL | 3123000055
|  | Eppendorf Research plus, 1-channel, epT.I.P.S.® Box, 100 – 1000 µL | 3123000063
Pipette Tips (compatible with Eppendorf pipettes only)
| Eppendorf | ep Dualfilter T.I.P.S., 2-20 µL | 30078535
|  | ep Dualfilter T.I.P.S., 2-200 µL | 30078551
|  | ep Dualfilter T.I.P.S., 2-1,000 µL | 30078578
Pipette Tips (Compatible with Rainin pipettes)
| Labcon | ZAP SLIK 20 µL Low Retention Aerosol Filter Pipet Tips for Rainin LTS | 4-1143-965-008
|  | ZAP SLIK 200 µL Low Retention Aerosol Filter Pipet Tips for Rainin LTS | 4-1144-965-008
|  | ZAP SLIK 1200 µL Low Retention Aerosol Filter Pipet Tips for Rainin LTS | 4-1145-965-008
Pipettes Tips (Compatible with Rainin pipettes)
| Biotix | xTIP4 Racked Pipette Tips, Rainin LTS Pipette Compatible, 0.1-20uL | 63300931
|  | xTIP4 Racked Pipette Tips, Rainin LTS Pipette Compatible, 200uL | 63300001
|  | xTIP4 Racked Pipette Tips, Rainin LTS Pipette Compatible, 1200uL | 63300004

## 96-well Plates
PROTOCOL PLANNER ¦ CG000832 Rev B ¦ 10xgenomics.com
GEM-X Flex v2
Recommended 96-well Plates
For Library Construction (User Guides – CG000834 & CG000835)
The plates listed below have been extensively validated by 10x Genomics and are highly recommended for GEM-X Flex v2 assay. It is recommended to use deep-well (≥350 μl) V-bottom 96-well plates for GEM-X Flex v2 workflow.
Recommended deep-well (≥350 μl) plates
| Description |  | Supplier | PN | Compatible with
FALSE | 96-well Clear V-Bottom 500 μL Polypropylene Deep Well, Sterile |  | Axygen | P-96-450V -C-S | Thermal Cycler, Thermomixer, and Oven
FALSE | 96-well Expanded Volume Polypropylene Not Treated Microplate, Standard Height, V-Bottom, Sterile |  | Corning | 3344 | Thermal Cycler, Thermomixer, and Oven
Choose either Axygen or Corning plate based on availability & preference. All the deep-well plates are not individually packaged and do not have lids. To prevent potential RNase/sample cross contamination in such case, promptly clean up the working bench. The lids can also be puchase separately. For overnight hybridization in a thermal cycler, samples can also be transferred to 96-well PCR plates, for example Eppendorf twin.tec PCR Plates 96 EP0030129504. Alternative standard well plates may be used but the total reaction volumes may need to be modified.
Alternative 96-well Plates
Other plates can also be used. The following table provides a list of alternate deep-well and standard-well plates.
Alternative deep-well (≥350 μl) plates
| Description |  | Supplier | PN | Compatible with |  | Important Considerations
FALSE | Flat- or round-bottom deep-well |  | - | - | Thermomixer and Oven |  | Minimal testing has been done with this plate type No expected change in data quality Cell loss might be greater than the V-bottom plates Not recommended for low cell input (10,000-25,000)
Alternative stnadard-well (≥350 μl) plates
| Description |  | Supplier | PN | Compatible with |  | Important Considerations
FALSE | V-bottom standard-well |  | - | - | Thermomixer and Oven |  | Minimal testing has been done with this plate type No expected change in data quality For storage at -80oC, scaling down the volume of reagents will be needed, See appropriate protocols for details.
FALSE | Flat- or round-bottom standard-well |  | - | - | Thermomixer and Oven |  | Minimal testing has been done with this plate type No expected change in data quality Cell loss might be greater than the V-bottom plates Not recommended for low cell input (10,000-25,000) For storage at −80°C, scaling down the volume of reagents will be needed, See appropriate protocols for details.
Plate Accessories
| Item | Description |  |  |  | Supplier |  | Part Number (US)
Plastics
FALSE | Plate Seals Choose Bio-Rad or Applied Biosystems films based on availability & preference. | Microseal 'C' PCR Plate Sealing Film, adhesive |  |  |  | Bio-Rad |  | MSC1001
|  | Microseal 'B' PCR Plate Sealing Film, adhesive |  |  |  | Bio-Rad |  | MSB1001
|  | MicroAmp Optical Adhesive Film |  |  |  | Applied Biosystems |  | 4311971
FALSE | Roller/Applicator for Sealing | Film Sealing Roller for PCR Plates |  |  |  | Bio-Rad |  | MSR0001
|  | MicroAmp Adhesive Film Applicator |  |  |  | Applied Biosystems |  | 4333183
FALSE | Plate Lids For storage of samples in plates | Microplate 96 Lid |  |  |  | Azenta Life Sciences |  | 4ti-0290
|  | Clear Universal Fit Polystyrene Assay Plate Lid For 96 Well Assay Plates, RNase and DNase Free |  |  |  | Stellar Scientific |  | ILP-LID-UNI-10-N
|  | Clear Polystyrene Universal Lid |  |  |  | Cytiva |  | 7704-1001
Any equivalent sterilized universal 96-well plate can also be used.

## User Guide
PROTOCOL PLANNER ¦ CG000832 Rev B ¦ 10xgenomics.com
GEM-X Flex v2
Kits, Reagents & Equipment
For Library Construction (User Guides – CG000834, CG000835, and CG000841)
The items in the tables below have been tested by 10x Genomics and perform optimally with the GEM-X Flex v2 protocols. Substituting materials may adversely affect system performance. This list may not include standard laboratory equipment such as water baths, centrifuges, pH meters, freezers etc.
The kits, reagents, and equipment required for sample preparation for GEM-X Flex v2 assay are not included in this document. See appropriate Demonstrated Protocol on 10x Genomics support website for items required for sample preparation.
| Item | Description | Supplier | Part Number (US)
Plastics
FALSE | 0.2 ml PCR 8-tube strips | PCR Tubes 0.2 ml 8-tube strips | Eppendorf | 951010022
|  | TempAssure PCR 8-tube strip | USA Scientific | 1402-4700
|  | MicroAmp 8-Tube Strip, 0.2 ml MicroAmp 8 -Cap Strip, clear | Thermo Fisher Scientific Thermo Fisher Scientific | N8010580 N8010535
(Choose either Eppendorf, USA Scientific or Thermo Fisher Scientific PCR 8-tube strips)
FALSE | 1.5-ml tubes | DNA LoBind Tubes 1.5 ml | Eppendorf | 22431021
| 5-ml tubes | DNA LoBind Tubes 5.0 ml | Eppendorf | 30108310
FALSE | Centrifuge tubes | Corning Centrifuge Tubes with CentriStar Cap (15 ml), sterile | Corning | 430790
FALSE | Centrifuge tubes | Self-Standing Polypropylene Centrifuge Tubes (50 ml), sterile | Corning | 430921
FALSE | Filters Choose either Sysmex, Miltenyi Biotec, or pluriSelect filter for filtration in tubes | Sterile Single-Pack CellTrics Filters | Sysmex | 04-004-2326
|  | Pre-Separation Filters (30 μm) | Miltenyi Biotec | 130-041-407
|  | pluriStrainer Mini 40 µm (Cell Strainer) | pluriSelect | 43-10040
|  | Centrifugal filtration plate for 96-well, 30 µm | Nacalai USA | R-CSC078-012
Kits & Reagents
FALSE | Nuclease-free water | Molecular Grade Nuclease-free Water | Thermo Fisher Scientific | AM9937
FALSE | Tween | Tween 20 Surfact-Amps Detergent Solution (10% solution) | Thermo Fisher Scientific | 28320
FALSE | SPRI | SPRIselect Reagent Kit | Beckman Coulter | B23318
FALSE | Ethanol | Ethyl Alcohol, 200 Proof, anhydrous | Millipore Sigma | E7023
FALSE | Glycerol for storage Choose either Acros Organics or Millipore Sigma | Glycerol, 99.5%, for molecular biology, DNAse, RNAse and Protease free Alternative to Millipore Sigma product | Acros Organics | 327255000
|  | Glycerol for molecular biology, ≥99.0% Alternative to Acros Organics product | Millipore Sigma | G5516-100ML
FALSE | Glycerol for loading unused wells | Glycerin (glycerol), 50% (v/v) Aqueous Solution | Ricca Chemical Company | 3290-32
FALSE | Sterile 1X PBS | Phosphate-Buffered Saline without Calcium & Magnesium Or any equivalent sterile PBS | Corning | 21-040-CM
FALSE | Buffer EB | Qiagen Buffer EB | Qiagen | 19086
For Cell Counting
FALSE | Cell counter & slides | Countess II FL Automated Cell Counter Discontinued Requires additional fluorescent filters | Thermo Fisher Scientific | AMQAF1000
|  | Countess 3 FL Automated Cell Counter | Thermo Fisher Scientific | A49866
|  | Countess Cell Counting Chamber Slides | Thermo Fisher Scientific | C10228
|  | Cellometer K2 Bundle w/ Matrix Software | Nexcelom Bioscience | CMT-K2-MX-150
|  | Celleca MX HIgh-throughput Automated Cell Counter | Nexcelom Bioscience | MX-112-0127
FALSE | Staining solution Choose either AOPI, NucSpot, PI, or DAPI solution. If the sample has no debris,Trypan Blue can be used. | ViaStain AOPI Staining Solution | Nexcelom Bioscience | CS2-0106-5mL
|  | ViaStain PI Staining Solution | Nexcelom Bioscience | CS1-0109-5mL
|  | Trypan Blue Stain (0.4%) | Thermo Fisher Scientific | T10282
|  | NucSpot 470 | Biotium | 40083
|  | DAPI solution, 1 mg/mL | Thermo Fisher Scientific | 62248
Equipment
FALSE | Centrifuge | Mini Centrifuge Or any equivalent mini centrifuge | VWR | 76269-064
FALSE | Vortex | Vortex Mixer | VWR | 10153-838
FALSE | Reagent reservoirs | Divided Polystyrene Reservoirs | VWR | 41428-958
FALSE | Thermomixer | Eppendorf ThermoMixer C | Eppendorf | 5382000023
|  | ThermoMixer C Accessory, Smartblock Thermoblock | Eppendorf | 5363000039
|  | Eppendorf ThermoTop with condens.protect technology Required for overnight hybridization step when using 1.5-ml microcentrifuge tubes | Eppendorf | 5308000003
FALSE | Heat block | Eppendorf SmartBlock 1.5 ml, Thermoblock for 24 reaction vessel | Eppendorf | 5360000038
|  | Eppendorf SmartBlock 2.0 ml, Thermoblock for 24 reaction vessels Or any equivalent temperature controlled heat block | Eppendorf | 5362000035
Quantification & Quality Control
| Bioanalyzer | 2100 Bioanalyzer Laptop Bundle discontinued | Agilent | G2953CA
|  | 4200 TapeStation | Agilent | G2991AA
| TapeStation | High Sensitivity D5000: ScreenTape/Reagents | Agilent | 5067-5592 / 5067-5593
|  | High Sensitivity D1000: ScreenTape/Reagents | Agilent | 5067-5584 / 5067-5585
| LabChip | LabChip GX Touch HT Nucleic Acid Analyzer | Revvity | CLS137031
|  | DNA High Sensitivity Reagent Kit | PerkinElmer | CLS760672
| Fragment analyzer | Fragment Analyzer Automated CE System - 12 cap | Advanced Analytical | FSv2-CE2F
|  | Fragment Analyzer Automated CE System - 48/96 cap | Advanced Analytical | FSv2-CE10F
|  | High Sensitivity NGS Fragment Analysis Kit | Advanced Analytical | DNF-474
(Choose Bioanalyzer, TapeStation, LabChip, or Fragment Analyzer based on availability & preference.)
| Library quantification | KAPA Library Quantification Kit for Illumina Platforms | KAPA Biosystems | KK4824
Optional Gene & Protein Expression Library - Cycle Number Determination Using qPCR
| qPCR Dye | EvaGreen, EvaGreenPlus | Biotium | 31000-T or 31077-T
| Primers for cycle number determination for Protein Expression Libraries* | Forward Primer CTACACGACGCTCTTCCGATCT Reverse Primer CTCGTGGGCTCGGAGATGTGTATAAGAGACAG | _ | _
*Only needed for GEM-X Flex Protein Expression libraries
For some items, a number of vendor options are listed. Choose item based on availability and preference. Refer to the manufacturer's website for regional part numbers.

## csv for Connect (hidden)
V1.28
SAMPLEPARAMETERS | SAMPLENAME | lib_trans_vol | lib_dil_vol | lib_dil_dilu | lib_do_pool | USERDEFINED1 | USERDEFINED2 | USERDEFINED3 | USERDEFINED4
#REF! | #REF! | 56.8182 | 0 | 0 | 1
#REF! | #REF! | 0 | 0 | 0 | 3
#REF! | #REF! | 43.4783 | 0 | 0 | 1
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 5 | 25 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 5 | 15 | 6
#REF! | #REF! | 0 | 5 | 20 | 6
#REF! | #REF! | 0 | 5 | 30 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
#REF! | #REF! | 0 | 0 | 0 | 6
RUNPARAMETERS | SELECTION
runName
Pool 1 Diluent Volume? | #REF!
Pool 2 Diluent Volume? | #REF!
Pool 3 Diluent Volume? | #REF!
Pool 4 Diluent Volume? | #REF!
Pool 5 Diluent Volume? | #REF!
Pool 6 Diluent Volume? | #REF!

## WorksheetWillHide (hidden)
0 | 0 | 56.8182
0 | 0 | 0
0 | 0 | 43.4783
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
5 | 25 | 0
0 | 0 | 0
5 | 15 | 0
5 | 20 | 0
5 | 30 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0