## Readme
|  | PROTOCOL PLANNER |  |  | CG001669
|  | Atera Gene Expression |  |  | Rev A - Addendum 2
Introduction
The Atera Gene Expression workflow measures gene expression in tissue sections derived from either formalin fixed and paraffin embedded (FFPE) or fresh frozen (FF) tissue samples. To enable efficient planning, this protocol planner provides a list of user-acquired reagents and consumables and information about supporting documentation that will be available for executing the workflow.
Reagents and hardware produced by 10x Genomics are not listed in this document. Unless otherwise indicated, reagent and equipment tables apply to all assays.
Use Guidelines: This file is best viewed using Microsoft Excel. Opening the file in another program may break document features. This file contains macros to highlight some key workflow specifics. Enable macros before using this document. Windows users: Right-click on the file, select "Properties". In the Properties window select "Unblock" under Security section. Mac users: Open the file, and when prompted, select "Enable Macros".
Copy-Paste Guidelines: The sheet is protected to prevent altering the content. To copy-paste, right click to select a cell's text.
Printing Guidelines: The print area has been set for each tab in this document. Go to Print. For orientation, select "Portrait". For scaling, select "Fit all columns to one page". To print the entire workbook, Go to Print and under settings select "Print Entire Workbook." To create a pdf document, go to Print and select "Adobe PDF" as the printer. Do not go to "Save as Adobe PDF".
Document Resources
| Steps |  | Document | Section on 10x Genomics Support Website & Doc Number
1 | Experimental Design & Planning Before starting the experiment, refer to these documents for protocol planning and preparation. |  | Atera Training Kit Supplemental User Guide Workflow training. Companion to CG001672 | User Guide CG001699
|  |  | Atera Protocol Planner Workflow overview and additional reagents | User Guide CG001669
|  |  | Supported Thermal Cyclers Supported thermal cyclers for Xenium workflows | Supported Thermal Cyclers for Xenium
|  |  | Atera Panel Designer Information regarding Atera WTA panels and how to request custom panel designs | Coming soon
2 | Tissue Slide & Sample Preparation Prepare tissue slides. Choose one protocol. |  | Atera - FFPE Tissue Preparation Handbook Section, deparaffinize, and decrosslink FFPE tissue sections | Handbook CG001671 |  | #REF! | #REF!
|  |  | Atera - FF Tissue Preparation Handbook Section, fix, and pretreat FF tissue sections | Handbook CG001670 |  |  | #REF!
3 | Assay Workflow |  | Atera Gene Expression Prepare tissue sections for an Atera Instrument run | User Guide CG001672 |  | #REF! | #REF!
4 | Instrument |  | Atera Instrument Setup and run instructions for the Atera Instrument | User Guide CG001673
5 | Post-Instrument Activities (Optional) |  | Post-Atera H&E Staining H&E staining of sections after instrument run | Demonstrated Protocol CG001722
|  |  | Post-Atera In Situ Applications: Immunofluorescence and H&E Post-Atera workflows on the same FFPE/FF tissue sections | Technical Note CG001700
Document Revision Summary
| Updated | Version | Summary of Changes
| 9/25/2026 | Rev A - Addendum 2 | Updated slide length tolerance for Atera Cassettes Added Biometra, PTC Tempo, VeritiPro, Mastercycler X50s, and Mastercycler X50a to tested thermal cycler tab Updated language to indicate that panel information and a list of tested thermal cyclers are available on the support website Updated third party reagents to indicate that nuclease-free water is not necessary for post-Atera H&E
| 9/18/2026 | Rev A - Addendum 1 | Updated Isopropanol vendor and part number Added additional marker (ultra-fine Sharpie) and clarified that either the Statpen or Sharpie may be used
© 2026 10x Genomics, Inc. FOR RESEARCH USE ONLY. NOT FOR USE IN DIAGNOSTIC PROCEDURES.
Contact
support@10xgenomics.com
10x Genomics, Inc
6230 Stoneridge Mall Road
Pleasanton, CA 94588 USA

## Atera Panels
PROTOCOL PLANNER ¦ CG001669 Rev A - Addendum 2 ¦ 10xgenomics.com
Atera Panels
As part of experimental planning, consider how panel selection affects the end-to-end assay, instrument, and analysis workflow. The Atera Instrument can run up to four slides at a time, which must all use the same panel configuration. More information on supported panel configurations can be found on the 10x Genomics support website. For more information on pre-designed panels and requesting custom panel designs, contact 10x Genomics at customerservice@10xgenomics.com

## Tested Thermal Cyclers
PROTOCOL PLANNER ¦ CG001669 Rev A - Addendum 2 ¦ 10xgenomics.com
Atera Gene Expression
Recommended Thermal Cyclers
For the most up-to-date list of tested thermal cyclers, see the 10x Genomics support website.
| Description | Supplier | Part Number (US) | Notes
FALSE | C1000 Touch Thermal Cycler with 96-Deep Well Reaction Module | Bio-Rad | 1851197
FALSE | Biometra TAdvanced 96 SG with 96-well block (silver, 0.2 mL) and gradient function | Analytik Jena | 846-x-070-241 (where x=2 for 230 V; 4 for 115 V; 5 for 100 V, 50-60 Hz)
FALSE | PTC Tempo Deepwell Thermal Cycler | Bio-Rad | 12015392
FALSE | VeritiPro 96-well Thermal Cycler | Thermo Fisher Scientific | A48141
FALSE | Mastercycler X50a - PCR Thermocycler | Bio-Rad | 6313000018
FALSE | Mastercycler X50s - PCR Thermocycler | Eppendorf | 6311000010

## Tested Slides
PROTOCOL PLANNER ¦ CG001669 Rev A - Addendum 2 ¦ 10xgenomics.com
Atera Gene Expression
Tested Slides
The following slides have been tested for use with the Atera Instrument and associated cassettes, and are either recommended or not recommended. Schott Nexterion Slide H (Fisher Scientific) and Tissue Adhesion Slides (10x Genomics) are the recommended slide type for the Atera assay (performance between the two is similar). Diagrams for verifying that tissue sections are placed in the sample area can be found in the Atera Sample Placement Quick Reference Card (Document CG001675). To be considered compatible with the Atera Instrument and associated cassettes, slides should: • Be within 75.4 ± 0.5 mm (Length) × 25.2 ± 0.4 mm (Width) × 1.05 ± 0.10 mm (Thickness) • Have a high-adhesion and hydrophilic surface • Not have labels or etching that interfere with cassette sealing • Not have clipped corners All slides should be used within the date set by the manufacturer. Failing to adhere to these dates may affect adhesion.
For more information on slide testing, click here.
Recommended
| Description | Supplier | Part Number | Length (mm) | Width (mm) | Thickness (mm) | Important Considerations | Notes
FALSE | Schott Nexterion Slide H - 3D Hydrogel Coated Slides | Fisher Scientific | NC0782819 | 75.6 | 25 | 1 | Recommended for: • FFPE/FF WTA samples • Tissue with large amounts of connective tissue (like breast or colon) or fibrotic tissue • Tissue with high detachment risk • Tissue that detached during a previous Atera Instrument run or with the Xenium In Situ product | Specifications on coatings are proprietary. Performance between Tissue Adhesion Slides and Schott Nexterion Slides is similar.
FALSE | Tissue Adhesion Slide | 10x Genomics | 1001228 | 75.6 | 25 | 1
FALSE | Fisherbrand SuperFrost Plus | Fisher Scientific | 12-550-15 | 75.4 | 25 | 0.99 | Can be used for: • FFPE/FF Select samples
FALSE | Epredia SuperFrost Plus Slides | Fisher Scientific | 67-762-14 | 75.4 | 25 | 0.99
Not Recommended
This list only contains slides tested by 10x Genomics. Any slides not tested by 10x Genomics are not recommended.
| Description | Supplier | PN | Length (mm) | Width (mm) | Thickness (mm) | Important Considerations | Notes
| Matsunami TOMO | Matsunami | S9441 | 75.4 | 25.5 | 1 | Varying degrees of detachment seen across multiple tissue types.
| MutoPureChemicals Micro Slides | Muto Pure Chemicals | SM5116 | 75.9 | 26 | 1 | Slide dimensions are incompatible with Atera Cassette.
| Trajan Series 2 | Trajan | 472042491 | 75.7 | 25.7 | 1.01 | These slides have etchings that interfere with proper sealing of the Atera Cassette gasket.
| CitoTest PCl | CITOTEST | 0313-7181-16 | 75.3 | 25.3 | 1.1
| StatLab Millenia Command | StatLab | MCOMM/W/90 | 75.4 | 25.4 | 0.98

## Third Party Items
PROTOCOL PLANNER ¦ CG001669 Rev A - Addendum 2 ¦ 10xgenomics.com
Atera Gene Expression
Third Party Items | [12 empty] | #REF!
The items in the tables below have been tested by 10x Genomics and perform optimally with Atera Gene Expression protocols. Substituting materials may adversely affect system performance. This list may not include standard laboratory equipment such as water baths, centrifuges, pH meters, freezers, etc. For items with multiple options listed, choose option based on availability and preference. If an item can be replaced with an equivalent item, the name will be marked with an asterisk (*). The macro below will hide or unhide columns based on the selected options. It requires macros to be enabled. To enable the pre-run QC and post-Atera H&E filters, a workflow must be selected (training, FFPE, or FF).
| Item | Description |  | Supplier | Part Number (US) | Training (CG001699) | FFPE Sample Prep (CG001671) | FF Sample Prep (CG001670) | User Guide (CG001672) | Pre-run QC (CG001670 and 1671) | Post-Atera H&E (CG001669) | Notes
FALSE | Microtome | Epredia HM 355S Automatic Microtome Or any standard histology grade microtome |  | Fisher Scientific | 23-900-672 | - | ✓ | - | - | - | -
FALSE | Microtome Blade | Epredia MX35 Premier Disposable Microtome Blades, Low Profile |  | Fisher Scientific | 3052835 | - | ✓ | ✓ | - | - | -
|  | MX35 Ultra Microtome Blade, Low Profile |  | Fisher Scientific | 3051835 | - | ✓ | ✓ | - | - | -
FALSE | Cool-cut Optional | Thermo Scientific Cool-Cut Optional |  | Fisher Scientific | 77-112-0 | - | ✓ | - | - | - | -
FALSE | Section transfer system (STS) Optional | Thermo Scientific Section Transfer System (STS) |  | Fisher Scientific | 771200 | - | ✓ | - | - | - | -
FALSE | Blank Slides | See "tested slides" tab for information on tested slides. |  | - | - | - | ✓ | ✓ | - | - | -
FALSE | Water bath | Tissue Floating Bath, Lighted (or equivalent) |  | Geyer | 194242 | - | ✓ | - | - | - | -
|  | Epredia Digital Round Tissue Section Water bath If using optional Section Transfer System |  | Fisher Scientific | A84600061 | - | ✓ | - | - | - | -
FALSE | Brushes | Camel Hair Brushes (or equivalent) |  | Ted Pella | 11859 | - | ✓ | - | - | - | -
|  | Flat cryostat brush, 10 mm (or equivalent) |  | Fisher Scientific | 14-071-00 | - | - | ✓ | - | - | -
FALSE | Wax Trimmer Optional | Electronic Microscopy Sciences Paraffin Block Trimmer Wax Trimmer, 115 VAC |  | Fisher Scientific | NC0310844 | - | ✓ | - | - | - | -
FALSE | Cutting Mat Optional | WellTech Cutting Mat Optional |  | WellTech Precision Lab | - | - | ✓ | - | - | - | -
FALSE | Fan Optional, but recommended | Personal Rechargeable Fan (or equivalent) |  | Holmes | 085-01-0117 | - | ✓ | - | - | - | -
FALSE | Section dryer oven Optional, but recommended | Epredia High Capacity Section Dryer or equivalent. Thermal cycler may also be used for section drying |  | Fisher Scientific | A84600051 | - | ✓ | - | - | ✓ | -
FALSE | Probes | Fisherbrand Fine Precision Probe |  | Fisher Scientific | 12-000-153 | - | ✓ | - | - | - | -
FALSE | Forceps | Fisherbrand Curved Medium Point General Purpose Forceps |  | Fisher Scientific | 16-100-110 | ✓ | - | ✓ | ✓ | ✓ | ✓
|  | Specimen Forceps, Straight, 203 mm (8") |  | VWR | 82027-436 | ✓ | - | ✓ | ✓ | ✓ | ✓
|  | Specimen Forceps, Straight, 152 mm (6") |  | VWR | 82027-438 | ✓ | - | ✓ | ✓ | ✓ | ✓
|  | Tweezers, 4" Wafer Handling |  | Excelta Corp | 491P-SA-PI | ✓ | - | ✓ | ✓ | ✓ | ✓
FALSE | Staining jar/dishes | Coplin Jar |  | VWR | 100500-232 | ✓ | ✓ | - | - | ✓ | ✓
|  | Staining Dishes |  | VWR | 25608-906 | ✓ | ✓ | ✓ | - | ✓ | ✓
FALSE | Slide Staining Rack | EZ-QUICK SLIDE STAINING RACK |  | IHCWORLD | IW-2512 | ✓ | ✓ | ✓ | - | ✓ | ✓
FALSE | Slide Mailer | Simport Scientific LockMailer Tamper Evident Slide Mailer |  | Fisher Scientific | 22-038-399 | - | - | ✓ | - | ✓ | -
FALSE | Marker | Statmark Pen Black* |  | Thomas Scientific | 21A00J449 | - | ✓ | ✓ | - | ✓ | -
|  | Ultra Fine Point Sharpie* |  | Sharpie | 1735790 | - | ✓ | ✓ | - | ✓ | -
FALSE | Embedding Molds | Epredia Peel-A-Way Disposable Embedding Molds |  | Fisher Scientific | 12-20 | - | - | ✓ | - | - | -
FALSE | Cryostat | CryoStar NX70 Cryostat |  | Fisher Scientific | 957020 | - | - | ✓ | - | - | -
FALSE | Specimen Chuck | Thermo Scientific CryoStar NX70 Specimen Chuck |  | Fisher Scientific | 14-071-413 | - | - | ✓ | - | - | -
FALSE | Anti-Roll Plate Optional | Glass Anti-Roll Plate |  | Fisher Scientific | A78930200 | - | - | ✓ | - | - | -
FALSE | Filter Paper | Fisherbrand Qualitative Grade Plain Filter Paper Circles |  | Fisher Scientific | 09-795-H | - | - | - | - | ✓ | -
FALSE | Coverslips | Fisherbrand Cover Glasses: Rectangles (Discontinued) |  | Fisher Scientific | 12-544-EP | - | - | - | - | ✓ | ✓
|  | Cover Glasses, Rectangles |  | VWR | 16004-322 | - | - | - | - | ✓ | ✓
FALSE | Lint-free Laboratory Wipes | Vectra Alpha 10 TX1010 Dry Cleanroom Wipers, Non-Sterile* |  | Texwipe | TX1010 | ✓ | - | - | ✓ | - | ✓
|  | VWR Cleanroom Wipes, 100% Polyester* |  | VWR | 10835-982 | ✓ | - | - | ✓ | - | ✓
|  | Labclean Cleanroom Wipes, 100% Polyester* |  | VWR | 470339-504 | ✓ | - | - | ✓ | ✓ | ✓
|  | Berkshire CapSure-LP 9x9" Polyester wipes* |  | Berkshire | CPSLP0909B8P | ✓ | - | - | ✓ | ✓ | ✓
FALSE | 1.5-ml Tubes | DNA LoBindTubes, 1.5 ml |  | Eppendorf | 22431021 | ✓ | - | - | ✓ | - | -
|  | Low DNA Binding Tubes, 1.5 ml |  | Sarstedt | 72.706.700 | ✓ | - | - | ✓ | - | -
FALSE | 2.0-ml Tubes | DNA LoBindTubes, 2.0 ml |  | Eppendorf | 22431048 | ✓ | - | - | ✓ | - | -
|  | Low DNA Binding Tubes, 2.0 ml |  | Sarstedt | 72.695.700 | ✓ | - | - | ✓ | - | -
FALSE | 15-ml Tubes | 15 ml PP Centrifuge Tubes |  | Corning | 730791 | ✓ | - | - | ✓ | - | -
FALSE | 50-ml Tubes | Self-Standing Polypropylene Centrifuge Tubes, sterile |  | Corning | 430921 | ✓ | - | - | ✓ | - | -
FALSE | Pipette Tips | Tips LTS 200UL Filter RT-L200 FLR | (or equivalent) | Rainin | 30389240 | ✓ | ✓ | ✓ | ✓ | ✓ | -
|  | Tips LTS 1ML Filter RT-L1000 FLR |  |  | 30389213 | ✓ | ✓ | ✓ | ✓ | ✓ | -
|  | Tips LTS 20UL Filter RT-L20 FLR |  |  | 30389226 | ✓ | ✓ | ✓ | ✓ | ✓ | -
FALSE | Wide-bore Pipette Tips | Tips RT LTS 200UL FLW* |  | Rainin | 30389241 | - | - | - | - | ✓ | ✓
|  | Tips RT LTS 1000UL FLW* |  | Rainin | 30389218 | - | - | - | - | ✓ | ✓
FALSE | Pipettes | Pipet-Lite LTS Pipette L-20XLS+ | (or equivalent) | Rainin | 17014392 | ✓ | ✓ | ✓ | ✓ | ✓ | -
|  | Pipet-Lite LTS Pipette L-100XLS+ |  |  | 17014384 | ✓ | ✓ | ✓ | ✓ | ✓ | -
|  | Pipet-Lite LTS Pipette L-200XLS+ |  |  | 17014391 | ✓ | ✓ | ✓ | ✓ | ✓ | -
|  | Pipet-Lite LTS Pipette L-1000XLS+ |  |  | 17014382 | ✓ | ✓ | ✓ | ✓ | ✓ | -
Additional Materials
FALSE | Mini centrifuge |  |  |  |  | ✓ | - | - | ✓ | - | -
FALSE | Razor blades | [5 empty] | ✓ | ✓ | - | - | -
FALSE | 1000 ml Beakers (6) |  |  |  |  | - | - | - | - | - | ✓
FALSE | Ice bucket (4–5 L) |  |  |  |  | ✓ | ✓ | ✓ | ✓ | - | -
FALSE | Ultrapure/Milli-Q Water for Water Bath from Milli-Q Integral Ultrapure Water System or equivalent |  |  |  |  | ✓ | ✓ | - | ✓ | ✓ | ✓
FALSE | Water Bath Alternatively, Eppendorf Thermomixer C (5382000023) with SmartBlock -2.0 mL (5362000035) or equivalent may be used |  |  |  |  | ✓ | ✓ | - | ✓ | ✓ | -
FALSE | Slide drying rack |  |  |  |  | ✓ | ✓ | ✓ | - | - | -
FALSE | Fume hood |  |  |  |  | ✓ | ✓ | - | - | ✓ | -
FALSE | Dry ice |  |  |  |  | - | - | ✓ | - | - | -
FALSE | Aluminum Foil |  |  |  |  | - | - | ✓ | - | - | -
FALSE | Thermal Cycler - refer to "tested thermal cyclers" tab |  |  |  |  | ✓ | ✓ | ✓ | - | - | -
FALSE | Vortex |  |  |  |  | ✓ | ✓ | ✓ | ✓ | ✓ | -
FALSE | Wide-bore pipette tips |  |  |  |  | - | - | - | - | ✓ | -
FALSE | Serological pipettes |  |  |  |  | - | - | ✓ | - | - | -
This list may not include some standard laboratory equipment.
Workflow:
Optional:
Training only
FFPE Workflow
FF Workflow
Pre-run QC
Post-Atera H&E
Reset (show all)
Training
Formalin Fixed, Paraffin Embedded (FFPE) Workflow
Fresh Frozen (FF) Workflow
Pre-run QC
Post-Atera H&E

## Third Party Reagents
PROTOCOL PLANNER ¦ CG001669 Rev A - Addendum 2 ¦ 10xgenomics.com
Atera Gene Expression
Third Party Reagents
The items in the tables below have been tested by 10x Genomics and perform optimally with Atera Gene Expression protocols. Substituting materials may adversely affect system performance. For items with multiple options listed, choose option based on availability and preference. If an item can be replaced with an equivalent item, the name will be marked with an asterisk (*). An equivalent item or reagent is an item that has similar attributes (concentration, purity, grade, pH, material, nuclease-free, etc). All attributes may not necessarily be captured in the reagent name, refer to the item listing for full information. Volumes are rounded and assume processing four slides for all workflows except training, which assumes processing two slides and using coplin jars instead of staining dishes. Refer to documentation for exact amounts. The macro below will hide or unhide columns based on the selected options. It requires macros to be enabled. To enable the pre-run QC and post-Atera H&E filters, a workflow must be selected (training, FFPE, or FF).
| Item | Description | Supplier | Part Number (US) | Training (CG001699) | FFPE Sample Prep (CG001671) | FF Sample Prep (CG001670) | User Guide (CG001672) | FFPE Pre-run QC (CG001671) | FF Pre-run QC (CG001670) | Post-Atera H&E (CG001669) | Notes
FALSE | Embedding Compound | TissueTek O.C.T. Compound* | VWR | 25608-930 | - | - | Varies | - | - | - | -
|  | Fisher Healthcare Tissue-Plus O.C.T. Compound* | Fisher Scientific | 23-730-571 | - | - | Varies | - | - | - | -
|  | Tissue Freezing Media* | Leica | 14020108926 | - | - | Varies | - | - | - | -
FALSE | TE Buffer | TE Buffer, TRIS-EDTA, 1X Solution, pH 8.0* | Fisher Scientific | BP24731 | 5 ml | - | - | 10 ml | - | - | -
FALSE | Isopentane | Isopentane (2-Methylbutane)* | Millipore Sigma | 270342 | - | - | 200 ml | - | - | - | -
FALSE | PBS | PBS - Phosphate Buffered Saline (10X) pH 7.4, RNase-free* | Thermo Fisher Scientific | AM9624 | 6 ml | 13 ml | 44 ml | Prepared during Handbook | 400 µl | 2 ml | -
|  | Phosphate-Buffered Saline, 1X without calcium and magnesium, pH 7.4 ± 0.1* | Corning | 21-040-CV | 51 ml | 125 ml | 438 ml | Prepared during Handbook | 4 ml | 19 ml | -
FALSE | Nuclease-free Water | Nuclease-free water (not-DEPC treated)* | Thermo Fisher Scientific | AM9932/AM9937 | 91 ml | 213 ml | 1,470 ml | 11 ml | 41 ml | 60 ml | -
|  | Nuclease-free Milli-Q water (Biopak® Polisher)* | Millipore Sigma | CDUFBI0A1
FALSE | Paraformaldehyde | Paraformaldehyde 16% Aqueous Solution, EM Grade | Electron Microscopy Sciences | 15710 | - | - | 6 ml | - | - | 5 ml | -
FALSE | Ethanol | Ethyl Alcohol, Pure (200 Proof, anhydrous)* | Millipore Sigma | E7023 | 193 ml | 1,150 ml | 200 ml | 34 ml | 425 ml | 278 ml | 1,390 ml
|  | Ethanol absolute ≥99.5%, TechniSolv, pure (Europe Only)* | VWR | 83813.360DP
FALSE | 10% Tween 20 | Tween 20 Surfact-Amps Detergent Solution (10% solution; not 100% Tween diluted to 10%) | Thermo Fisher Scientific | 28320 | 309 µl | 517 µl | 2 ml | - | - | - | -
|  | 10% Tween-20 | Bio-Rad | 1662404/1610781 |  |  |  | - | - | - | -
FALSE | Methanol | Methanol, for HPLC* | Millipore Sigma | 34860 | - | - | 15 ml | - | - | - | -
FALSE | Gill II Hematoxylin | Gill II Hematoxylin* | Leica | 3801520/3801521 | - | - | 250 ml | - | 30 ml | 50 ml | 250 ml
|  | Gill II Hematoxylin* | Millipore Sigma | GHS232 | - | - |  | -
FALSE | SDS | Sodium dodecyl sulfate solution (for molecular biology, 10% in H2O) | Millipore Sigma | 71736 | - | - | 3 ml | - | - | - | -
FALSE | 0.1N HCl | 0.1N Hydrochloric Acid* | Fisher Scientific | SA54-1 | - | - | 250 ml | - | - | - | -
FALSE | Xylene | Xylene, Reagent Grade | Millipore Sigma | 214736 | 100 ml | 500 ml | - | - | 200 ml | 100 ml | 500 ml
|  | Xylene, Histological Grade | Millipore Sigma | 534056 |  |  | - | -
FALSE | Isopropanol | 2-Propanol (≥99.5%, for molecular biology) | Millipore Sigma | I9516 | 50 ml | 250 ml | - | - | 50 ml | - | -
FALSE | Urea | Urea Solution, 8M | Millipore Sigma | 51457 | 99 µl | 103 µl | - | 94 µl | - | - | -
FALSE | DAPI | Use any preferred DAPI | - | - | - | - | - | - | Varies | Varies | -
FALSE | Eosin | Eosin Y Solution, Alcoholic | Leica | 3801615 | - | - | - | - | 30 ml | 50 ml | 250 ml
FALSE | Bluing Reagent | Bluing Solution | Dako | CS702 | - | - | - | - | 4 ml | 50 ml | 250 ml
FALSE | Mounting Media | Surgipath SUB-X Mounting Media Discontd. | Leica | 3801741 | - | - | - | - | 1 ml | 1 ml | 1 ml
|  | Epredia Cytoseal Mountant (Cytoseal or equivalent mounting media can be used) | Fisher Scientific | 22-050-262 | - | - | - | -
FALSE | Glycerol | Glycerol | Acros Organics | 327255000 | - | - | - | - | 600 µl | 600 µl | -
Workflow:
Optional:
Training only
FFPE Workflow
FF Workflow
Pre-run QC
Post-Atera H&E
Reset (show all)
Training
Formalin Fixed, Paraffin Embedded (FFPE) Workflow
Fresh Frozen (FF) Workflow
Pre-run QC
Post-Atera H&E

## WorksheetWillHide (hidden)
0 | 0 | 56.8182
0 | 0 | 0
0 | 0 | 43.4783
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
5 | 25 | 0
0 | 0 | 0
5 | 15 | 0
5 | 20 | 0
5 | 30 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0